| SUBJECT* | Boiler Regulator Repair |
| --- | --- |

GENERAL INFORMATION

| CONTRACTING OFFICE’S ZIP CODE* | 80111 |
| --- | --- |
| SOLICITATION NUMBER* | 36C25926Q0021 |
| RESPONSE DATE/TIME/ZONE | 11-12-2025 16:00 MOUNTAIN TIME, DENVER, USA |
| ARCHIVE | 30 DAYS AFTER THE RESPONSE DATE |
| RECOVERY ACT FUNDS | N |
| SET-ASIDE | SBA |
| PRODUCT SERVICE CODE* | J045 |
| NAICS CODE* | 238220 |
| CONTRACTING OFFICE ADDRESS | Department of Veterans Affairs Network Contracting Office NCO 19 6162 South Willow Drive, Suite 300 Greenwood Village CO 80111 |
| POINT OF CONTACT* | Contract Specialist Natasha Holland natasha.holland@va.gov 303.712.5753 |

PLACE OF PERFORMANCE

| ADDRESS | Department of Veteran Affairs |
| --- | --- |
|  | Eastern Colorado Healthcare System |
|  | Rocky Mountain Regional VAMC |
|  | 1700 N. Wheeling Street |
|  | Aurora CO |
| POSTAL CODE | 80045 |
| COUNTRY | USA |

ADDITIONAL INFORMATION

| AGENCY’S URL |  |
| --- | --- |
| URL DESCRIPTION |  |
| AGENCY CONTACT’S EMAIL ADDRESS |  |
| EMAIL DESCRIPTION |  |

DESCRIPTION

The purpose of this amendment 0003 is to clarify Question 2 (Q2) of Amendment 0002 of Request for Quote (RFQ) 36C25926Q0021, provide additional information, update Statement of Work (SOW) with new information, update CLINs and provide for an extension in quote submission.

- The deadline for quotes is hereby extended to November 12, 2025 at 16:00 MT

- Statement of work is attached please see updated SOW dated 11.7.2025

- Contractors shall acknowledge all amendments with quote submission and complete the updated CLIN structure.

The following CLIN structure must be completed

| Line Item | Description | Unit of Measure | QTY | Unit Price | Total Price |
| --- | --- | --- | --- | --- | --- |
| 0001 | Assess all gas regulator deficiencies and replace valves/parts as necessary | EA | 4 | $ | $ |
| 0002 | Regulators installation, boiler restart, and adjustments / retrofitting as required to return to fully operational status. | Job | 1 | $ | $ |
|  |  |  |  | Grand Total | $ |

- The clarification to Q2 from Amendment 0002 is as follows:

Q2.  Is there work that needs to be done on the gas train? If so, who provides specifics on whether Clever Brooks has to provide engineered drawings, or VA engineers due to the fact these boilers are specifically designed for the VA? Can we use our engineers and if so, who approves?

A2. Work on the gas train may be required if the replacement valve does not fit as it is already in place. Complete updated CLIN structure for work on gas train and installation as required because of the need to retrofit the new valve. Reengineered drawings aren’t required. All valves must be compatible with Cleaver Brooks Boiler System at the VA facility.

Flange-to-flange image of the gas pressure relief value and the measurement showing the distance (exact is just shy of 10 in. 9 15/16 in.)

See additional Pictures below:

See attached document: P09_SOW Gas Regulator Valve_11.7.