| SUBJECT* | Digital Duet Maintenance |
| --- | --- |

GENERAL INFORMATION

| CONTRACTING OFFICE’S ZIP CODE* | 80111 |
| --- | --- |
| SOLICITATION NUMBER* | 36C25926Q0068 |
| RESPONSE DATE/TIME/ZONE | 12-04-2025 14:00 MOUNTAIN TIME, DENVER, USA |
| ARCHIVE | 1 DAYS AFTER THE RESPONSE DATE |
| RECOVERY ACT FUNDS | N |
| SET-ASIDE |  |
| PRODUCT SERVICE CODE* | J065 |
| NAICS CODE* | 811210 |
| CONTRACTING OFFICE ADDRESS | Department of Veterans Affairs Network Contracting Office NCO 19 6162 South Willow Drive, Suite 300 Greenwood Village CO 80111 |
| POINT OF CONTACT* | Contract Specialist Eric Adusei eric.adusei@va.gov 303-712-5782 |

PLACE OF PERFORMANCE

| ADDRESS | Department of Veterans Affairs |
| --- | --- |
|  | VA Eastern Colorado Health Care System (RMR) |
|  | 1700 N. Wheeling Street |
|  | Aurora CO |
| POSTAL CODE | 80045 |
| COUNTRY | USA |

ADDITIONAL INFORMATION

| AGENCY’S URL |  |
| --- | --- |
| URL DESCRIPTION |  |
| AGENCY CONTACT’S EMAIL ADDRESS |  |
| EMAIL DESCRIPTION |  |

DESCRIPTION

Digital Duet Maintenance for RMR. Department of Veterans Affairs VA Eastern Colorado Health Care System (RMR) Located at 1700 N. Wheeling Street. Aurora, CO 80045. Due 12/04/2025 at 2:00pm MST.

Request for Quote (RFQ) #: 36C25926Q0068

Digital Duet Maintenance for VA Eastern Colorado Health Care System (ECHCS)

- This is a combined synopsis/solicitation for commercial products or commercial services prepared in accordance with part 12. This announcement constitutes the only solicitation. Offers are requested and a separate written solicitation will not be issued. The Government reserves the right to make no award from this solicitation.

* The deadline for all questions is 12:00pm MT, December 3rd, 2025.

All questions must be submitted in writing no later than the question cut-off date marked above. All questions will be answered officially through an amendment to the solicitation.

** Quotes are to be provided to eric.adusei@va.gov no later than 2:00pm MT, December 4th, 2025.

Quotes shall not be hand carried. Faxed quotes shall not be accepted. Emailed quotes are the only method of submitted quotes (4MB email limit). The Government reserves the right to make the award solely on initial Quotes received. Offerors bear the burden of ensuring that all portions of the offer (and any authorized amendments) reach the designated office before the deadline specified in the solicitation. This RFQ shall be completed in its entirety, and signed and dated, failure shall not be considered for award.

- This is a Request for Quote (RFQ), and the solicitation number is 36C25926Q0068. The government anticipates awarding a firm-fixed price contract resulting from this solicitation.

- This solicitation document and incorporated provisions and clauses are those in effect through Federal Acquisition Circular (FAC) 2025-06 effective October 01, 2025.

- The North American Industrial Classification System (NAICS) code for this procurement is 811210 Armored Car Services with a business size standard of $34 Million. This solicitation is unrestricted, and quotes will be accepted from all businesses.

- List of Line Items;

| Line Items | Description | Quantity | Unit of Measure | Unit Price ($) | Total Price ($) |
| --- | --- | --- | --- | --- | --- |
| 0001 | Base Year Maintenance of Digital Duet System Service | 1 | YR |  |  |
| 0002 | Not to Exceed Pricing for Unscheduled Maintenance | 1 | YR | $5,000.00 |  |
| 1001 | Option Year 1 Maintenance of Digital Duet System Service | 1 | YR |  |  |
| 1002 | Not to Exceed Pricing for Unscheduled Maintenance | 1 | YR | $5,000.00 |  |
| 2001 | Option Year 2 Maintenance of Digital Duet System Service | 1 | YR |  |  |
| 2002 | Not to Exceed Pricing for Unscheduled Maintenance | 1 | YR | $5,000.00 |  |
| 3001 | Option Year 3 Maintenance of Digital Duet System Service | 1 | YR |  |  |
| 3002 | Not to Exceed Pricing for Unscheduled Maintenance | 1 | YR | $5,000.00 |  |
| 4001 | Option Year 4 Maintenance of Digital Duet System Service | 1 | YR |  |  |
| 4002 | Not to Exceed Pricing for Unscheduled Maintenance | 1 | YR | $5,000.00 |  |
|  |  |  |  | Grand Total ($) |  |

- Description of Requirements for the items/Services to be acquired: The requirement is for Digital Duet Maintenance Services, please reference attached SOW.

- Delivery and acceptance are to be F.O.B Destination (FAR 52.247-34) at the VA Eastern Colorado Health Care System (ECHCS), located at 1700 N. Wheeling Street, Aurora, CO 80045

- 52.212-1, Instructions to Offerors-Commercial Items applies to this acquisition

ADDENDUM to FAR 52.212-1 INSTRUCTIONS TO OFFERORS—COMMERCIAL

  - Gray market items are Original Equipment Manufacturers (OEM) goods sold through unauthorized channels in direct competition with authorized distributors. This procurement is for new OEM medical supplies, medical equipment and/or services contracts for maintenance of medical equipment (i.e. replacement parts) for VA Medical Centers.  No remanufacturers or gray market items will be acceptable.

  - Offeror shall be an OEM, authorized dealer and have authorized Lumenis Inc Certification as a requirement for the services and maintenance contracts of medical equipment (i.e. replacement parts), verified by an authorization letter or other documents from the OEM, such that the OEM’s warranty and service are provided and maintained by the OEM.  All software licensing, warranty and services associated with the medical supplies, medical equipment and/or services contracts for maintenance of medical equipment shall be in accordance with the OEM terms and conditions.

  - The delivery of gray market items to the VA in the fulfillment of an order/award constitutes a breach of contract.  Accordingly, the VA reserves the right to enforce any of its contractual remedies. This includes termination of the contract or, solely at the VA’s election, allowing the Vendor to replace, at no cost to the Government, any remanufactured or gray market item(s) delivered to a VA medical facility upon discovery of such items.

  - Any award made as a result of this solicitation will be made on an All or Nothing Basis.

  - State if quoted items are available and priced through offerors existing Government-wide Acquisition Contract (GWAC), GSA Multiple Award Schedule (MAS) contract, or VA-wide Acquisition Contract.

  - If the acquisition is set-aside for SDVOSBs/VOSBs, their socioeconomic status must be VetCert verified and visible in the VA Veteran Small Business Certification (VetCert):  https://veterans.certify.sba.gov/ at the time of quote submission AND award, or will be considered non-responsive, and will NOT be considered for award.

  - Offerors are warned against contacting any VA personnel other than the Contracting Officer and Contract Specialist prior to placement of any award made resulting from this RFQ. If such contact occurs and found to be prejudicial to competing contactors, the offeror making such contact may be excluded from award considerations.

  - All proprietary information shall be clearly and properly marked.  If the Offeror submits annexes, documentation, attachments or the like, not specifically required by this solicitation, such will count against the Offeror’s page limitations unless otherwise indicated in the specific volume instructions below.

  - All information shall be confined to the appropriate file.  The offeror shall confine submissions to essential matters, sufficient to define the quote and provide an adequate basis for evaluation.  Offerors are responsible for including sufficient details, in a concise manner, to permit a complete and accurate evaluation of each quote.

  - Submission of quote shall include the following volumes: (I) Technical capability or quality offered to meet the Government requirement; and (II) Price

Volume I - Technical capability or quality to meet the Government requirement.

The offeror shall submit its quote demonstrating how to meet the requirements of the SOW and solicitation, to include Lumenis Inc Certification.

Volume II – Price

Price - The offeror shall complete the pricing schedule provided in Section (v) above: Price/Cost Schedule.

(End of Addendum to 52.212-1)

- 52.212-2, Evaluation--Commercial Items applies to this acquisition.

ADDENDUM to FAR 52.212-2 EVALUATION—COMMERCIAL ITEMS:

- The Government will award a contract resulting from this solicitation to the responsible offeror whose offer conforming to the solicitation will be most advantageous to the Government considering price and other factors.

- The following factors shall be used to evaluate quotations:

Factor 1.  Technical capability or quality offered to meet the Government requirement

Factor 2.  Price

- Evaluation Approach. The Government will evaluate quotations using the comparative evaluation process outlined in FAR 12.203, where quotations will be compared to one another to determine which provides the best benefit to the Government. The Government reserves the right to consider a quotation other than the lowest price that provides additional benefit(s). Quotations may exceed minimum requirements of the solicitation. The Government reserves the right to select a quotation that provides benefit to the Government that exceeds the minimum requirements of the solicitation but is not required to do so. Each response must meet the minimum requirements of the solicitation. The Government is not requesting or accepting alternate quotations. The evaluation will consider the following:

Factor 1. Technical capability or quality offered to meet the Government requirement: The quotation will be evaluated to the extent to which it can meet and/or exceed the Government’s requirements as outlined in the solicitation and based on the information requested in the instructions to quoters section of the solicitation.

Factor 2. Price: The Government will evaluate the price by adding the total of all line-item prices, including all options. The Government may use various price analysis techniques and procedures to make a price reasonableness determination. Offers that do not meet or exceed the technical capability or quality of the item offered to the Government requirement, as stated in Factor 1 shall not be selected regardless of price.

(End of Addendum to 52.212-2)

- 52.212-4, Contract Terms and Conditions--Commercial Items – applies to this acquisition Any inconsistencies in this solicitation or contract shall be resolved by giving precedence IAW 52.212-4(r). By submitting a quote, the offeror understands that quotes will not be referenced in 1449, and clauses incorporated in the solicitation will dictate the contract. All offerors shall comply with all applicable Federal, State and local laws, executive orders, rules and regulations applicable to its performance under the contract IAW FAR 52.212-4(q). The Government reserves the right to deny requests for clause changes that are not included in this solicitation should the request be inconsistent with the FAR or VAAR.

- The following FAR clauses incorporated by reference;

| Applicable (X) | Number | Title | Source |
| --- | --- | --- | --- |
|  | 52.203-6 with Alt I | Restrictions on Subcontractor Sales to the Government | Statute |
|  | 52.203-13 | Contractor Code of Business Ethics and Conduct | Statute |
| X | 52.203-17 | Contractor Employee Whistleblower Rights | Statute |
| X | 52.203-19 | Prohibition on Requiring Certain Internal Confidentiality Agreements or Statements | Statute |
| X | 52.204-9 | Personal Identity Verification of Contractor Personnel | Other |
| X | 52.204-13 | System for Award Management—Maintenance | Statute |
|  | 52.204-91 | Contractor identification | Other |
|  | 52.209-6 | Protecting the Government’s Interest When Subcontracting with Contractors Debarred, Suspended, or Proposed for Debarment | Statute |
|  | 52.209-9 | Updates of Publicly Available Information Regarding Responsibility Matters | Statute |
| X | 52.209-10 | Prohibition on Contracting with Inverted Domestic Corporations | Statute |
|  | 52.219-4 | Notice of Price Evaluation Preference for HUBZone Small Business Concerns | Statute |
|  | 52.219-6 | Notice of Total Small Business Set-Aside | Statute |
|  | 52.219-6 with Alt I | Notice of Total Small Business Set-Aside, with Alternate I | Statute |
|  | 52.219-8 | Utilization of Small Business Concerns | Statute |
|  | 52.219-9 | Small Business Subcontracting Plan | Statute |
|  | 52.219-9 with Alt I | Small Business Subcontracting Plan, with Alternate I | Statute |
|  | 52.219-9 with Alt II | Small Business Subcontracting Plan, with Alternate II | Statute |
|  | 52.219-9 with Alt III | Small Business Subcontracting Plan, with Alternate III | Statute |
|  | 52.219-9 with Alt IV | Small Business Subcontracting Plan, with Alternate IV | Statute |
|  | 52.219-14 | Limitations on Subcontracting | Statute |
|  | 52.219-16 | Liquidated Damages—Subcontracting Plan | Statute |
|  | 52.219-33 | Nonmanufacturer Rule | Statute |
| X | 52.222-3 | Convict Labor | EO |
|  | 52.222-19 | Child Labor—Cooperation with Authorities and Remedies | EO |
|  | 52.222-35 | Equal Opportunity for Veterans | Statute |
|  | 52.222-35 with Alt I | Equal Opportunity for Veterans, with Alternate I | Statute |
| X | 52.222-36 | Equal Opportunity for Workers with Disabilities | Statute |
|  | 52.222-36 with Alt I | Equal Opportunity for Workers with Disabilities, with Alternate I | Statute |
|  | 52.222-37 | Employment Reports on Veterans | Statute |
| X | 52.222-40 | Notification of Employee Rights Under the National Labor Relations Act | EO |
| X | 52.222-41 | Service Contract Labor Standards | Statute |
| X | 52.222-42 | Statement of Equivalent Rates for Federal Hires | Statute |
| X | 52.222-43 | Fair Labor Standards Act and Service Contract Labor Standards-Price Adjustment (Multiple Year and Option Contracts) | Statute |
|  | 52.222-44 | Fair Labor Standards Act and Service Contract Labor Standards-Price Adjustment | Statute |
| X | 52.222-50 | Combating Trafficking in Persons | Statute |
|  | 52.222-50 with Alt I | Combating Trafficking in Persons, with its Alternate I | Statute |
|  | 52.222-51 | Exemption from Application of the Service Contract Labor Standards to Contracts for Maintenance, Calibration, or Repair of Certain Equipment—Requirements | Other |
|  | 52.222-53 | Exemption from Application of the Service Contract Labor Standards to Contracts for Certain Services—Requirements | Other |
|  | 52.222-54 | Employment Eligibility Verification | EO |
| X | 52.222-62 | Paid Sick Leave Under Executive Order 13706 | EO |
|  | 52.223-9 | Estimate of Percentage of Recovered Material Content for EPA-Designated Items | Statute |
|  | 52.223-9 with Alt I | Estimate of Percentage of Recovered Material Content for EPA-Designated Items, with Alternate I | Statute |
|  | 52.223-11 | Ozone-Depleting Substances and High Global Warming Potential Hydrofluorocarbons | Statute |
|  | 52.223-12 | Maintenance | Statute |
|  | 52.223-20 | Aerosols | Statute |
|  | 52.223-21 | Foams | Statute |
| X | 52.223-23 | Sustainable Products and Services | Statute |
|  | 52.224-3 | Privacy Training | Statute |
|  | 52.224-3 with Alt I | Privacy Training, with Alternate I | Statute |
|  | 52.225-1 | Buy American-Supplies | Statute |
|  | 52.225-1 with Alt I | Buy American-Supplies, with Alternate I | Statute |
|  | 52.225-3 | Buy American-Free Trade Agreements-Israeli Trade Act | Statute |
|  | 52.225-3 with Alt II | Buy American-Free Trade Agreements-Israeli Trade Act, with Alternate II | Statute |
|  | 52.225-3 with Alt III | Buy American-Free Trade Agreements-Israeli Trade Act, with Alternate III | Statute |
|  | 52.225-3 with Alt IV | Buy American-Free Trade Agreements-Israeli Trade Act, with Alternate IV | Statute |
|  | 52.225-5 | Trade Agreements | Statute |
|  | 52.225-19 | Contractor Personnel in a Designated Operational Area or Supporting a Diplomatic or Consular Mission outside the United States | Other |
|  | 52.225-26 | Contractors Performing Private Security Functions Outside the United States | Statute |
|  | 52.226-4 | Notice of Disaster or Emergency Area Set-Aside | Statute |
|  | 52.226-5 | Restrictions on Subcontracting Outside Disaster or Emergency Area | Statute |
| X | 52.226-8 | Encouraging Contractor Policies to Ban Text Messaging While Driving | EO |
|  | 52.229-12 | Tax on Certain Foreign Procurements | Statute |
| X | 52.232-29 | Terms for Financing of Commercial Products and Commercial Services | Statute |
|  | 52.232-30 | Installment Payments of Commercial Products and Commercial Services | Statute |
| X | 52.232-33 | Payment by Electronic Funds Transfer—System for Award Management | Statute |
|  | 52.232-34 | Payment by Electronic Funds Transfer—Other than System for Award Management | Statute |
|  | 52.232-36 | Payment by Third Party | Statute |
| X | 52.232-40 | Providing Accelerated Payments to Small Business Subcontractors | Statute |
|  | 52.232-90 | 52.232-90, Fast Payment Procedure | Statute |
|  | 52.233-3 | Protest After Award | Statute |
| X | 52.233-4 | Applicable Law for Breach of Contract Claim | Statute |
| X | 52.240-91 | Security Prohibitions and Exclusions | Statute |
|  | 52.240-91 with Alt I | Security Prohibitions and Exclusions, with Alternate I | Statute |
|  | 52.240-92 | Security Requirements | Other |
|  | 52.240-92 with Alt II | Security Requirements with Alternate II | Other |
|  | 52.240-93 | Basic Safeguarding of Covered Contractor Information Systems |  |
| X | 52.244-6 | Subcontracts for Commercial Products and Commercial Services | Statute |
|  | 52.247-64 | Preference for Privately Owned U.S.-Flag Commercial Vessels | Statute |
|  | 52.247-64 with Alt I | Preference for Privately Owned U.S.-Flag Commercial Vessels, with Alternate I | Statute |
|  | 52.247-64 with Alt II | Preference for Privately Owned U.S.-Flag Commercial Vessels, with Alternate II | Statute |

- Additional contract requirements or terms and conditions:

52.217-8	 Option to Extend Services (NOV 1999)

The Government may require continued performance of any services within the limits and at the rates specified in the contract. These rates may be adjusted only as a result of revisions to the prevailing labor rates provided by the Secretary of Labor. The option provision may be exercised more than once, but the total extension of performance hereunder shall not exceed 6 months. The Contracting Officer may exercise the option by written notice to the Contractor within 45 days.

52.217-9	 Option to Extend the Term of the Contract (MAR 2000)

(a) The Government may extend the term of this contract by written notice to the Contractor within 45 days provided that the Government gives the Contractor a preliminary written notice of its intent to extend at least 60 days before the contract expires. The preliminary notice does not commit the Government to an extension.

(b) If the Government exercises this option, the extended contract shall be considered to include this option clause.

(c) The total duration of this contract, including the exercise of any options under this clause, shall not exceed 5 years 6 months.

852.212-70, Provisions and Clauses Applicable to VA Acquisition of Commercial Items (Apr 2020)

| VAAR 852.203-70 | Commercial Advertising (MAY 2018) |
| --- | --- |
| VAAR 852.232-72 | Electronic Submission of Payment Requests (NOV 2018) |
| VAAR 852.233-70 | Protest Content/Alternative Dispute Resolution (OCT 2018) |
| VAAR 852.233-71 | Alternate Protest Procedure (OCT 2018) |
| VAAR 852.246-71 | Rejected Goods (OCT 2018) |

852.252-70, Solicitation Provisions or Clauses Incorporated by Reference (Jan 2008)

The following provisions or clauses incorporated by reference in this solicitation must be completed by the offeror or prospective contractor and submitted with the quotation or offer.  Copies of these provisions or clauses are available on the Internet at the web sites provided in the provision at FAR 52.252-1, Solicitation Provisions Incorporated by Reference, or the clause at FAR 52.252-2, Clauses Incorporated by Reference.  Copies may also be obtained from the contracting officer.

http://www.acquisition.gov/far/index.html

https://www.acquisition.gov/vaar

The following FAR provisions are to be incorporated by reference:

| Applicable (X) | Number | Title | Source |
| --- | --- | --- | --- |
|  | 52.203-11 | Certification and Disclosure Regarding Payments to Influence Certain Federal Transactions | Statute |
| X | 52.203-18 | Prohibition on Contracting with Entities that Require Certain Internal Confidentiality Agreements or Statements-Representation | Statute |
| X | 52.204-7 | System for Award Management—Registration | Statute |
|  | 52.204-7 with Alt I | System for Award Management—Registration, with Alternate I | Statute |
|  | 52.204-90 | Offeror Identification | Statute |
|  | 52.207-6 | Solicitation of Offers from Small Business Concerns and Small Business Teaming Arrangements or Joint Ventures (Multiple-Award Contracts) | Statute |
|  | 52.209-12 | Certification Regarding Tax Matters | Statute |
|  | 52.219-2 | Equal Low Bids | Statute |
|  | 52.222-18 | Certification Regarding Knowledge of Child Labor for Listed End Products | E.O. |
|  | 52.222-48 | Exemption from Application of the Service Contract Labor Standards for Maintenance, Calibration, or Repair of Certain Equipment–Certification | Other |
|  | 52.222-52 | Exemption from Application of the Service Contract Labor Standards for Certain Services-Certification | Other |
|  | 52.222-56 | Certification Regarding Trafficking in Persons Compliance Plan | Statute |
|  | 52.223-4 | Recovered Material Certification | Statute |
|  | 52.225-2 | Buy American Certificate | Statute |
|  | 52.225-4 | Buy American-Free Trade Agreements-Israeli Trade Act Certificate | Statute |
|  | 52.225-6 | Trade Agreements-Certificate | Statute |
|  | 52.225-20 | Prohibition on Conducting Restricted Business Operations in Sudan-Certification | Statute |
|  | 52.225-25 | Prohibition on Contracting with Entities Engaging in Certain Activities or Transactions Relating to Iran-Representation and Certifications | Statute |
|  | 52.226-3 | Disaster or Emergency Area Representation | Statute |
|  | 52.229-11 | Tax on Certain Foreign Procurements—Notice and Representation | Statute |
| X | 52.240-90 | Security Prohibitions and Exclusions Representations and Certifications | Statute |

The following VAAR clauses are to be incorporated by reference:

| VAAR 852.212-71 | Gray Market Items (APR 2020) |
| --- | --- |

- The Defense Priorities and Allocations System (DPAS) does not apply.

- Date and Time offers are due to eric.adusei@va.gov by 2:00pm MT, December 4th, 2025.

- Name and email of the individual to contact for information regarding the solicitation:

Eric Adusei

Eric.adusei@va.gov

- The contractor shall furnish labor for support calls, parts, and equipment necessary to provide Preventative maintenance and support for the equipment and system listed below.  Equipment is located at the Rocky Mountain Regional VA Medical Center, 1700 N Wheeling Street, Aurora, CO 80045.

SPECIFIC SERVICE FOR

  - Gold Service Plan for Digital Duet YAG Eye Laser (SN#10143) System ID 554 MX2789784

2.0	HOURS OF COVERAGE

2.1	Normal hours of coverage are Monday through Friday from 8:00 a.m. to 5:00 p.m., excluding the federal holidays listed as follows:

Federal Holidays:

New Year’s Day	Dr. Martin Luther King Jr’s Birthday   	Presidents’ Day

Memorial Day		Juneteenth 				Independence Day			Labor Day		Columbus Day				Veteran’s Day		Thanksgiving Day	Christmas Day

Any other day specifically declared a National Holiday by the President of the 		    		 United States

2.2	When one of the above designated legal holidays falls on a Sunday, the following Monday will be observed as a legal holiday.  When a legal holiday falls on a Saturday, the preceding Friday is observed as a holiday by US Government Agencies.

3.0	PARTS

3.1	The contractor shall furnish all spare and replacement parts needed to provide preventative maintenance service  to the equipment.  The price of all parts used to perform all scheduled preventive maintenance shall be included in the coverage. Any unscheduled maintenance shall be coordinated with the Government POC and be covered under the Not to Exceed maintenance costs. The Government will not pay for any parts provided (during either scheduled or unscheduled maintenance), by the contractor during the period of the medical equipment being covered. Only new standard parts (manufactured by the maker of the equipment, or equal) shall be furnished to maintain the equipment.

4.0	SERVICE MANUALS/TOOLS/EQUIPMENT

4.1	The contractor shall use tools, (test) equipment, service manuals or service diagnostic software. The contractor shall obtain, have on file, and make available the manufacturer's Field Service Engineer certificate (FSE) and all operational and technical documentation (such as operational and service manuals, schematics, and parts list) necessary to meet the performance requirements and repair of the medical equipment. A reference list of applicable service manuals and their respective locations shall be provided to the Biomedical Engineer upon request.

5.0	DOCUMENTATION/REPORTS

5.1	The documentation shall include detailed descriptions of the scheduled and unscheduled maintenance procedures performed. Each Engineer Service Report (ESR) must, at a minimum, document the following data legibly and in complete detail:

- Name of contractor and contract number

- Name of FSE who performed services

- Contractor service ESR number/log number

- Date, time (starting and ending), equipment downtime and hours on-site for
	service call.

- VA purchase order number(s) covering the call if outside normal working hours.

- Description of problems reported by the POC/user (if applicable).

- Identification of equipment to be serviced:

- Inventory ID number,

- Manufacturer's name, device name, model number & serial number,

- Any other manufacturer's identification numbers.

- Itemized Description of Service Performed (including, if applicable, costs
	associated with after normal working hour services) including:

- Labor and Travel,

- Parts (with part numbers),

- Materials and Circuit Location of problem/corrective action.

- Total Cost to be billed (if applicable - i.e., part(s) not covered or service rendered
	after normal hours of coverage).

- Signatures:

- FSE performing services described.

- Authorized VA Employee who witnessed service described.

NOTE: - Any additional charges claimed must be approved by the POC or CO before service is completed

5.2	The Contractor shall log in with Biomedical Engineering prior to performing any services. When the service is completed, the manufacturers Field Service Engineer (FSE) shall document services rendered on a legible ESR(s). The FSE shall log out with Biomedical Engineering and submit the ESR(s) to the Biomedical Engineer, or Point of Contact.  All ESRs shall be submitted to the equipment user for an “acceptance signature” and then to the POC for an “authorization signature”. If the POC is unavailable, a signed, authorized copy of the ESR shall be sent to the contractor after the work can be reviewed (if requested or noted on the ESR).

6.0	ADDITIONAL CHARGES

6.1	There will be no additional charge for time spent at the site (during or after the normal coverage areas) awaiting the arrival of additional FSE and/or delivery of parts

7.0 	REPORTING REQUIRED SERVICES BEYOND SERVICE SCOPE

7.1	The contractor shall immediately, but no later than 24 consecutive hours after discovery, notify the POC, in writing, of the existence or development of any defects in, or repairs required, to the scheduled equipment which, the contractor does not consider his/her responsibility due to “abuse” or “damage” to the equipment.  The contractor shall furnish the Government with a written estimate of the cost to make the necessary repairs.

8.0 	ACCEPTANCE OF CONDITION OF EQUIPMENT

8.1	The contractor accepts responsibility for the equipment covered under this equipment in an “as is” condition.  Inspection of the equipment by the contractor shall be done prior to coverage, if required by the contractor.

9.0	COMPETENCY AND CERTIFICATION OF PERSONNEL SERVICING EQUIPMENT

9.1	Each respondent must have an established business, with an office and full-time staff.  The staff shall include a fully qualified manufacturers Field Service Engineer (FSE) and fully qualified alternate FSE.

9.2	“Fully Qualified” is based on successful completion of factory training and experience in the field.  For training, the FSE shall have successfully completed a formalized training program for the equipment identified in the schedule.  For field experience, the FSE(s) shall have a minimum of two years of experience (with the exception of equipment on the market less than two years) with respect to scheduled and unscheduled preventive and remedial maintenance, on the covered equipment.

9.3	The FSEs shall be authorized by the contractor to perform the maintenance services.  All work shall be performed by fully qualified competent FSEs.  The contractor shall provide copies of all factory certificates for FSEs showing types of equipment and dates of training for all equipment identified to be covered.  When deemed appropriate, the POC reserves the right to prohibit contractor personnel from working on VAMC equipment.

10.0   	Records

10.1	 The Contractor shall immediately notify the appropriate Contracting Officer upon discovery of any inadvertent or unauthorized disclosures of information, data, documentary materials, records or equipment. Disclosure of non-public information is limited to authorized personnel with a need-to-know as described in the contract. The Contractor shall ensure that the appropriate personnel, administrative, technical, and physical safeguards are established to ensure the security and confidentiality of this information, data, documentary material, records and/or equipment is properly protected. The contractor shall not remove material from Government facilities or systems, or facilities or systems operated or maintained on the Government’s behalf, without the express written permission of the Head of the Contracting Activity. When information, data, documentary material, records and/or equipment is no longer required, it shall be returned to ECHCS control or the Contractor must hold it until otherwise directed. Items returned to the Government shall be hand carried, emailed, or securely electronically transmitted to the Contracting Officer or address prescribed in the Contract. Destruction of records is EXPRESSLY PROHIBITED unless in accordance with Paragraph (4).

10.2	  The Contractor is required to notify the Contracting Officer of any contractual relationship (sub-contractor) in support of this contract. The Contractor (and any sub-contractor) is required to abide by Government and ECHCS guidance for protecting sensitive, proprietary information, classified, and controlled unclassified information.

10.3	 The Contractor shall only use Government equipment for purposes specifically tied to or authorized by the contractor and in accordance with ECHCS policy.

10.4	 The Contractor shall not create or maintain any records containing any non-public ECHCS information that are not specifically tied to or authorized by the contract.

11.0 	FLOWDOWN OF REQUIREMENTS TO SUBCONTRACTORS

11.1	  The Contractor shall incorporate the substance of all clause, its terms and requirements including this paragraph, in all subcontracts under this contract, and require written subcontractor acknowledgement of same.

11.2	 Violation by a subcontractor of any provision set forth in this clause will be attributed to the Contractor.

- SECURITY AND PRIVACY CONTROLS COMPLIANCE TESTING, ASSESSMENT AND AUDITING.

12.1	Should VA request it, the contractor shall provide a copy of their (corporation’s, sole proprietorship’s, partnership’s, limited liability company (LLC), or other business structure entity’s) policies, procedures, evidence and independent report summaries related to specified cybersecurity frameworks (International Organization for Standardization (ISO), NIST Cybersecurity Framework (CSF), etc.). VA or its third-party/partner designee (if applicable) are further entitled to perform their own audits and security/penetration tests of the contractor’s IT or systems and controls, to ascertain whether the contractor is complying with the information security, network or system requirements mandated in the agreement between VA and the contractor.

12.2           Any audits or tests of the contractor or third-party designees/partner VA elects to carry out will commence within 30 business days of VA notification. Such audits, tests and assessments may include the following: (a): security/penetration tests which both sides agree will not unduly impact contractor operations; (b): interviews with pertinent stakeholders and practitioners; (c): document review; and (d): technical inspections of networks and systems the contractor uses to destroy, maintain, receive, retain, or use VA information.

12.3         As part of these audits, tests and assessments, the contractor shall provide all information requested by VA. This information includes, but is not limited to, the following: equipment lists, network or infrastructure diagrams, relevant policy documents, system logs or details on information systems accessing, transporting, or processing VA data.

  - The contractor and at its own expense, shall comply with any recommendations resulting from VA audits, inspections and tests. VA further retains the right to view any related security reports the contractor has generated as part of its own security assessment. The contractor shall also notify VA of the existence of any such security reports or other related assessments, upon completion and validation.

  - VA appointed auditors or other government agency partners may be granted access to such documentation on a need-to-know basis and coordinated through the POC/CO. The contractor shall comply with recommendations which result from these regulatory assessments on the part of VA regulators and associated government agency partners.

See attached document: Wage Determination  08-07-2025.