| SUBJECT* | Ventless Griddle |
| --- | --- |

GENERAL INFORMATION

| CONTRACTING OFFICE’S ZIP CODE* | 90815 |
| --- | --- |
| SOLICITATION NUMBER* | 36C26226Q0169 |
| RESPONSE DATE/TIME/ZONE | 12-09-2025 1:00 PM PACIFIC TIME, LOS ANGELES, USA |
| ARCHIVE | 60 DAYS AFTER THE RESPONSE DATE |
| RECOVERY ACT FUNDS | N |
| SET-ASIDE |  |
| PRODUCT SERVICE CODE* | 7320 |
| NAICS CODE* | 333241 |
| CONTRACTING OFFICE ADDRESS | Department of Veterans Affairs Network Contracting Office 22 4811 Airport Plaza Drive Suite 600 Long Beach CA 90815 |
| POINT OF CONTACT* | Contract Specialist Choo, Sam sam.choo@va.gov sam.choo@va.gov |

PLACE OF PERFORMANCE

| ADDRESS | Department of Veterans Affairs |
| --- | --- |
|  | Greater Los Angeles VA Healthcare System |
|  | Building 297, Warehouse |
|  | 11301 Wilshire Blvd |
|  | Los Angeles CA |
| POSTAL CODE | 90073 |
| COUNTRY | USA |

ADDITIONAL INFORMATION

| AGENCY’S URL |  |
| --- | --- |
| URL DESCRIPTION |  |
| AGENCY CONTACT’S EMAIL ADDRESS |  |
| EMAIL DESCRIPTION |  |

DESCRIPTION

THIS REQUEST FOR INFORMATION (RFI) / SOURCES SOUGHT NOTICE ISSUED SOLELY FOR INFORMATION AND PLANNING PURPOSES. THIS IS NOT A SOLICITATION.

SUBMISSION OF INFORMATION ABOUT PRICING, DELIVERY, THE MARKET, AND CAPABILITIES IS HIGHLY ENCOURAGED AND ALLOWED UNDER THIS RFI FOR PLANNING PURPOSES IN ACCORDANCE WITH (IAW) FAR 15.201(e).

DISCLAIMER

This RFI is issued solely for information and planning purposes and does not constitute a solicitation.  All information received in response to this RFI that is marked as proprietary will be handled accordingly.  IAW FAR 15.201(e), responses to this notice are not offers and cannot be accepted by the Government to form a binding contract.  Responders are solely responsible for all expenses associated with responding to this RFI.

SOURCES SOUGHT/RFI DESCRIPTION

This is NOT a solicitation announcement.  This is a Sources Sought Notice / RFI only.  The purpose of this Sources Sought Notice / RFI is to gain information about potential qualified sources and their size classification relative to NAICS 333241 (size standard of 500 Employees). Responses to this Sources Sought Notice / RFI will be used by the Government to make appropriate acquisition decisions. After review of the responses to this Sources Sought Notice / RFI, further RFIs and/or a solicitation or other announcements may be published.

The Department of Veterans Affairs (VA) is seeking sources capable of providing Ventless Griddle for Nutrition and Food Service at VA Healthcare System – Greater Los Angeles.

- Scope: Contractor shall provide listed products and services (if any) at firm-fixed price during contractual performance period.

  - Ventless Griddle

    - Wells (Middleby) Model No. WVG‐136, VCS2000 or Equal

    - Must be electric

    - Must have 22" x 18" grill area

    - Must have thermostatic controls, self‐contained hood system, stainless steel construction, cabinet base with doors, front legs and rear casters.

    - Must be UL, cULus, NSF certified

    - Must equip Pre-filter and HEPA Charcoal Filter

    - 208/240v/60/3-ph, 7.3/9.5 kW, 29/33 amps, dual voltage

    - Dimensions: 77.19(h) x 42.38(w) x 35.06(d) or smaller

    - White – glove service required

  - Fire Suppression Unit

    - UL‐300 Wet Chemical Fire Suppression System or Equal

    - Must comply with the standards of NFPA 96 and 17a, ISO, and local fire codes

    - Must provide Design / Material / Installation of (1) ANSUL Fire Suppression System for Wells Ventless Hood

    - Must Include Mechanical Plans along w/ Field w/ Fire Inspector

    - Must Include Electric Gas Valve up to 2” and Include Permit Fees

    - Must include material and workmanship warranty for one year from the date of installation

    - White – glove service required

- Protection / Additional Warranty

  - Coverage for total of 60 months from the date of installation (overlapping the 1 year factory warranty).

If your company is interested and capable of providing the required supplies/services, you MUST provide the information indicated below OR your intent, interest to participation, and information provided will not be considered as valid for research purposes. Response to this notice should include company name, address, point of contact, size of business pursuant to the following questions:

(1) Submit your capabilities statement illustrating how your organization can/cannot meet the list of DRAFT/SALIENT CHARACTERISTICS/SOW requirements.  For instances where your company cannot meet the DRAFT/SALIENT CHARACTERISTICS/SOW requirement(s), please explain.  For instances where your company can meet the DRAFT/SALIENT CHARACTERISTICS/SOW requirement(s), please show how your company meets/exceeds each requirement.

(2) Please review the list of DRAFT/SALIENT CHARACTERISTICS/SOW requirements and provide any additional feedback or suggestions.  If none, please reply as N/A.

(3) Please indicate the size status and representations of your business, such as but not limited to: Service-Disabled Veteran-Owned Small Business (SDVOSB), Veteran-Owned Small Business (VOSB), HUBZone, Woman Owned Small Business (WOSB), Large Business, etc.

(4) Is your company considered small under the NAICS code identified in this RFI?

(5) Are you the manufacturer, authorized distributor, and/or can your company provide a solution to the required supplies/services described in the list of DRAFT/SALIENT CHARACTERISTICS/SOW?

(6) If you are a large business, do you have any designated/authorized distributors? If so, please provide their company name, telephone, point of contact and size status (if available).

(7) If you’re a small business and you are an authorized distributor/reseller for the items identified above, do you alter; assemble; modify; the items requested in any way? If you do, state how and what is altered; assembled; modified.

(8) Limitations on Subcontracting: How does your business ensure compliance with the limitations on subcontracting as outlined in 13 CFR § 125.6?

(9) Are the items you are identifying/providing considered Commercial of the Shelf (COTS) items as defined in FAR Part 2.101 under commercial items?

(10) Non-Manufacturer Rule: If applicable, can you confirm your business complies with the Non-Manufacturer rule? Specifically, does your company: Provide a product from a small business manufacturer or processor? Not exceed 500 employees? Primarily engage in the retail or wholesale trade and normally sell the type of item being supplied? Take ownership or possession of the item(s) with its personnel, equipment or facilities in a manner consistent with industry practice?

(11) Please indicate whether your product conforms to the requirements of the Buy American Act? Please indicate if manufacturer is/will be US domestic Small Business / US Domestic Large Business / Foreign.

(12) What is your lead time to deliver a single unit with all components?  Is there scale in lead time with greater quantities? Please elaborate.

(13) What is estimated life span of your solution?  What support/services does that entail?

(14) Does your organization offer a leasing solution?  Please elaborate.

(15) Does your company have a Federal Supply Schedule (FSS) GSA/NAC/SAC/BPA/NASA SEWP or any other Federal Government contract? If so, please provide the contract number(s).

(16) If you are an FSS GSA/NAC/SAC/BPA/NASA SEWP or any other Federal Government contract holder, are all the items/solutions you are providing available on your schedule/contract? Please state if all or some items are available on the contract.

(17) General pricing of your products/solution is encouraged. Pricing will be used for the purpose of market research only. It will not be used to evaluate any type of award.

(18) Please provide your SAM.gov Unique Entity ID/Cage Code number.

Responses to this notice shall be submitted via email to sam.choo@va.gov. Telephone responses will not be accepted.  Responses must be received no later than Thursday, December 09, 2025 by 1:00 PM PT.

All responses to this Sources Sought/RFI will be used for planning purposes only.  Responses to this Sources Sought Notice / RFI are not considered a request to be added to a prospective bidders list or to receive a copy of the solicitation.  If further RFIs and/or a solicitation or other announcement is issued as a result of the information provided from this RFI, all interested parties must respond to the specific posting separately IAW the specifications of that announcement.

See attached document: 36C26226Q0169.