COMBINED SYNOPSIS/SOLICITATION

General Services Administration (GSA) RFQ1787669

Immunohematology Blood-Grouping Analyzer Cost Per Test Contract

Naval Medical Center Portsmouth, VA (NMCP)

AMENDMENT 2 – The purpose of this amendment is to:

- Update the RFQ closing date from Friday, 09 December 2025, to Tuesday, 09 December 2025 for clarification.

- Update Page 2 of the Combined Synopsis/Solicitation to depict a delivery schedule opposed to a period of performance for this supply order.

- Update the unit of measure from “Month” to “Each” on Page 3 of the Combined Synopsis/Solicitation.

- Update Page 14 of the Combined Synopsis/Solicitation to more accurately depict a delivery schedule opposed to a period of performance that more accurately reflects a supply order.

- Update Attachment 2-Pricing Sheet to add the following limitation: “The DHACA contract writing system cannot exceed the second decimal place. Please ensure all unit pricing and totals are rounded to the second decimal place.”

- Include RFQ “Attachment 6-Questions and Answers.” and update the List of Attachments to include Attachment 6 in the Combined Synopsis Solicitation.

_________________

AMENDMENT 1 - The purpose of this amendment is to:

- Update Statement of Work (SOW) Section 5.1.5: Update the second column title from “Quantity” to “Projected Annual Quantities” for clarification.

- Add the following sections in the SOW:

5.1.16  Shelf-life minimum for reagents: 60 days minimum.

5.1.17  Self-calibration requirements: Analyzer must perform internal verification of pipetting accuracy, incubation temperature, centrifuge speed, and optical grading each time it runs.

5.1.18  Output times: Minimal output time of 30 minutes per test cycle.

5.1.19  Special considerations: Analyzer must be capable of performing C & E phenotyping.

5.1.20  Equipment must operate at a controlled temperature of 15–30 °C to ensure optimal performance of incubation, centrifugation, and reagent handling systems.

- Update Attachment-1-SOW-Checklist: To include the new section and added clarifications provided in Amendment 1.

4)  Update Exhibit 1-Addendum to 52.212-1: Update Section 5c to  PROPOSAL DUE DATE: No Later Than 10:00 pm ET; on Tuesday, 09 December 2025 at 10:00 p.m. ET.

_________________

This is a combined synopsis/solicitation for commercial products prepared in accordance with FAR 12.6, Streamlined Procedures for Evaluation and Solicitation for Commercial Products and Commercial Services, as supplemented with additional information included in this notice and FAR 13, Simplified Acquisition Procedures. This announcement constitutes the only solicitation; proposals are being requested, and a written solicitation will not be issued. The solicitation number is RFQ1787669. The solicitation is issued as a Request for Quotation (RFQ) via GSA eBuy at https://www.ebuy.gsa.gov/ebuy/. Provisions and clauses in effect through Federal Acquisition Circular 2023-05 (published 08August 2023) are incorporated. It is the contractor’s responsibility to be familiar with the applicable clauses and provisions. The clause may be accessed in full text at: https://www.acquisition.gov/.

There is no set-aside used for this action. The associated North American Industrial Classification System (NAICS) code for this procurement is 334516, with a small business size standard of 1,000 Employees.

The Naval Medical Center Portsmouth (NMCP) requires two automated immunohematology analyzers, along with associated reagents, quality control materials, maintenance services, and consumables, to support the Transfusion Services Division of the Laboratory Department. This division is integral to both routine and emergent patient care across Hampton Roads and its supported commands. Transfusion Services is responsible for the testing, preparation, and distribution of blood products for surgical, trauma, and hematologic patients. It ensures safe and timely transfusion support through immunohematology testing, compatibility verification, and inventory management of blood components. The division also supports massive transfusions and contingency operations by maintaining validated procedures and reliable instrumentation. The solicitation will result in one (1) firm fixed price order through the GSA.

The estimated Delivery Period is 01 January 2026 through 31 December 2026 (Reference page 14 for details).

The scope of the requirement is listed in the Scope of Work (SOW). Naval Medical Center Portsmouth, VA (NMCP) requests responses from qualified sources capable of providing services outlined in the SOW.

ADMINISTRATIVE INFORMATION

Contracting Officer: Matthew Teel

The Question-and-Answer period of the solicitation can be found in ADDENDUM to 52.212-1 – INSTRUCTIONS TO OFFERORS – COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES

The closing date of the solicitation can be found in ADDENDUM to 52.212-1 – INSTRUCTIONS TO OFFERORS – COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES

The evaluation criteria can be found in ADDENDUM to 52.212-2 – EVALUATION – COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES

ADMINISTRATIVE INFORMATION

The point of contact for administrative concerns at Defense Health Agency (DHA), is Mr. Matthew Teel, matthew.d.teel.civ@health.mil.

| Item | Supplies / Services | Quantity | Unit | Unit Price | Amount |
| --- | --- | --- | --- | --- | --- |
| 0001 | ANALYZER, LAB, HEMATOLOGY, BLOOD GROUP FFP Two (2) Immunohematology Blood-Grouping Analyzer Cost Per Test Contract GEL Analyzers, to perform the same tests to provide redundancy forming a blood grouping analyzer system. Laboratory, hematology, blood grouping, automated. TO INCLUDE REGEANTS, QUALITY CONTROL, TRAINING, MAINTENANCE, AND CONSUMABLES IAW ATTACHED STATEMENT OF WORK (SOW), to be BILLED MONTHLY IN ARREARS for Naval Medical Center Portsmouth (NMCP). Capable to perform following tests IAW SOW; ABO/Rh Typing (Estimated Quantity = 26,400), Antibody Identification (Est. Qty. = 2,400), Antibody Screening (Est. Qty. = 8,400), Antibody Titers (Est. Qty. = 1,200), Antigen Typing (Est. Qty. = 1,200), Direct Antiglobulin Test (Est. Qty. = 4,800), Crossmatch (Est. Qty. = 3,600), Fetal Maternal Hemorrhage Screen (Est. Qty. = 1,200), Rh Immunoglobulin Workup (Est. Qty. = 1,200). The requirements in DFARS 252.211-7003, Item Identification and Valuation, are applicable for this line item. The contractor shall provide DoD unique identification, or a DoD recognized unique identification equivalent FOB: Destination MFR PARTNER: <To Be Entered Upon Award> ADDITIONAL MARKINGS: ATTN: <To Be Entered Upon Award> PSC CD: 6515 FFP In accordance with the Scope of Work (SOW). FOB: Destination | 12 | Each | $ | $ |

Department of Defense

Defense Health Agency

Scope of Work

Immunohematology Blood-Grouping Analyzer Cost Per Test Contract

Naval Medical Center Portsmouth, VA (NMCP)

Laboratory/Transfusion Services Department

Solicitation Number: RFQ1787669

Version: 2

Date: 25 November 2025

- Background/Acquisition History of the item(s) required.

  - The Naval Medical Center Portsmouth (NMCP) requires two automated immunohematology analyzers, along with associated reagents, quality control materials, maintenance services, and consumables, to support the Transfusion Services Division of the Laboratory Department. This division is integral to both routine and emergent patient care across Hampton Roads and its supported commands. Transfusion Services is responsible for the testing, preparation, and distribution of blood products for surgical, trauma, and hematologic patients. It ensures safe and timely transfusion support through immunohematology testing, compatibility verification, and inventory management of blood components. The division also supports massive transfusions and contingency operations by maintaining validated procedures and reliable instrumentation.

  - The requested immunohematology analyzers perform critical testing functions, including ABO/Rh typing, antibody screening, and crossmatching. These systems are essential for ensuring transfusion safety, minimizing turnaround time, and maintaining compliance with regulatory standards established by the Food and Drug Administration (FDA), Association for The Advancement of Blood and Biotherapies (AABB), and College of American Pathologists (CAP). Their integrated software platforms enable automated workflows, data integrity, and traceability, which are key elements in both clinical care and operational readiness. The accompanying reagents, quality control materials, maintenance services, and consumables are necessary to sustain uninterrupted analyzer performance, ensure timely software updates, and provide rapid technical support. Without these provisions, Transfusion Services would face delays in blood product release, increased risk of transfusion-related errors, and diminished readiness for inpatient care and military medical contingencies.

- Purpose.

2.1  The proposed action is for a Cost Per Test (CPT) contract for two (2) analyzers – laboratory – immunohematology - blood grouping - automated, reagents, quality control, maintenance, and consumables for NMCP. These analyzers shall be the same model and perform the same tests to provide redundancy to form a blood grouping analyzer system. If a vendor solution requires more than one model analyzer to provide all required tests, vendors shall propose two of each model analyzer to meet the required redundancy.

- Delivery Period

3.1  Period of Performance / Delivery Period: 01 January 2026 through 31 December 2026.

3.2  Number of Option Periods: No options are required for this effort.

- Name/Nomenclature of item and quantity required:

  - Two (2) Analyzers, Laboratory, Immunohematology, Blood Grouping, Automated

- Essential Characteristics:

5.1 The vendor shall ensure the analyzers and cost-per-test meet the following essential characteristics.

    - The blood grouping analyzers shall be fully automated, benchtop type analyzers capable of performing routine blood cross matching, ABO grouping and subgrouping, Rh and other red cell phenotyping, and antibody detection.

    - The automated blood grouping analyzers shall have a minimum daily throughput of 140 tests per day, or better.

    - The blood grouping analyzers shall be capable of gel technology.

    - The analyzers shall be capable of pre-transfusion and compatibility testing for patients in the emergency room, operating rooms, labor and delivery, hematology oncology, and pediatric and adult intensive care units (ICU).

    - The analyzers shall be capable of ABO/Rh/Grouping, ABO/Rh Confirmation, Antibody Screens, Antibody Identification, Selected Cell Panel, Rh Phenotype (C, c, E, e), Donor Confirmation, Crossmatch (Anti-Human Globulin (AHG), Antigen Typing, Serial Dilutions for Titration Studies, Direct Antiglobulin Test (DAT) (Polyspecific), DAT (IgG), and Cord Blood Testing.

    - The analyzers shall be capable of no-wash antiglobulin procedures to reduce testing time and liquid waste.

    - The analyzers shall not require antiglobulin control cells.

    - The analyzers shall be capable of processing various sample types including sedimented blood, plasma or serum.

    - The analyzers shall be capable of operating in various modes including continuous, random STAT and batch specimen. The analyzers shall be capable of processing various adult and pediatric test tubes.

    - The vendor shall provide two (2) printers.

    - The vendor shall provide six (6) patient sample racks per analyzer.

    - The vendor shall provide two (2) tables, each with a maximum dimensional footprint of 6 feet high x 9 feet wide (H x W).

    - The system, including claims made for the product, shall be compliant with FDA regulations, and shall be FDA approved, with respect to marketing and delivering medical products for use in the United States of America. These requirements shall apply even if delivery is requested outside of the United States of America.

    - The system shall be installed in compliance with Occupational Safety and Health Administration (OSHA) requirements.

5.1.15  The hematology blood-grouping analyzers shall be capable of performing at least, but not be limited to, the tests listed below. The blood grouping analyzers shall be capable of performing each test at least at the minimum workload indicated below:

| Table 01: Hematology Blood-Grouping Analyzers Minimum Annual Quantities |  |
| --- | --- |
| TEST | Projected Annual Quantities |
| ABO/Rh Typing | 26,400 |
| Antibody Identification | 2,400 |
| Antibody Screening | 8,400 |
| Antibody Titers | 1,200 |
| Antigen Typing | 1,200 |
| Direct Antiglobulin Test | 4,800 |
| Crossmatch | 3,600 |
| Fetal Maternal Hemorrhage Screen | 1,200 |
| Rh Immunoglobulin Workup | 1,200 |

5.1.16  Shelf-life minimum for reagents: 60 days minimum.

5.1.17  Self-calibration requirements - Analyzer must perform internal verification of pipetting accuracy, incubation temperature, centrifuge speed, and optical grading each time it runs.

5.1.18  Output times: Minimal output time of 30 minutes per test cycle.

5.1.19  Special considerations: Analyzer must be capable of performing C & E phenotyping.

5.1.20  Equipment must operate at a controlled temperature of 15–30 °C to ensure optimal performance of incubation, centrifugation, and reagent handling systems.

- List specific delivery, transportation, and installation requirements.

6.1 The vendor shall ensure to provide the following delivery, transportation, and installation requirements.

6.1.1  The vendor shall be responsible for the delivery, transportation, and installation of all required items. This includes uncrating, transporting the analyzers through the facility to the designated location, and removing all packaging waste. If interim storage is required, the vendor must arrange and manage storage until installation is completed. The vendor must also perform initial instrument operational validation. The vendor is also responsible for the initial instrument operational and performance validations.

6.1.2  To ensure continuous operation, deliveries must be structured based on the required testing volume. The monthly supply packages should support a minimum of:

- 2200 ABORh typing,

- 200 antibody identification,

- 700 antibody screening,

- 100 antibody titers,

- 100 antigen typing,

- 400 direct antiglobulin test,

- 300 crossmatch,

- 100 fetal maternal hemorrhage screen, and

- 100 RhIG workup tests per month.

6.1.3  Vendors must specify their package sizes and quantities, ensuring alignment with the required number of tests per month.

6.1.4  Each delivery shall include automated blood grouping reagents, quality control materials, consumables necessary for operations, including but not limited to test cartridges, sample racks, pipettes and other necessary lab accessories.

6.1.5  The vendor must define their unit of measure for containers, test kits, reagent bottles, etc., ensuring consistency in the delivery schedule.

6.1.6  The total annual supply must support a minimum of:

- 26,400 ABORh typings,

- 2,400 antibody identifications,

- 8,400 antibody screenings,

- 1,200 antibody titers,

- 1,200 antigen typings,

- 4,800 direct antiglobulin tests,

- 3,600 crossmatches,

- 1,200 fetal maternal hemorrhage screens, and

- 1,200 RhIG workups

6.1.7  Upon installation, the vendor shall provide:

6.1.7.1  A 30 -day validation period to confirm operational accuracy, including normal range verification, linearity studies, and replication tests.

6.1.7.2  User training for at least two staff members upon installation and annually thereafter.

6.1.7.3  Preventive maintenance coverage and Laboratory Information system (LIS) integration support.

6.1.7.4  Shipping shall be Free Onboard Shipping (FOB) Destination

6.1.8  Reagent and Supply Delivery:

6.1.8.1  All supplied items and reagents shall be certified for use with the equipment provided by the selected vendor.

6.1.8.2  All supplied items and reagents that require special handling (e.g. refrigeration, time sensitivity, immediate open, etc.) will be marked in an explicit manner with a label that is easily read, understandable, and a minimum of 3 inches x 3 inches (9 sq. inches). The label will be placed in three (3) or more locations on the container (top & two sides). Supplies or items that require refrigeration will have both the required Celsius and Fahrenheit temperature identified.

6.1.8.3  The contractor shall provide deliveries to the delivery point identified below:

Naval Medical Center Portsmouth Laboratory (Blood Bank)

620 John Paul Jones Circle

Building 2, 1st Floor

Portsmouth, VA 23708

7.0  Unique facility specifications/accommodations required for the equipment to be operational within the facility.

7.1  <Reserved>

8.0  Equipment required to be stationary  to include dimensions of the available space.

8.1  The dimensions of the available space for the two (2) analyzers shall not exceed 84 inches x 102 inches x 48 inches (H x W x D) collectively.

- Environmental factors regarding the equipment should be taken into consideration.

9.1  See Section 6.1.8.2.

- Annotate the voltage and electrical requirements for the equipment.

  - The electrical requirements for each analyzer are 120V and 60 Hz.

11.0  Original Equipment Manufacturer (OEM) authorized dealer/distributor/seller for any service, software, warranty, or maintenance requirements.

11.1  The contractor shall be an OEM authorized dealer, authorized distributor, or authorized reseller for the proposed equipment/system such that OEM warranty and service are provided and maintained by the OEM. All software licensing, warranty, and service associated with the equipment/system shall be in accordance with the OEM terms and conditions.

- Training.

  - The vendor shall provide user training for two (2) staff members upon installation.

  - The vendor shall provide user training for a minimum of two (2) staff members for the delivery period.

  - The vendor shall provide two (2) operational and two (2) service manuals.

  - Off-site training is preferred. On-site training shall be available.

12.5  Online training shall also be available on the vendor’s website.

13.0  Maintenance of the equipment.

13.1  The vendor shall provide LIS support and training for auto-validation of assays.

13.2  The vendor shall respond to corrective maintenance calls within one (1) hour of initial complaint via telephone.

  - If the issue cannot be corrected over the telephone, the vendor shall provide on-site support to correct the issue within 48 hours.

13.4  The Vendor Field Service Engineers shall be original equipment manufacturer (OEM) trained, experienced, and English-speaking personnel.  The Vendor shall provide all labor, tools, diagnostic equipment, software, material, supplies, transportation, parts and equipment necessary to perform Preventive Maintenance (PM), Calibration (CAL), Safety Testing (ST), and corrective maintenance (CM).

13.5  The Vendor shall provide telephonic communications to discuss technical matters relating to the performance of this contract. An English-speaking systems operator shall be made available to answer technical questions regarding system operations and applications.

13.6  Equipment listed in this contract will be maintained to meet and retain the OEM’s specifications and/or equipment certification.

  - Normal Business Hour Maintenance Coverage will be Monday through Friday, between 8:00 A.M. to 5:00 P.M. EST. The vendor shall provide full-service preventive maintenance.

13.8  Preventive maintenance shall be performed in accordance with OEM recommendations.

13.9  The vendor shall perform preventive maintenance service checks during the base contract period at the OEM’s recommended intervals. Vendor will also perform preventive maintenance service checks during each option year at a date and time mutually agreed upon by the vendor and the Government.

13.10  All test equipment used in the performance of this contract shall be calibrated, as required by the OEM, and shall be in compliance with The Joint Commission (JC), OEM, the College of American Pathologist’s (CAP), and Food and Drug Administration (FDA), and National Institute for Standards and Technology (NIST) standards.

13.11  Corrective Maintenance

13.11.1  Vendor shall provide on-site corrective maintenance between the hours of 8:00 A.M. and 5:00 P.M. EST, Monday-Friday, to include unlimited service calls.  Telephonic support shall be available 24 hours per day, 7 days per week, 365 days a year, excluding Federal Government holidays, which are identified online at the following site: https://www.opm.gov/policy-data-oversight/pay-leave/pay-administration/fact-sheets/holidays-work-schedules-and-pay.

13.11.2  A vendor service technician shall respond via telephone within two (2) hours after receipt of trouble call and provide on-site service within twenty-four (24) hours. Equipment shall be operational within forty-eight (48) hours of the initial trouble call.

13.11.3  Government request for corrective maintenance will be placed by NMCP Biomedical Engineering Division (BIOMED) personnel, to the Vendor.  Corrective maintenance shall be completed during the hours specified in the contract.

13.11.4  The vendor’s response to requests for service may include telephone consultation with the equipment user/operator and a Vendor Field Service Engineer (FSE). Telephone consultation 1) shall provide instruction in determining operator error; 2) shall determine the most likely cause of the problem; 3) shall determine if resolution of the problem requires the dispatch of a Field Service Engineer (FSE); and 4) should identify replacement parts likely to be required to return the equipment to 100% operational condition as specified by the OEM.

13.11.5  The vendor’s pricing shall be inclusive of all costs including parts, consumables, labor, travel, and shipping.

13.11.6  The vendor FSE shall have his/her own service manuals, specifications, schematic diagrams, and parts lists to assist in the evaluation and repair of all equipment included in this contract.

14.0 Replacement Parts/Updates

14.1  The vendor shall have ready-access to unique and/or high-mortality replacement parts. All parts supplied shall be compatible with the existing system. In the event replacement parts are required to be shipped, shipping shall be performed in the fastest reasonable means possible at no additional cost to the Government.

14.2  The vendor shall replace all worn or defective parts necessary to restore the equipment to 100% operational condition as specified by the OEM.

14.3  Freight, postage, and storage charges associated with shipment and receipt of replacement parts and the return of parts shall be the responsibility of the vendor.

14.4  All replacement parts shall be new, non-refurbished, and certified as OEM replacement parts.

14.5  The vendor shall install software revisions and updates (field service changes) that are required by FDA- or manufacturer-announced safety hazards, alerts, or recalls, including the FDA Year 2000 (Y2K) Compliance Directive, as part of the contract at no additional cost to the Government. Updates and revisions shall be performed as soon as possible after release, no later than the first scheduled Preventative Maintenance inspection after release. For any updates that have been identified as critical or required for the proper operation of equipment by the OEM, the vendor shall provide installation within 30 days of release regardless of preventative maintenance schedules.

14.6  With prior approval from the Government, the vendor may perform hardware/software upgrades as they become available.

15.0  Government Furnished Property, Materials and Services

15.1  The Government will be responsible for maintaining the proper environment, including utilities and site requirements necessary for the system to function properly as specified by the OEM.

15.2  The Government will operate the system in accordance with the instruction manual provided by the OEM.

15.3  The Government will not be responsible for the damage or loss due to fire, theft, accident, or other disaster of Vendor supplies, materials, or for the personal belongings brought onto Government property by Vendor’s personnel.

16.0  Vendor Furnished Property and Material.

16.1  The vendor shall provide all service literature, reference publications, laptop computers, and diagnostic software to be used by the vendor FSE as required for the completion of the services in accordance with this contract.

17.0  Vendor Report Requirements.

17.1  During normal duty hours, vendor FSE personnel shall check-in with the Biomedical Engineering Division upon arrival at the Government site and again prior to departure. The vendor FSEs shall personally notify BIOMED personnel of problems that result in the equipment being left disabled upon their departure. If equipment is left disabled, a method of physical use prevention of the disabled equipment shall be implemented, and the disabled equipment shall be locked out with a letter of intent in compliance with OSHA regulation to prevent any patient hazards. After normal duty hours, vendor FSEs shall notify the Officer of the Day Desk and the Duty BIOMED personnel.

17.2  The vendor shall provide a full-service report to BIOMED and the blood bank representative within two (2) days of completion of all services performed. Each service report shall at a minimum document the following data legibly, in complete detail, and in English:

- Name of Vendor

- Contract Number

- Name of field service technician performing service

- Vendor log/control number

- Date, time (beginning and ending), and hours on-site for service call

- Description of problem reported by user

- Equipment identification factors to include manufacturer, make, model, serial number, and Facility Equipment Control Number (ECN)

- Itemized description of service performed to include labor and travel costs, parts used, parts cost, parts number/nomenclature, part new or reconditioned, part manufacturer, and problem/corrective action taken or recommended

- Problem resolution or pending action

- Total billing cost

- Signatures:

  - Field Service Technician performing services

  - BMET verifying service rendered (Identify Medical Treatment Facility)

- In the event agents / sub-vendors are used in the performance of repairs, said agent shall be identified on the service report by company name and contact information (i.e., telephone number)

18.0  Vendor Responsibility.

18.1  The vendor shall be responsible for the repair/replacement of damaged Government-owned equipment and property due to the negligence of the vendor or its representatives. All such replacements or repairs shall be at the vendor's expense and shall be inspected to the satisfaction of the Contracting Officer’s Representative (COR) or appointed BIOMED technical representative.

19.0  Removal of Government Property

19.1  No equipment shall be removed without the approval of the Materials Management Department of the Medical Treatment Facility (MTF). Property passes for equipment removal shall be obtained by the vendor via the Materials Management Department of the MTF. Any failure to obtain such passes which results in detainment or prosecution of vendor FSE personnel are the sole responsibility of the service vendor personnel.

19.2  The vendor shall provide a detailed description of removed items in writing on the vendor’s company letterhead. For associated items/accessories, the vendor will provide a detailed written description and quantities of items to be removed. This description will include, as a minimum, the manufacturer’s serial numbers and facility equipment control numbers (ECNs) of all equipment and/or items removed. In the event items/sub-assemblies/accessories are “repaired by replacement,” a detailed description of replaced items is to be included upon return of repaired components.

19.3  No additional charge shall be allowed for work performed off-site, or any additional time required. All charges resulting from a vendor-determined requirement to transport Government-owned property, covered by this contract, to and from an alternate repair location shall be the responsibility of the vendor. The vendor shall provide insurance coverage for damage to or loss of equipment while in vendor custody.

19.4  In regard to patient information confidentiality and privacy, all vendors shall not remove equipment containing patient information from the Government site. The equipment hard drive(s) and/or solid-state drive(s) shall be removed at the MTF prior to removal.  Furthermore, equipment removed from the MTF will be prorated from the date of removal for service maintenance fees.  If hard drives are to be replaced, they shall be left at the MTF for disposal.

19.5  Hard Disk and Solid-State Drives (HDD & SSD): Regarding patient information confidentiality and privacy, all Contractors and/or service Contractors shall not remove equipment containing patient information from the NMC Portsmouth. HDD nor SSD shall ever be removed from the MTF, by the Contractor under this maintenance agreement.  Removal of protected health information (PHI) and personally identifiable information (PII) from the equipment prior to removal from site must be properly coordinated with the COR and Command Equipment Manager.

20.0 Service Beyond the Scope of the Contract

20.1  The vendor shall immediately, but no later than 24 consecutive hours after discovery, notify BIOMED in writing of the existence of or of the development of any defects in, or repair required to, the contracted equipment, for which the vendor considers they are not responsible under the terms of this contract.

20.2  At the same time of this written notification, the vendor shall furnish BIOMED with a written cost estimate to make the necessary repairs. Repairs considered by the Contracting Officer to be outside the scope of this contract shall not be covered under this contract but shall be ordered under a separate purchase order.

- Cybersecurity.

21.1  List any specifications for Authorization to Operate (ATO) approvals for this equipment.

21.1.1  The vendor’s proposed system may require ATO approval prior to installation. The system shall bi-directionally interface with the DoD LIS, Military Health System (MHS) Genesis. If the contractor does not have an ATO for the equipment, they will be provided an opportunity to obtain one.

22.0 Performance Requirements Summary Matrix.

22.1 By monitoring the Contractor, the Contracting Officer Representative (COR) will determine whether the performance levels set forth in the order have been attained.  Performance standards are specified in the following Performance Requirements Summary Matrix in the Standard and Acceptable Quality Level columns.

| Table 02: Performance Requirements Summary Matrix |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| SOW Section | Indicator | Standard | Acceptable Quality Level | Method of Surveillance | Incentive |
| Ensure the analyzers and cost-per-test Meet the Essential Characteristics, SOW Section 5.1 | Quarterly Report | The vendor complied 100% with the essential characteristics during the full delivery period. | 100% Compliance | Direct Observation, Service Report | Past Performance |
| Delivery, Transportation, and Installation Requirements, SOW Section 6.1. | Quarterly Report | The vendor met 98% of the delivery, transportation, and installation requirements. | 100% Compliance | Direct Observation, Service Report | Past Performance |
| OEM Requirements, SOW Section 11.1 | Quarterly Report | The Original Equipment Manufacturer (OEM) warranty and service were provided and maintained by the OEM. All software licensing, warranty, and service associated with the equipment/system are in accordance with the OEM terms and conditions. | 100% Compliance | Service Report | Past Performance |
| Training, SOW Section 12.0 | Quarterly Report | The vendor provided 100% of the user training, provided two (2) operational and two (2) service manuals, and provided off-site and/or on-site or online training as requested by NMCP for the full delivery period. | 100% Compliance | Service Report | Past Performance |
| Maintenance of the Equipment, SOW Section 13.0 | Quarterly Report | The vendor has provided 98% of the preventive and corrective maintenance of the equipment. | 100% Compliance | Service Report | Past Performance |
| Replacement Part, and Updates, SOW Section 14.0 | Quarterly Report | Replacement Parts/Updates were provided timely with <5% error rate | 100% Compliance | Service Report | Past Performance |
| Vendor Furnished Property and Material, SOW Section 16.0 . | Quarterly Report | Furnished Property and Material were provided IAW the SOW. | 100% Compliance | Service Report | Past Performance |
| Vendor Report Requirements, SOW Section 17.0 | Quarterly Report | Report provided 100% of the required information IAW the SOW, with <5% errors / corrections needed. | 100% Compliance | Service Report | Past Performance |
| Vendor Responsibility, SOW Section 18.0 | Quarterly Report | 100% Repairs and/or replacements of damaged Government-owned equipment and property due to the negligence of the vendor or its representatives were provided. | 100% Compliance | Service Report | Past Performance |
| Removal of Government Property, SOW Section 19.0 | Quarterly Report | Government property was removed IAW the SOW. | 100% Compliance | Service Report | Past Performance |
| Cybersecurity, SOW Section 21.0 | Quarterly Report | 98% of Cybersecurity requirements are met, and ATO obtained within 30 days. | 100% Compliance | Service Report | Past Performance |

23.0 Points of Contact

23.1  Points of Contact:

End User POC:  To be completed at award

Email: To be completed at award

Phone: Office To be completed at award

Contracting Officer Representative (COR):  To be completed at award

Email: To be completed at award

Phone: To be completed at award

Contracting Officer: Matthew Teel

Email: matthew.d.teel.civ@health.mil

Phone: To be completed at award

(End)

DELIVERY INFORMATION

| Line Item | Delivery Schedule | Quantity | Address and POC | Special Handling /Notes |
| --- | --- | --- | --- | --- |
| 0001 | Partial Delivery Schedule Delivery On or Before Delivery Date 31 January 2026 Qty. 1 Each Partial Delivery Schedule Delivery On or Before Delivery Date 28 February 2026 Qty. 1 Each Partial Delivery Schedule Delivery On or Before Delivery Date 31 March 2026 Qty. 1 Each Partial Delivery Schedule Delivery On or Before Delivery Date 30 April 2026 Qty. 1 Each Partial Delivery Schedule Delivery On or Before Delivery Date 31 May 2026 Qty. 1 Each Partial Delivery Schedule Delivery On or Before Delivery Date 30 June 2026 Qty. 1 Each Partial Delivery Schedule Delivery On or Before Delivery Date 31 July 2026 Qty. 1 Each Partial Delivery Schedule Delivery On or Before Delivery Date 31 August 2026 Qty. 1 Each Partial Delivery Schedule Delivery On or Before Delivery Date 30 September 2026 Qty. 1 Each Partial Delivery Schedule Delivery On or Before Delivery Date 31 October 2026 Qty. 1 Each Partial Delivery Schedule Delivery On or Before Delivery Date 30 November 2026 Qty. 1 Each Partial Delivery Schedule Delivery On or Before Delivery Date 31 December 2026 Qty. 1 Each | 12 Each | Naval Medical Center Portsmouth Laboratory (Blood Bank) 620 John Paul Jones Circle Building 2, 1st Floor Portsmouth, VA 23708 United States | FoB Details Contractor Destination |

INSPECTION AND ACCEPTANCE TERMS

Supplies/services will be inspected/accepted at:

| CLIN | INSPECT AT | INSPECT BY | ACCEPT AT | ACCEPT BY |
| --- | --- | --- | --- | --- |
| 0001 | Destination | Government | Destination | Government |

CLAUSES INCORPORATED BY REFERENCE

| 52.202-1 | Definitions | JUN 2020 |
| --- | --- | --- |
| 52.203-3 | Gratuities | APR 1984 |
| 52.204-4 | Printed or Copied Double-Sided on Postconsumer Fiber Content Paper | MAY 2011 |
| 52.204-7 | System for Award Management | OCT 2018 |
| 52.204-13 | System for Award Management Maintenance | OCT 2018 |
| 52.204-16 | Commercial and Government Entity Code Reporting | AUG 2020 |
| 52.204-18 | Commercial and Government Entity Code Maintenance | AUG 2020 |
| 52.204-19 | Incorporation by Reference of Representations and Certifications. | DEC 2014 |
| 52.204-22 | Alternative Line-Item Proposal | JAN 2017 |
| 52.212-1 | Instructions to Offerors--Commercial Products and Commercial Services | SEP 2023 |
| 52.212-2 | Evaluation - Commercial Items | NOV 2021 |
| 52.212-4 | Contract Terms and Conditions--Commercial Products and Commercial Services | NOV 2023 |
| 52.212-5 | Contract Terms and Conditions Required to Implement Statutes or Executive Orders--Commercial Products and Commercial Services | DEC 2023 |
| 52.222-42 | Statement Of Equivalent Rates For Federal Hires | MAY 2014 |
| 52.229-11 | Tax on Certain Foreign Procurements--Notice and Representation | JUN 2020 |
| 52.232-18 | Availability Of Funds | APR 1984 |
| 52.242-15 | Stop-Work Order | AUG 1989 |
| 52.232-18 | Availability Of Funds | APR 1984 |
| 252.201-7000 | Contracting Officer's Representative | DEC 1991 |
| 252.203-7000 | Requirements Relating to Compensation of Former DoD Officials | SEP 2011 |
| 252.203-7002 | Requirement to Inform Employees of Whistleblower Rights | DEC 2022 |
| 252.203-7005 | Representation Relating to Compensation of Former DoD Officials | SEP 2022 |
| 252.204-7003 | Control Of Government Personnel Work Product | APR 1992 |
| 252.204-7008 | Compliance With Safeguarding Covered Defense Information Controls | OCT 2016 |
| 252.204-7012 | Safeguarding Covered Defense Information and Cyber Incident Reporting | JAN 2023 |
| 252.204-7015 | Notice of Authorized Disclosure of Information for Litigation Support | JAN 2023 |
| 252.204-7018 | Prohibition on the Acquisition of Covered Defense Telecommunications Equipment or Services | JAN 2023 |
| 252.209-7004 | Subcontracting With Firms That Are Owned or Controlled By The Government of a Country that is a State Sponsor of Terrorism | MAY 2019 |
| 252.211-7003 | Item Unique Identification and Valuation | JAN 2023 |

| 252.223-7006 | Prohibition On Storage, Treatment, and Disposal of Toxic or Hazardous Materials | SEP 2014 |
| --- | --- | --- |
| 252.223-7008 | Prohibition of Hexavalent Chromium | JAN 2023 |
| 252.225-7000 | Buy American--Balance Of Payments Program Certificate-- Basic (Nov 2014) | NOV 2014 |
| 252.225-7001 | Buy American And Balance Of Payments Program--Basic | JAN 2023 |
| 252.225-7002 | Qualifying Country Sources As Subcontractors | MAR 2022 |
| 252.225-7012 | Preference For Certain Domestic Commodities | APR 2022 |
| 252.225-7021 | Trade Agreements--Basic | OCT 2023 |
| 252.225-7048 | Export-Controlled Items | JUN 2013 |
| 252.232-7003 | Electronic Submission of Payment Requests and Receiving Reports | DEC 2018 |
| 252.232-7010 | Levies on Contract Payments | DEC 2006 |
| 252.232-7998 | Obligations in Advance of Fiscal Year 2026 Funding (DEVIATION 2026-O0001) | OCT 2025 |
| 252.243-7001 | Pricing Of Contract Modifications | DEC 1991 |
| 252.244-7000 | Subcontracts for Commercial Products or Commercial Services | NOV 2023 |
| 252.246-7006 | Warranty Tracking of Serialized Items | MAR 2016 |
| 252.246-7008 | Sources of Electronic Parts | JAN 2023 |
| 252.247-7023 | Transportation of Supplies by Sea | JAN 2023 |

52.204-24  Representation Regarding Certain Telecommunications and Video Surveillance Services or Equipment (NOV 2021)

The Offeror shall not complete the representation at paragraph (d)(1) of this provision if the Offeror has represented that it "does not provide covered telecommunications equipment or services as a part of its offered products or services to the Government in the performance of any contract, subcontract, or other contractual instrument" in paragraph (c)(1) in the provision at 52.204-26, Covered Telecommunications Equipment or Services--Representation, or in paragraph (v)(2)(i) of the provision at 52.212-3, Offeror Representations and Certifications-Commercial Products and Commercial Services. The Offeror shall not complete the representation in paragraph (d)(2) of this provision if the Offeror has represented that it "does not use covered telecommunications equipment or services, or any equipment, system, or service that uses covered telecommunications equipment or services" in paragraph (c)(2) of the provision at 52.204-26, or in paragraph (v)(2)(ii) of the provision at 52.212-3.

(a) Definitions. As used in this provision-

Backhaul, covered telecommunications equipment or services, critical technology, interconnection arrangements, reasonable inquiry, roaming, and substantial or essential component have the meanings provided in the clause 52.204-25, Prohibition on Contracting for Certain Telecommunications and Video Surveillance Services or Equipment.

(b) Prohibition.

(1) Section 889(a)(1)(A) of the John S. McCain National Defense Authorization Act for Fiscal Year 2019 (Pub. L. 115-232) prohibits the head of an executive agency on or after August 13, 2019, from procuring or obtaining, or extending or renewing a contract to procure or obtain, any equipment, system, or service that uses covered telecommunications equipment or services as a substantial or essential component of any system, or as critical technology as part of any system. Nothing in the prohibition shall be construed to--

(i) Prohibit the head of an executive agency from procuring with an entity to provide a service that connects to the facilities of a third-party, such as backhaul, roaming, or interconnection arrangements; or

(ii) Cover telecommunications equipment that cannot route or redirect user data traffic or cannot permit visibility into any user data or packets that such equipment transmits or otherwise handles.

(2) Section 889(a)(1)(B) of the John S. McCain National Defense Authorization Act for Fiscal Year 2019 (Pub. L. 115-232) prohibits the head of an executive agency on or after August 13, 2020, from entering into a contract or extending or renewing a contract with an entity that uses any equipment, system, or service that uses covered telecommunications equipment or services as a substantial or essential component of any system, or as critical technology as part of any system. This prohibition applies to the use of covered telecommunications equipment or services, regardless of whether that use is in performance of work under a Federal contract. Nothing in the prohibition shall be construed to--

(i) Prohibit the head of an executive agency from procuring with an entity to provide a service that connects to the facilities of a third-party, such as backhaul, roaming, or interconnection arrangements; or

(ii) Cover telecommunications equipment that cannot route or redirect user data traffic or cannot permit visibility into any user data or packets that such equipment transmits or otherwise handles.

(c) Procedures. The Offeror shall review the list of excluded parties in the System for Award Management (SAM) (https://www.sam.gov) for entities excluded from receiving federal awards for "covered telecommunications equipment or services."

(d) Representations. The Offeror represents that--

(1) It [ ___  ] will, [ ___  ] will not provide covered telecommunications equipment or services to the Government in the performance of any contract, subcontract or other contractual instrument resulting from this solicitation. The Offeror shall provide the additional disclosure information required at paragraph (e)(1) of this section if the Offeror responds "will" in paragraph (d)(1) of this section; and

(2) After conducting a reasonable inquiry, for purposes of this representation, the Offeror represents that--

It [ ___  ] does, [ ___  ] does not use covered telecommunications equipment or services, or use any equipment, system, or service that uses covered telecommunications equipment or services. The Offeror shall provide the additional disclosure information required at paragraph (e)(2) of this section if the Offeror responds "does" in paragraph (d)(2) of this section.

(e) Disclosures.

(1) Disclosure for the representation in paragraph (d)(1) of this provision. If the Offeror has responded "will" in the representation in paragraph (d)(1) of this provision, the Offeror shall provide the following information as part of the offer:

(i) For covered equipment--

(A) The entity that produced the covered telecommunications equipment (include entity name, unique entity identifier, CAGE code, and whether the entity was the original equipment manufacturer (OEM) or a distributor, if known);

(B) A description of all covered telecommunications equipment offered (include brand; model number, such as OEM number, manufacturer part number, or wholesaler number; and item description, as applicable); and

(C) Explanation of the proposed use of covered telecommunications equipment and any factors relevant to determining if such use would be permissible under the prohibition in paragraph (b)(1) of this provision.

(ii) For covered services--

(A) If the service is related to item maintenance: A description of all covered telecommunications services offered (include on the item being maintained: Brand; model number, such as OEM number, manufacturer part number, or wholesaler number; and item description, as applicable); or

(B) If not associated with maintenance, the Product Service Code (PSC) of the service being provided; and explanation of the proposed use of covered telecommunications services and any factors relevant to determining if such use would be permissible under the prohibition in paragraph (b)(1) of this provision.

(2) Disclosure for the representation in paragraph (d)(2) of this provision. If the Offeror has responded "does" in the representation in paragraph (d)(2) of this provision, the Offeror shall provide the following information as part of the offer:

(i) For covered equipment--

(A) The entity that produced the covered telecommunications equipment (include entity name, unique entity identifier, CAGE code, and whether the entity was the OEM or a distributor, if known);

(B) A description of all covered telecommunications equipment offered (include brand; model number, such as OEM number, manufacturer part number, or wholesaler number; and item description, as applicable); and

(C) Explanation of the proposed use of covered telecommunications equipment and any factors relevant to determining if such use would be permissible under the prohibition in paragraph (b)(2) of this provision.

(ii) For covered services--

(A) If the service is related to item maintenance: A description of all covered telecommunications services offered (include on the item being maintained: Brand; model number, such as OEM number, manufacturer part number, or wholesaler number; and item description, as applicable); or

(B) If not associated with maintenance, the PSC of the service being provided; and explanation of the proposed use of covered telecommunications services and any factors relevant to determining if such use would be permissible under the prohibition in paragraph (b)(2) of this provision.

(End of provision)

52.204-26  Covered Telecommunications Equipment or Services--Representation (OCT

2020)

(a) Definitions. As used in this provision, “covered telecommunications equipment or services” and "reasonable inquiry" have the meaning provided in the clause 52.204-25, Prohibition on Contracting for Certain Telecommunications and Video Surveillance Services or Equipment.

(b) Procedures. The Offeror shall review the list of excluded parties in the System for Award Management (SAM) (https://www.sam.gov) for entities excluded from receiving federal awards for “covered telecommunications equipment or services”.

(c) Representations.

(1) The Offeror represents that it [ ___   ] does, [ ___   ] does not provide covered telecommunications equipment or services as a part of its offered products or services to the Government in the performance of any contract, subcontract, or other contractual instrument.

(2) After conducting a reasonable inquiry for purposes of this representation, the offeror represents that it [ ___   ] does, [ ___   ] does not use covered telecommunications equipment or services, or any equipment, system, or service that uses covered telecommunications equipment or services.

(End of provision)

52.212-3 Offeror Representations and Certifications - Commercial Products and Commercial Services  (DEVIATION 2023-O0002)  (DEC 2022)  ALTERNATE I (OCT 2014)

The Offeror shall complete only paragraph (b) of this provision if the Offeror has completed the annual representations and certification electronically in the System for Award Management (SAM) accessed through https://www.sam.gov. If the Offeror has not completed the annual representations and certifications electronically, the Offeror shall complete only paragraphs (c) through (v) of this provision.

(a) Definitions. As used in this provision -

Covered telecommunications equipment or services has the meaning provided in the clause 52.204-25, Prohibition on Contracting for Certain Telecommunications and Video Surveillance Services or Equipment.

Economically disadvantaged women-owned small business (EDWOSB) concern means a small business concern that is at least 51 percent directly and unconditionally owned by, and the management and daily business operations of which are controlled by, one or more women who are citizens of the United States and who are economically disadvantaged in accordance with 13 CFR part 127, and the concern is certified by SBA or an approved third-party certifier in accordance with 13 CFR 127.300. It automatically qualifies as a women-owned small business eligible under the WOSB Program.

Forced or indentured child labor means all work or service -

(1) Exacted from any person under the age of 18 under the menace of any penalty for its nonperformance and for which the worker does not offer himself voluntarily; or

(2) Performed by any person under the age of 18 pursuant to a contract the enforcement of which can be accomplished by process or penalties.

Highest-level owner means the entity that owns or controls an immediate owner of the offeror, or that owns or controls one or more entities that control an immediate owner of the offeror. No entity owns or exercises control of the highest level owner.

Immediate owner means an entity, other than the offeror, that has direct control of the offeror. Indicators of control include, but are not limited to, one or more of the following: Ownership or interlocking management, identity of interests among family members, shared facilities and equipment, and the common use of employees.

Inverted domestic corporation means a foreign incorporated entity that meets the definition of an inverted domestic corporation under 6 U.S.C. 395(b), applied in accordance with the rules and definitions of 6 U.S.C. 395(c).

Manufactured end product means any end product in product and service codes (PSCs) 1000-9999, except -

(1) PSC 5510, Lumber and Related Basic Wood Materials;

(2) Product or Service Group (PSG) 87, Agricultural Supplies;

(3) PSG 88, Live Animals;

(4) PSG 89, Subsistence;

(5) PSC 9410, Crude Grades of Plant Materials;

(6) PSC 9430, Miscellaneous Crude Animal Products, Inedible;

(7) PSC 9440, Miscellaneous Crude Agricultural and Forestry Products;

(8) PSC 9610, Ores;

(9) PSC 9620, Minerals, Natural and Synthetic; and

(10) PSC 9630, Additive Metal Materials.

Place of manufacture means the place where an end product is assembled out of components, or otherwise made or processed from raw materials into the finished product that is to be provided to the Government. If a product is disassembled and reassembled, the place of reassembly is not the place of manufacture.

Predecessor means an entity that is replaced by a successor and includes any predecessors of the predecessor.

Reasonable inquiry has the meaning provided in the clause 52.204-25, Prohibition on Contracting for Certain Telecommunications and Video Surveillance Services or Equipment.

Restricted business operations means business operations in Sudan that include power production activities, mineral extraction activities, oil-related activities, or the production of military equipment, as those terms are defined in the Sudan Accountability and Divestment Act of 2007 (Pub. L. 110-174). Restricted business operations do not include business operations that the person (as that term is defined in Section 2 of the Sudan Accountability and Divestment Act of 2007) conducting the business can demonstrate -

(1) Are conducted under contract directly and exclusively with the regional government of southern Sudan;

(2) Are conducted pursuant to specific authorization from the Office of Foreign Assets Control in the Department of the Treasury, or are expressly exempted under Federal law from the requirement to be conducted under such authorization;

(3) Consist of providing goods or services to marginalized populations of Sudan;

(4) Consist of providing goods or services to an internationally recognized peacekeeping force or humanitarian organization;

(5) Consist of providing goods or services that are used only to promote health or education; or

(6) Have been voluntarily suspended.

Sensitive technology -

(1) Means hardware, software, telecommunications equipment, or any other technology that is to be used specifically -

(i) To restrict the free flow of unbiased information in Iran; or

(ii) To disrupt, monitor, or otherwise restrict speech of the people of Iran; and

(2) Does not include information or informational materials the export of which the President does not have the authority to regulate or prohibit pursuant to section 203(b)(3) of the International Emergency Economic Powers Act (50 U.S.C. 1702(b)(3)).

Service-disabled veteran-owned small business concern -

(1) Means a small business concern -

(i) Not less than 51 percent of which is owned by one or more service - disabled veterans or, in the case of any publicly owned business, not less than 51 percent of the stock of which is owned by one or more service-disabled veterans; and

(ii) The management and daily business operations of which are controlled by one or more service-disabled veterans or, in the case of a service-disabled veteran with permanent and severe disability, the spouse or permanent caregiver of such veteran.

(2) Service-disabled veteran means a veteran, as defined in 38 U.S.C. 101(2), with a disability that is service-connected, as defined in 38 U.S.C. 101(16).

Small business concern –

(1) Means a concern, including its affiliates, that is independently owned and operated, not dominant in its field of operation, and qualified as a small business under the criteria in 13 CFR part 121 and size standards in this solicitation.

(2) Affiliates, as used in this definition, means business concerns, one of whom directly or indirectly controls or has the power to control the others, or a third party or parties control or have the power to control the others. In determining whether affiliation exists, consideration is given to all appropriate factors including common ownership, common management, and contractual relationships. SBA determines affiliation based on the factors set forth at 13 CFR 121.103.

Small disadvantaged business concern, consistent with 13 CFR 124.1002, means a small business concern under the size standard applicable to the acquisition, that -

(1) Is at least 51 percent unconditionally and directly owned (as defined at 13 CFR 124.105) by -

(i) One or more socially disadvantaged (as defined at 13 CFR 124.103) and economically disadvantaged (as defined at 13 CFR 124.104) individuals who are citizens of the United States; and

(ii) Each individual claiming economic disadvantage has a net worth not exceeding $850,000  after taking into account the applicable exclusions set forth at 13 CFR 124.104(c)(2); and

(2) The management and daily business operations of which are controlled (as defined at 13.CFR 124.106) by individuals, who meet the criteria in paragraphs (1)(i) and (ii) of this definition.

Subsidiary means an entity in which more than 50 percent of the entity is owned -

(1) Directly by a parent corporation; or

(2) Through another subsidiary of a parent corporation.

Successor means an entity that has replaced a predecessor by acquiring the assets and carrying out the affairs of the predecessor under a new name (often through acquisition or merger). The term “successor” does not include new offices/divisions of the same company or a company that only changes its name. The extent of the responsibility of the successor for the liabilities of the predecessor may vary, depending on State law and specific circumstances.

Veteran-owned small business concern means a small business concern -

(1) Not less than 51 percent of which is owned by one or more veterans (as defined at 38 U.S.C. 101(2)) or, in the case of any publicly owned business, not less than 51 percent of the stock of which is owned by one or more veterans; and

(2) The management and daily business operations of which are controlled by one or more veterans.

Women-owned business concern means a concern which is at least 51 percent owned by one or more women; or in the case of any publicly owned business, at least 51 percent of its stock is owned by one or more women; and whose management and daily business operations are controlled by one or more women.

Women-owned small business concern means a small business concern -

(1) That is at least 51 percent owned by one or more women; or, in the case of any publicly owned business, at least 51 percent of the stock of which is owned by one or more women; and

(2) Whose management and daily business operations are controlled by one or more women.

Women-owned small business (WOSB) concern eligible under the WOSB Program (in accordance with 13 CFR part 127), means a small business concern that is at least 51 percent directly and unconditionally owned by, and the management and daily business operations of which are controlled by, one or more women who are citizens of the United States, and the concern is certified by SBA or an approved third-party certifier in accordance with 13 CFR 127.300.

(b)(1) Annual Representations and Certifications. Any changes provided by the Offeror in paragraph (b)(2) of this provision do not automatically change the representations and certifications in SAM.

(2) The offeror has completed the annual representations and certifications electronically in SAM accessed through http://www.sam.gov. After reviewing SAM information, the Offeror verifies by submission of this offer that the representations and certifications currently posted electronically at FAR 52.212-3, Offeror Representations and Certifications - Commercial Products and Commercial Services, have been entered or updated in the last 12 months, are current, accurate, complete, and applicable to this solicitation (including the business size standard(s) applicable to the NAICS code(s) referenced for this solicitation), at the time this offer is submitted and are incorporated in this offer by reference (see FAR 4.1201), except for paragraphs  ___  .

[Offeror to identify the applicable paragraphs at (c) through (v) of this provision that the offeror has completed for the purposes of this solicitation only, if any.

These amended representation(s) and/or certification(s) are also incorporated in this offer and are current, accurate, and complete as of the date of this offer.

Any changes provided by the offeror are applicable to this solicitation only, and do not result in an update to the representations and certifications posted electronically on SAM.]

(c) Offerors must complete the following representations when the resulting contract is for supplies to be delivered or services to be performed in the United States or its outlying areas, or when the contracting officer has applied part 19 in accordance with 19.000(b)(1)(ii). Check all that apply.

(1) Small business concern. The offeror represents as part of its offer that -

(i) It [ ___  ]  is, [ ___  ]  is not a small business concern; or

(ii) It [ ___  ]  is, [ ___  ]  is not a small business joint venture that complies with the requirements of 13 CFR 121.103(h) and 13 CFR 125.8(a) and (b). [The offeror shall enter the name and unique entity identifier of each party to the joint venture:  ___  .]

(2) Veteran-owned small business concern. [Complete only if the offeror represented itself as a small business concern in paragraph (c)(1) of this provision.] The offeror represents as part of its offer that it [ ___  ] is, [ ___  ]  is not a veteran-owned small business concern.

(3) Service-disabled veteran-owned small business concern. [Complete only if the offeror represented itself as a veteran-owned small business concern in paragraph (c)(2) of this provision.] The offeror represents as part of its offer that -

(i) It [ ___  ] is, [ ___  ] is not a service-disabled veteran-owned small business concern; or

(ii) It [ ___  ] is, [ ___  ] is not a joint venture that complies with the requirements of 13 CFR 125.18(b)(1) and (2). [The offeror shall enter the name and unique entity identifier of each party to the joint venture:  ___  .] Each service-disabled veteran-owned small business concern participating in the joint venture shall provide representation of its service-disabled veteran-owned small business concern status.

(4) Small disadvantaged business concern. [Complete only if the offeror represented itself as a small business concern in paragraph (c)(1) of this provision.] The offeror represents that it [ ___  ] is, [ ___  ] is not a small disadvantaged business concern as defined in 13 CFR 124.1002.

(5) Women-owned small business concern. [Complete only if the offeror represented itself as a small business concern in paragraph (c)(1) of this provision.] The offeror represents that it [ ___  ] is, [ ___  ] is not a women-owned small business concern.

(6) WOSB joint venture eligible under the WOSB Program. The offeror represents that it [ ___  ] is, [ ___  ] is not a joint venture that complies with the requirements of 13 CFR 127.506(a) through (c). [The offeror shall enter the name and unique entity identifier of each party to the joint venture:  ___  .]

(7) Economically disadvantaged women-owned small business (EDWOSB) joint venture. The offeror represents that it [ ___  ] is, [ ___  ] is not a joint venture that complies with the requirements of 13 CFR 127.506(a) through (c). [The offeror shall enter the name and unique entity identifier of each party to the joint venture:  ___  .]

Note to paragraphs (c)(8) and (9):

Complete paragraphs (c)(8) and (9) only if this solicitation is expected to exceed the simplified acquisition threshold.

(8) Women-owned business concern (other than small business concern). [Complete only if the offeror is a women-owned business concern and did not represent itself as a small business concern in paragraph (c)(1) of this provision.] The offeror represents that it [ ___  ] is, a women-owned business concern.

(9) Tie bid priority for labor surplus area concerns. If this is an invitation for bid, small business offerors may identify the labor surplus areas in which costs to be incurred on account of manufacturing or production (by offeror or first-tier subcontractors) amount to more than 50 percent of the contract price:

(10) HUBZone small business concern. [Complete only if the offeror represented itself as a small business concern in paragraph (c)(1) of this provision.] The offeror represents, as part of its offer, that -

(i) It [ ___  ] is, [ ___  ] is not a HUBZone small business concern listed, on the date of this representation, as having been certified by SBA as a HUBZone small business concern in the Dynamic Small Business Search and SAM, and will attempt to maintain an employment rate of HUBZone residents of 35 percent of its employees during performance of a HUBZone contract (see 13 CFR 126.200(e)(1)); and

(ii) It [ ___  ] is, [ ___  ] is not a HUBZone joint venture that complies with the requirements of 13 CFR 126.616(a) through (c). [The offeror shall enter the name and unique entity identifier of each party to the joint venture:  ___  .] Each HUBZone small business concern participating in the HUBZone joint venture shall provide representation of its HUBZone status.

(11) (Complete if the offeror has represented itself as disadvantaged in paragraph (c)(4) of this provision.)

[ ___  ] Black American.

[ ___  ] Hispanic American.

[ ___  ] Native American (American Indians, Eskimos, Aleuts, or Native Hawaiians).

[ ___  ] Asian-Pacific American (persons with origins from Burma, Thailand, Malaysia, Indonesia, Singapore, Brunei, Japan, China, Taiwan, Laos, Cambodia (Kampuchea), Vietnam, Korea, The Philippines, Republic of Palau, Republic of the Marshall Islands, Federated States of Micronesia, the Commonwealth of the Northern Mariana Islands, Guam, Samoa, Macao, Hong Kong, Fiji, Tonga, Kiribati, Tuvalu, or Nauru).

[ ___  ] Subcontinent Asian (Asian-Indian) American (persons with origins from India, Pakistan, Bangladesh, Sri Lanka, Bhutan, the Maldives Islands, or Nepal).

[ ___  ] Individual/concern, other than one of the preceding.

(d) Representations required to implement provisions of Executive Order 11246 -

(1) Previous contracts and compliance. The offeror represents that -

(i) It [ ___  ] has, [ ___  ] has not participated in a previous contract or subcontract subject to the Equal Opportunity clause of this solicitation; and

(ii) It [ ___  ] has, [ ___  ] has not filed all required compliance reports.

(2) Affirmative Action Compliance. The offeror represents that -

(i) It [ ___  ] has developed and has on file, [ ___  ] has not developed and does not have on file, at each establishment, affirmative action programs required by rules and regulations of the Secretary of Labor (41 CFR parts 60-1 and 60-2), or

(ii) It [ ___  ] has not previously had contracts subject to the written affirmative action programs requirement of the rules and regulations of the Secretary of Labor.

(e) Certification Regarding Payments to Influence Federal Transactions (31 U.S.C. 1352). (Applies only if the contract is expected to exceed $150,000.) By submission of its offer, the offeror certifies to the best of its knowledge and belief that no Federal appropriated funds have been paid or will be paid to any person for influencing or attempting to influence an officer or employee of any agency, a Member of Congress, an officer or employee of Congress or an employee of a Member of Congress on his or her behalf in connection with the award of any resultant contract. If any registrants under the Lobbying Disclosure Act of 1995 have made a lobbying contact on behalf of the offeror with respect to this contract, the offeror shall complete and submit, with its offer, OMB Standard Form LLL, Disclosure of Lobbying Activities, to provide the name of the registrants. The offeror need not report regularly employed officers or employees of the offeror to whom payments of reasonable compensation were made.

(f) Buy American Certificate. (Applies only if the clause at Federal Acquisition Regulation (FAR) 52.225-1, Buy American - Supplies, is included in this solicitation.)

(1)(i) The Offeror certifies that each end product, except those listed in paragraph (f)(2) of this provision, is a domestic end product and that each domestic end product listed in paragraph (f)(3) of this provision contains a critical component.

(ii) The Offeror shall list as foreign end products those end products manufactured in the United States that do not qualify as domestic end products. For those foreign end products that do not consist wholly or predominantly of iron or steel or a combination of both, the Offeror shall also indicate whether these foreign end products exceed 55 percent domestic content, except for those that are COTS items. If the percentage of the domestic content is unknown, select “no”.

(iii) The Offeror shall separately list the line item numbers of domestic end products that contain a critical component (see FAR 25.105).

(iv) The terms “commercially available off-the-shelf (COTS) item,” “critical component,” “domestic end product,” “end product,” “foreign end product,” and “United States” are defined in the clause of this solicitation entitled “Buy American-Supplies.”

(2) Foreign End Products:

| Line Item No. | Country of origin | Exceeds 55% domestic content (yes/no) |
| --- | --- | --- |
| ___ | ___ | ___ |
| ___ | ___ | ___ |
| ___ | ___ | ___ |

[List as necessary]

(3) Domestic end products containing a critical component:

Line Item No.

___

___

___

[List as necessary]

(4) The Government will evaluate offers in accordance with the policies and procedures of FAR part 25.

(g)(1) Buy American - Free Trade Agreements - Israeli Trade Act Certificate. (Applies only if the clause at FAR 52.225-3, Buy American - Free Trade Agreements - Israeli Trade Act, is included in this solicitation.)

(i)(A) The Offeror certifies that each end product, except those listed in paragraph (g)(1)(ii) or (iii) of this provision, is a domestic end product and that each domestic end product listed in paragraph (g)(1)(iv) of this provision contains a critical component.

(B) The terms “Bahrainian, Moroccan, Omani, Panamanian, or Peruvian end product,” “commercially available off-the-shelf (COTS) item,” “critical component,” “domestic end product,” “end product,” “foreign end product,” “Free Trade Agreement country,” “Free Trade Agreement country end product,” “Israeli end product,” and “United States” are defined in the clause of this solicitation entitled “Buy American - Free Trade Agreements - Israeli Trade Act.”

(ii) The Offeror certifies that the following supplies are Free Trade Agreement country end products (other than Bahrainian, Moroccan, Omani, Panamanian, or Peruvian end products) or Israeli end products as defined in the clause of this solicitation entitled “Buy American - Free Trade Agreements - Israeli Trade Act.”

Free Trade Agreement Country End Products (Other than Bahrainian, Moroccan, Omani, Panamanian, or Peruvian End Products) or Israeli End Products:

| Line Item No. | Country of origin |
| --- | --- |
| ___ | ___ |
| ___ | ___ |
| ___ | ___ |

[List as necessary]

(iii) The Offeror shall list those supplies that are foreign end products (other than those listed in paragraph (g)(1)(ii) of this provision) as defined in the clause of this solicitation entitled “Buy American - Free Trade Agreements - Israeli Trade Act.” The Offeror shall list as other foreign end products those end products manufactured in the United States that do not qualify as domestic end products. For those foreign end products that do not consist wholly or predominantly of iron or steel or a combination of both, the Offeror shall also indicate whether these foreign end products exceed 55 percent domestic content, except for those that are COTS items. If the percentage of the domestic content is unknown, select “no”.

Other Foreign End Products:

| Line Item No. | Country of origin | Exceeds 55% domestic content (yes/no) |
| --- | --- | --- |
| ___ | ___ | ___ |
| ___ | ___ | ___ |
| ___ | ___ | ___ |

[List as necessary]

(iv) The Offeror shall list the line item numbers of domestic end products that contain a critical component (see FAR 25.105).

Line Item No.

___

___

___

[List as necessary]

(v) The Government will evaluate offers in accordance with the policies and procedures of FAR part 25.

(2) Buy American - Free Trade Agreements - Israeli Trade Act Certificate, Alternate II. If Alternate II to the clause at FAR 52.225-3 is included in this solicitation, substitute the following paragraph (g)(1)(ii) for paragraph (g)(1)(ii) of the basic provision:

(g)(1)(ii) The offeror certifies that the following supplies are Israeli end products as defined in the clause of this solicitation entitled “Buy American - Free Trade Agreements - Israeli Trade Act”:

Israeli End Products:

Line Item No.

___

___

___

[List as necessary]

(3) Buy American - Free Trade Agreements - Israeli Trade Act Certificate, Alternate III. If Alternate III to the clause at FAR 52.225-3 is included in this solicitation, substitute the following paragraph (g)(1)(ii) for paragraph (g)(1)(ii) of the basic provision:

(g)(1)(ii) The offeror certifies that the following supplies are Free Trade Agreement country end products (other than Bahrainian, Korean, Moroccan, Omani, Panamanian, or Peruvian end products) or Israeli end products as defined in the clause of this solicitation entitled “Buy American - Free Trade Agreements - Israeli Trade Act”:

Free Trade Agreement Country End Products (Other than Bahrainian, Korean, Moroccan, Omani, Panamanian, or Peruvian End Products) or Israeli End Products:

| Line Item No. | Country of origin |
| --- | --- |
| ___ | ___ |
| ___ | ___ |
| ___ | ___ |

[List as necessary]

(4) Trade Agreements Certificate. (Applies only if the clause at FAR 52.225-5, Trade Agreements, is included in this solicitation.)

(i) The offeror certifies that each end product, except those listed in paragraph (g)(5)(ii) of this provision, is a U.S.-made or designated country end product, as defined in the clause of this solicitation entitled “Trade Agreements”.

(ii) The offeror shall list as other end products those end products that are not U.S.-made or designated country end products.

Other End Products:

| Line Item No. | Country of origin |
| --- | --- |
| ___ | ___ |
| ___ | ___ |
| ___ | ___ |

[List as necessary]

(iii) The Government will evaluate offers in accordance with the policies and procedures of FAR Part 25. For line items covered by the WTO GPA, the Government will evaluate offers of U.S.-made or designated country end products without regard to the restrictions of the Buy American statute. The Government will consider for award only offers of U.S.-made or designated country end products unless the Contracting Officer determines that there are no offers for such products or that the offers for such products are insufficient to fulfill the requirements of the solicitation.

(h) Certification Regarding Responsibility Matters (Executive Order 12689). (Applies only if the contract value is expected to exceed the simplified acquisition threshold.) The offeror certifies, to the best of its knowledge and belief, that the offeror and/or any of its principals -

(1) [ ___  ] Are, [ ___  ] are not presently debarred, suspended, proposed for debarment, or declared ineligible for the award of contracts by any Federal agency;

(2) [ ___  ] Have, [ ___  ] have not, within a three-year period preceding this offer, been convicted of or had a civil judgment rendered against them for: Commission of fraud or a criminal offense in connection with obtaining, attempting to obtain, or performing a Federal, state or local government contract or subcontract; violation of Federal or state antitrust statutes relating to the submission of offers; or Commission of embezzlement, theft, forgery, bribery, falsification or destruction of records, making false statements, tax evasion, violating Federal criminal tax laws, or receiving stolen property,

(3) [ ___  ] Are, [ ___  ] are not presently indicted for, or otherwise criminally or civilly charged by a Government entity with, commission of any of these offenses enumerated in paragraph (h)(2) of this clause; and

(4) [ ___  ] Have, [ ___  ] have not, within a three-year period preceding this offer, been notified of any delinquent Federal taxes in an amount that exceeds the threshold at 9.104-5(a)(2) for which the liability remains unsatisfied.

(i) Taxes are considered delinquent if both of the following criteria apply:

(A) The tax liability is finally determined. The liability is finally determined if it has been assessed. A liability is not finally determined if there is a pending administrative or judicial challenge. In the case of a judicial challenge to the liability, the liability is not finally determined until all judicial appeal rights have been exhausted.

(B) The taxpayer is delinquent in making payment. A taxpayer is delinquent if the taxpayer has failed to pay the tax liability when full payment was due and required. A taxpayer is not delinquent in cases where enforced collection action is precluded.

(ii) Examples. (A) The taxpayer has received a statutory notice of deficiency, under I.R.C. § 6212, which entitles the taxpayer to seek Tax Court review of a proposed tax deficiency. This is not a delinquent tax because it is not a final tax liability. Should the taxpayer seek Tax Court review, this will not be a final tax liability until the taxpayer has exercised all judicial appeal rights.

(B) The IRS has filed a notice of Federal tax lien with respect to an assessed tax liability, and the taxpayer has been issued a notice under I.R.C. § 6320 entitling the taxpayer to request a hearing with the IRS Office of Appeals contesting the lien filing, and to further appeal to the Tax Court if the IRS determines to sustain the lien filing. In the course of the hearing, the taxpayer is entitled to contest the underlying tax liability because the taxpayer has had no prior opportunity to contest the liability. This is not a delinquent tax because it is not a final tax liability. Should the taxpayer seek tax court review, this will not be a final tax liability until the taxpayer has exercised all judicial appeal rights.

(C) The taxpayer has entered into an installment agreement pursuant to I.R.C. § 6159. The taxpayer is making timely payments and is in full compliance with the agreement terms. The taxpayer is not delinquent because the taxpayer is not currently required to make full payment.

(D) The taxpayer has filed for bankruptcy protection. The taxpayer is not delinquent because enforced collection action is stayed under 11 U.S.C. 362 (the Bankruptcy Code).

(i) Certification Regarding Knowledge of Child Labor for Listed End Products (Executive Order 13126). [The Contracting Officer must list in paragraph (i)(1) any end products being acquired under this solicitation that are included in the List of Products Requiring Contractor Certification as to Forced or Indentured Child Labor, unless excluded at 22.1503(b).]

(1) Listed end products.

| Listed end product | Listed countries of origin |
| --- | --- |
| ___ | ___ |
| ___ | ___ |
| ___ | ___ |

(2) Certification. [If the Contracting Officer has identified end products and countries of origin in paragraph (i)(1) of this provision, then the offeror must certify to either (i)(2)(i) or (i)(2)(ii) by checking the appropriate block.]

[ ___  ] (i) The offeror will not supply any end product listed in paragraph (i)(1) of this provision that was mined, produced, or manufactured in the corresponding country as listed for that product.

[ ___  ] (ii) The offeror may supply an end product listed in paragraph (i)(1) of this provision that was mined, produced, or manufactured in the corresponding country as listed for that product. The offeror certifies that it has made a good faith effort to determine whether forced or indentured child labor was used to mine, produce, or manufacture any such end product furnished under this contract. On the basis of those efforts, the offeror certifies that it is not aware of any such use of child labor.

(j) Place of manufacture. (Does not apply unless the solicitation is predominantly for the acquisition of manufactured end products.) For statistical purposes only, the offeror shall indicate whether the place of manufacture of the end products it expects to provide in response to this solicitation is predominantly -

(1) [ ___  ] In the United States (Check this box if the total anticipated price of offered end products manufactured in the United States exceeds the total anticipated price of offered end products manufactured outside the United States); or

(2) [ ___  ] Outside the United States.

(k) Certificates regarding exemptions from the application of the Service Contract Labor Standards. (Certification by the offeror as to its compliance with respect to the contract also constitutes its certification as to compliance by its subcontractor if it subcontracts out the exempt services.) [The contracting officer is to check a box to indicate if paragraph (k)(1) or (k)(2) applies.]

(1) [ ___  ] Maintenance, calibration, or repair of certain equipment as described in FAR 22.1003-4(c)(1). The offeror [ ___  ] does [ ___  ] does not certify that -

(i) The items of equipment to be serviced under this contract are used regularly for other than Governmental purposes and are sold or traded by the offeror (or subcontractor in the case of an exempt subcontract) in substantial quantities to the general public in the course of normal business operations;

(ii) The services will be furnished at prices which are, or are based on, established catalog or market prices (see FAR 22.1003-4(c)(2)(ii)) for the maintenance, calibration, or repair of such equipment; and

(iii) The compensation (wage and fringe benefits) plan for all service employees performing work under the contract will be the same as that used for these employees and equivalent employees servicing the same equipment of commercial customers.

(2) [ ___  ] Certain services as described in FAR 22.1003-4(d)(1). The offeror [ ___  ] does [ ___  ] does not certify that -

(i) The services under the contract are offered and sold regularly to non-Governmental customers, and are provided by the offeror (or subcontractor in the case of an exempt subcontract) to the general public in substantial quantities in the course of normal business operations;

(ii) The contract services will be furnished at prices that are, or are based on, established catalog or market prices (see FAR 22.1003-4(d)(2)(iii));

(iii) Each service employee who will perform the services under the contract will spend only a small portion of his or her time (a monthly average of less than 20 percent of the available hours on an annualized basis, or less than 20 percent of available hours during the contract period if the contract period is less than a month) servicing the Government contract; and

(iv) The compensation (wage and fringe benefits) plan for all service employees performing work under the contract is the same as that used for these employees and equivalent employees servicing commercial customers.

(3) If paragraph (k)(1) or (k)(2) of this clause applies -

(i) If the offeror does not certify to the conditions in paragraph (k)(1) or (k)(2) and the Contracting Officer did not attach a Service Contract Labor Standards wage determination to the solicitation, the offeror shall notify the Contracting Officer as soon as possible; and

(ii) The Contracting Officer may not make an award to the offeror if the offeror fails to execute the certification in paragraph (k)(1) or (k)(2) of this clause or to contact the Contracting Officer as required in paragraph (k)(3)(i) of this clause.

(l) Taxpayer Identification Number (TIN) (26 U.S.C. 6109, 31 U.S.C. 7701). (Not applicable if the offeror is required to provide this information to SAM to be eligible for award.)

(1) All offerors must submit the information required in paragraphs (l)(3) through (l)(5) of this provision to comply with debt collection requirements of 31 U.S.C. 7701(c) and 3325(d), reporting requirements of 26 U.S.C. 6041, 6041A, and 6050M, and implementing regulations issued by the Internal Revenue Service (IRS).

(2) The TIN may be used by the Government to collect and report on any delinquent amounts arising out of the offeror's relationship with the Government (31 U.S.C. 7701(c)(3)). If the resulting contract is subject to the payment reporting requirements described in FAR 4.904, the TIN provided hereunder may be matched with IRS records to verify the accuracy of the offeror's TIN.

(3) Taxpayer Identification Number (TIN).

[ ___  ] TIN: __________.

[ ___  ] TIN has been applied for.

[ ___  ] TIN is not required because:

[ ___  ] Offeror is a nonresident alien, foreign corporation, or foreign partnership that does not have income effectively connected with the conduct of a trade or business in the United States and does not have an office or place of business or a fiscal paying agent in the United States;

[ ___  ] Offeror is an agency or instrumentality of a foreign government;

[ ___  ] Offeror is an agency or instrumentality of the Federal Government.

(4) Type of organization.

[ ___  ] Sole proprietorship;

[ ___  ] Partnership;

[ ___  ] Corporate entity (not tax-exempt);

[ ___  ] Corporate entity (tax-exempt);

[ ___  ] Government entity (Federal, State, or local);

[ ___  ] Foreign government;

[ ___  ] International organization per 26 CFR 1.6049-4;

[ ___  ] Other _____.

(5) Common parent.

[ ___  ] Offeror is not owned or controlled by a common parent;

[ ___  ] Name and TIN of common parent:

Name  ___  .

TIN  ___  .

(m) Restricted business operations in Sudan. By submission of its offer, the offeror certifies that the offeror does not conduct any restricted business operations in Sudan.

(n) Prohibition on Contracting with Inverted Domestic Corporations. (1) Government agencies are not permitted to use appropriated (or otherwise made available) funds for contracts with either an inverted domestic corporation, or a subsidiary of an inverted domestic corporation, unless the exception at 9.108-2(b) applies or the requirement is waived in accordance with the procedures at 9.108-4.

(2) Representation. The Offeror represents that -

(i) It [ ___  ] is, [ ___  ] is not an inverted domestic corporation; and

(ii) It [ ___  ] is, [ ___  ] is not a subsidiary of an inverted domestic corporation.

(o) Prohibition on contracting with entities engaging in certain activities or transactions relating to Iran. (1) The offeror shall email questions concerning sensitive technology to the Department of State at CISADA106@state.gov.

(2) Representation and certifications. Unless a waiver is granted or an exception applies as provided in paragraph (o)(3) of this provision, by submission of its offer, the offeror -

(i) Represents, to the best of its knowledge and belief, that the offeror does not export any sensitive technology to the government of Iran or any entities or individuals owned or controlled by, or acting on behalf or at the direction of, the government of Iran;

(ii) Certifies that the offeror, or any person owned or controlled by the offeror, does not engage in any activities for which sanctions may be imposed under section 5 of the Iran Sanctions Act; and

(iii) Certifies that the offeror, and any person owned or controlled by the offeror, does not knowingly engage in any transaction that exceeds the threshold at FAR 25.703-2(a)(2) with Iran's Revolutionary Guard Corps or any of its officials, agents, or affiliates, the property and interests in property of which are blocked pursuant to the International Emergency Economic Powers Act (50 U.S.C. 1701 et seq.) (see OFAC's Specially Designated Nationals and Blocked Persons List at https://www.treasury.gov/resource-center/sanctions/SDN-List/Pages/default.aspx).

(3) The representation and certification requirements of paragraph (o)(2) of this provision do not apply if -

(i) This solicitation includes a trade agreements certification (e.g., 52.212-3(g) or a comparable agency provision); and

(ii) The offeror has certified that all the offered products to be supplied are designated country end products.

(p) Ownership or Control of Offeror. (Applies in all solicitations when there is a requirement to be registered in SAM or a requirement to have a unique entity identifier in the solicitation).

(1) The Offeror represents that it [ ___  ] has or [ ___  ] does not have an immediate owner. If the Offeror has more than one immediate owner (such as a joint venture), then the Offeror shall respond to paragraph (2) and if applicable, paragraph (3) of this provision for each participant in the joint venture.

(2) If the Offeror indicates “has” in paragraph (p)(1) of this provision, enter the following information:

Immediate owner CAGE code:  ___  .

Immediate owner legal name:  ___  .

(Do not use a “doing business as” name)

Is the immediate owner owned or controlled by another entity: [ ___  ] Yes or [ ___  ] No.

(3) If the Offeror indicates “yes” in paragraph (p)(2) of this provision, indicating that the immediate owner is owned or controlled by another entity, then enter the following information:

Highest-level owner CAGE code:  ___  .

Highest-level owner legal name:  ___  .

(Do not use a “doing business as” name)

(q) Representation by Corporations Regarding Delinquent Tax Liability or a Felony Conviction under any Federal Law. (1) As required by sections 744 and 745 of Division E of the Consolidated and Further Continuing Appropriations Act, 2015 (Pub. L. 113-235), and similar provisions, if contained in subsequent appropriations acts, The Government will not enter into a contract with any corporation that -

(i) Has any unpaid Federal tax liability that has been assessed, for which all judicial and administrative remedies have been exhausted or have lapsed, and that is not being paid in a timely manner pursuant to an agreement with the authority responsible for collecting the tax liability, where the awarding agency is aware of the unpaid tax liability, unless an agency has considered suspension or debarment of the corporation and made a determination that suspension or debarment is not necessary to protect the interests of the Government; or

(ii) Was convicted of a felony criminal violation under any Federal law within the preceding 24 months, where the awarding agency is aware of the conviction, unless an agency has considered suspension or debarment of the corporation and made a determination that this action is not necessary to protect the interests of the Government.

(2) The Offeror represents that -

(i) It is [ ___  ] is not [ ___  ] a corporation that has any unpaid Federal tax liability that has been assessed, for which all judicial and administrative remedies have been exhausted or have lapsed, and that is not being paid in a timely manner pursuant to an agreement with the authority responsible for collecting the tax liability; and

(ii) It is [ ___  ] is not [ ___  ] a corporation that was convicted of a felony criminal violation under a Federal law within the preceding 24 months.

(r) Predecessor of Offeror. (Applies in all solicitations that include the provision at 52.204-16, Commercial and Government Entity Code Reporting.)

(1) The Offeror represents that it [ ___  ] is or [ ___  ] is not a successor to a predecessor that held a Federal contract or grant within the last three years.

(2) If the Offeror has indicated “is” in paragraph (r)(1) of this provision, enter the following information for all predecessors that held a Federal contract or grant within the last three years (if more than one predecessor, list in reverse chronological order):

Predecessor CAGE code:  ___   (or mark “Unknown”).

Predecessor legal name:  ___  .

(Do not use a “doing business as” name).

(s) [Reserved]

(t) Public Disclosure of Greenhouse Gas Emissions and Reduction Goals. Applies in all solicitations that require offerors to register in SAM (12.301(d)(1)).

(1) This representation shall be completed if the Offeror received $7.5 million or more in contract awards in the prior Federal fiscal year. The representation is optional if the Offeror received less than $7.5 million in Federal contract awards in the prior Federal fiscal year.

(2) Representation. [Offeror to check applicable block(s) in paragraph (t)(2)(i) and (ii)]. (i) The Offeror (itself or through its immediate owner or highest-level owner) [ ___  ] does, [ ___  ]  does not publicly disclose greenhouse gas emissions, i.e., makes available on a publicly accessible Web site the results of a greenhouse gas inventory, performed in accordance with an accounting standard with publicly available and consistently applied criteria, such as the Greenhouse Gas Protocol Corporate Standard.

(ii) The Offeror (itself or through its immediate owner or highest-level owner) [ ___  ] does, [ ___  ] does not publicly disclose a quantitative greenhouse gas emissions reduction goal, i.e., make available on a publicly accessible Web site a target to reduce absolute emissions or emissions intensity by a specific quantity or percentage.

(iii) A publicly accessible Web site includes the Offeror's own Web site or a recognized, third-party greenhouse gas emissions reporting program.

(3) If the Offeror checked “does” in paragraphs (t)(2)(i) or (t)(2)(ii) of this provision, respectively, the Offeror shall provide the publicly accessible Web site(s) where greenhouse gas emissions and/or reduction goals are reported.

(u)(1) In accordance with section 743 of Division E, Title VII, of the Consolidated and Further Continuing Appropriations Act, 2015 (Pub. L. 113-235) and its successor provisions in subsequent appropriations acts (and as extended in continuing resolutions), Government agencies are not permitted to use appropriated (or otherwise made available) funds for contracts with an entity that requires employees or subcontractors of such entity seeking to report waste, fraud, or abuse to sign internal confidentiality agreements or statements prohibiting or otherwise restricting such employees or subcontractors from lawfully reporting such waste, fraud, or abuse to a designated investigative or law enforcement representative of a Federal department or agency authorized to receive such information.

(2) The prohibition in paragraph (u)(1) of this provision does not contravene requirements applicable to Standard Form 312 (Classified Information Nondisclosure Agreement), Form 4414 (Sensitive Compartmented Information Nondisclosure Agreement), or any other form issued by a Federal department or agency governing the nondisclosure of classified information.

(3) Representation. By submission of its offer, the Offeror represents that it will not require its employees or subcontractors to sign or comply with internal confidentiality agreements or statements prohibiting or otherwise restricting such employees or subcontractors from lawfully reporting waste, fraud, or abuse related to the performance of a Government contract to a designated investigative or law enforcement representative of a Federal department or agency authorized to receive such information (e.g., agency Office of the Inspector General).

(v) Covered Telecommunications Equipment or Services - Representation. Section 889(a)(1)(A) and section 889 (a)(1)(B) of Public Law 115-232.

(1) The Offeror shall review the list of excluded parties in the System for Award Management (SAM) (https://www.sam.gov) for entities excluded from receiving federal awards for “covered telecommunications equipment or services”.

(2) The Offeror represents that -

(i) It [ ___  ] does, [ ___  ] does not provide covered telecommunications equipment or services as a part of its offered products or services to the Government in the performance of any contract, subcontract, or other contractual instrument.

(ii) After conducting a reasonable inquiry for purposes of this representation, that it [ ___  ] does, [ ___  ] does not use covered telecommunications equipment or services, or any equipment, system, or service that uses covered telecommunications equipment or services.

(End of provision)

52.212-5     CONTRACT TERMS AND CONDITIONS REQUIRED TO IMPLEMENT STATUTES OR EXECUTIVE ORDERS—COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES (DEVIATION 2018-O0021) (JUN 2023)

(a) Comptroller General Examination of Record. The Contractor shall comply with the provisions of this paragraph (a) if this contract was awarded using other than sealed bid, is in excess of the simplified acquisition threshold, and does not contain the clause at 52.215-2, Audit and Records—Negotiation.

(1) The Comptroller General of the United States, or an authorized representative of the Comptroller General, shall have access to and right to examine any of the Contractor’s directly pertinent records involving transactions related to this contract.

(2) The Contractor shall make available at its offices at all reasonable times the records, materials, and other evidence for examination, audit, or reproduction, until 3 years after final payment under this contract or for any shorter period specified in FAR Subpart 4.7, Contractor Records Retention, of the other clauses of this contract. If this contract is completely or partially terminated, the records relating to the work terminated shall be made available for 3 years after any resulting final termination settlement. Records relating to appeals under the disputes clause or to litigation or the settlement of claims arising under or relating to this contract shall be made available until such appeals, litigation, or claims are finally resolved.

(3) As used in this clause, records include books, documents, accounting procedures and practices, and other data, regardless of type and regardless of form. This does not require the Contractor to create or maintain any record that the Contractor does not maintain in the ordinary course of business or pursuant to a provision of law.

(b)(1) Notwithstanding the requirements of any other clauses of this contract, the Contractor is not required to flow down any FAR clause, other than those in this paragraph (b) (1) in a subcontract for commercial products or commercial services. Unless otherwise indicated below, the extent of the flow down shall be as required by the clause—

(i) 52.203-13, Contractor Code of Business Ethics and Conduct (NOV 2021) (41 U.S.C. 3509).

(ii) 52.203-19, Prohibition on Requiring Certain Internal Confidentiality Agreements or Statements (JAN 2017) (section 743 of Division E, Title VII, of the Consolidated and Further Continuing Appropriations Act, 2015 (Pub. L. 113-235) and its successor provisions in subsequent appropriations acts (and as extended in continuing resolutions)).

(iii) 52.204-23, Prohibition on Contracting for Hardware, Software, and Services Developed or Provided by Kaspersky Lab and Other Covered Entities (NOV 2021) (Section 1634 of Pub. L. 115-91).

(iv) 52.204-25, Prohibition on Contracting for Certain Telecommunications and Video Surveillance Services or Equipment. (NOV 2021) (Section 889(a)(1)(A) of Pub. L. 115-232).

(v) 52.204-27, Prohibition on a ByteDance Covered Application (JUN 2023) (Section 102 of Division R of Pub. L. 117-328).

(vi) 52.219-8, Utilization of Small Business Concerns (OCT 2022) (15 U.S.C. 637(d)(2) and (3)), in all subcontracts that offer further subcontracting opportunities. If the subcontract (except subcontracts to small business concerns) exceeds $700,000 ($1.5 million for construction of any public facility), the subcontractor must include 52.219-8 in lower tier subcontracts that offer subcontracting opportunities.

(vii) 52.222-21, Prohibition of Segregated Facilities (APR 2015).

(viii) 52.222-26, Equal Opportunity (SEP 2016) (E.O. 11246).

(ix) 52.222-35, Equal Opportunity for Veterans (OCT 2015) (38 U.S.C. 4212).

(x) 52.222-36, Equal Opportunity for Workers with Disabilities (JUL 2014) (29 U.S.C. 793).

(xi) 52.222-37, Employment Reports on Veterans (FEB 2016) (38 U.S.C. 4212).

(xii) 52.222-40, Notification of Employee Rights Under the National Labor Relations Act (DEC 2010) (E.O. 13496). Flow down required in accordance with paragraph (f) of FAR clause 52.222-40.

(xiii) 52.222-41, Service Contract Labor Standards (AUG 2018) (41 U.S.C. chapter 67).

(xiv)(A) 52.222-50, Combating Trafficking in Persons (NOV 2021) (22 U.S.C. chapter 78 and E.O. 13627).

(B) Alternate I (MAR 2015) of 52.222-50 (22 U.S.C. chapter 78 and E.O. 13627).

(xv) 52.222-51, Exemption from Application of the Service Contract Act to Contracts for Maintenance, Calibration, or Repair of Certain Equipment-Requirements (MAY 2014) (41 U.S.C. chapter 67).

(xvi) 52.222-53, Exemption from Application of the Service Contract Act to Contracts for Certain Services-Requirements (MAY 2014) (41 U.S.C. chapter 67).

(xvii) 52.222-54, Employment Eligibility Verification (MAY 2022) (E.O. 12989).

(xviii) 52.222-55, Minimum Wages for Contractor Workers Under Executive Order 14026 (JAN 2022).

(xix) 52.222-62 Paid Sick Leave Under Executive Order 13706 (JAN 2022) (E.O. 13706).

(xx)(A) 52.224-3, Privacy Training (JAN 2017) (5 U.S.C. 552a).

(B) Alternate I (JAN 2017) of 52.224-3.

(xxi) 52.225-26, Contractors Performing Private Security Functions Outside the United States (OCT 2016) (Section 862, as amended, of the National Defense Authorization Act for Fiscal Year 2008; 10 U.S.C. Subtitle A, Part V, Subpart G Note).

(xxii) 52.226-6, Promoting Excess Food Donation to Nonprofit Organizations (MAY 2014) (42 U.S.C. 1792). Flow down required in accordance with paragraph (e) of FAR clause 52.226-6.

(xxiii) 52.232-40, Providing Accelerated Payments to Small Business Subcontractors (MAR 2023) (31 U.S.C. 3903 and 10 U.S.C. 3801). Flow down required in accordance with paragraph (c) of 52.232-40.

(xxiv) 52.247-64, Preference for Privately Owned U.S.-Flag Commercial Vessels (NOV 2021) (46 U.S.C. 55305 and 10 U.S.C. 2631). Flow down required in accordance with paragraph (d) of FAR clause 52.247-64.

(2) While not required, the contractor may include in its subcontracts for commercial products and commercial services a minimal number of additional clauses necessary to satisfy its contractual obligations.

(End of clause)

52.219-8  Utilization of Small Business Concerns (DEVIATION 2023-O0002) (DEC 2022)

(a) Definitions. As used in this contract—

HUBZone small business concern means a small business concern that meets the requirements described in 13 CFR 126.200, certified by the Small Business Administration (SBA) and designated by SBA as a HUBZone small business concern in the Dynamic Small Business Search (DSBS) and SAM.

Service-disabled veteran-owned small business concern—

(1) Means a small business concern-

(i) Not less than 51 percent of which is owned by one or more service-disabled veterans or, in the case of any publicly owned business, not less than 51 percent of the stock of which is owned by one or more service-disabled veterans; and

(ii) The management and daily business operations of which are controlled by one or more service-disabled veterans or, in the case of a service-disabled veteran with permanent and severe disability, the spouse or permanent caregiver of such veteran.

(2) Service-disabled veteran means a veteran, as defined in 38 U.S.C.101 (2), with a disability that is service-connected, as defined in 38 U.S.C.101(16).

Small business concern means a concern, including its affiliates, that is independently owned and operated, not dominant in its field of operation and qualified as a small business under the criteria and size standards in 13 CFR part 121, including the size standard that corresponds to the NAICS code assigned to the contract or subcontract.

Small disadvantaged business concern, consistent with 13 CFR 124.1002, means a small business concern under the size standard applicable to the acquisition, that-

(1) Is at least 51 percent unconditionally and directly owned (as defined at 13 CFR 124.105) by-

(i) One or more socially disadvantaged (as defined at 13 CFR 124.103) and economically disadvantaged (as defined at 13 CFR 124.104) individuals who are citizens of the United States; and

(ii) Each individual claiming economic disadvantage has a net worth not exceeding $850,000 after taking into account the applicable exclusions set forth at 13 CFR 124.104(c)(2); and

(2) The management and daily business operations of which are controlled (as defined at 13.CFR 124.106) by individuals, who meet the criteria in paragraphs (1)(i) and (ii) of this definition.

Veteran-owned small business concern means a small business concern-

(1) Not less than 51 percent of which is owned by one or more veterans (as defined at 38 U.S.C.101(2)) or, in the case of any publicly owned business, not less than 51 percent of the stock of which is owned by one or more veterans; and

(2) The management and daily business operations of which are controlled by one or more veterans.

Women-owned small business concern means a small business concern-

(1) That is at least 51 percent owned by one or more women, or, in the case of any publicly owned business, at least 51 percent of the stock of which is owned by one or more women; and

(2) Whose management and daily business operations are controlled by one or more women.

(b) It is the policy of the United States that small business concerns, veteran-owned small business concerns, service-disabled veteran-owned small business concerns, HUBZone small business concerns, small disadvantaged business concerns, and women-owned small business concerns shall have the maximum practicable opportunity to participate in performing contracts let by any Federal agency, including contracts and subcontracts for subsystems, assemblies, components, and related services for major systems. It is further the policy of the United States that its prime contractors establish procedures to ensure the timely payment of amounts due pursuant to the terms of their subcontracts with small business concerns, veteran-owned small business concerns, service-disabled veteran-owned small business concerns, HUBZone small business concerns, small disadvantaged business concerns, and women-owned small business concerns.

(c)(1) A joint venture qualifies as a small business concern if—

(i) Each party to the joint venture qualifies as small under the size standard for the solicitation; or

(ii) The protégé is small under the size standard for the solicitation in a joint venture comprised of a mentor and protégé with an approved mentor-protégé agreement under a SBA mentor-protégé program.

(2) A joint venture qualifies as—

(i) A service-disabled veteran-owned small business concern if it complies with the requirements in 13 CFR part 125; or

(ii) A HUBZone small business concern if it complies with the requirements in 13 CFR 126.616(a) through (c).

(d) The Contractor hereby agrees to carry out this policy in the awarding of subcontracts to the fullest extent consistent with efficient contract performance. The Contractor further agrees to cooperate in any studies or surveys as may be conducted by the United States Small Business Administration or the awarding agency of the United States as may be necessary to determine the extent of the Contractor's compliance with this clause.

(e)(1) The Contractor may accept a subcontractor's written representations of its size and socioeconomic status as a small business, small disadvantaged business, veteran-owned small business, service-disabled veteran-owned small business, or a women-owned small business if the subcontractor represents that the size and socioeconomic status representations with its offer are current, accurate, and complete as of the date of the offer for the subcontract.

(2) The Contractor may accept a subcontractor's representations of its size and socioeconomic status as a small business, small disadvantaged business, veteran-owned small business, service-disabled veteran-owned small business, or a women-owned small business in the System for Award Management (SAM) if–

(i) The subcontractor is registered in SAM; and

(ii) The subcontractor represents that the size and socioeconomic status representations made in SAM are current, accurate and complete as of the date of the offer for the subcontract.

(3) The Contractor may not require the use of SAM for the purposes of representing size or socioeconomic status in connection with a subcontract.

(4) In accordance with 13 CFR 121.411, 124.1015, 125.29, 126.900, and 127.700, a contractor acting in good faith is not liable for misrepresentations made by its subcontractors regarding the subcontractor's size or socioeconomic status.

(5) The Contractor shall confirm that a subcontractor representing itself as a HUBZone small business concern is certified by SBA as a HUBZone small business concern by accessing SAM or by accessing DSBS at https://web.sba.gov/pro-net/search/dsp_dsbs.cfm. If the subcontractor is a joint venture, the Contractor shall confirm that at least one party to the joint venture is certified by SBA as a HUBZone small business concern. The Contractor may confirm the representation by accessing SAM.

(End of clause)

52.219-28    POST-AWARD SMALL BUSINESS PROGRAM REREPRESENTATION (SEP 2023)

(a) Definitions. As used in this clause--

Long-term contract means a contract of more than five years in duration, including options. However, the term does not include contracts that exceed five years in duration because the period of performance has been extended for a cumulative period not to exceed six months under the clause at 52.217-8, Option to Extend Services, or other appropriate authority.

Small business concern--

(1) Means a concern, including its affiliates, that is independently owned and operated, not dominant in its field of operation, and qualified as a small business under the criteria in 13 CFR part 121 and the size standard in paragraph (d) of this clause.

(2) Affiliates, as used in this definition, means business concerns, one of whom directly or indirectly controls or has the power to control the others, or a third party or parties control or have the power to control the others. In determining whether affiliation exists, consideration is given to all appropriate factors including common ownership, common management, and contractual relationships. SBA determines affiliation based on the factors set forth at 13 CFR 121.103.

(b) If the Contractor represented that it was any of the small business concerns identified in 19.000(a)(3) prior to award of this contract, the Contractor shall rerepresent its size and socioeconomic status according to paragraph (f) of this clause or, if applicable, paragraph (h) of this clause, upon occurrence of any of the following:

(1) Within 30 days after execution of a novation agreement or within 30 days after modification of the contract to include this clause, if the novation agreement was executed prior to inclusion of this clause in the contract.

(2) Within 30 days after a merger or acquisition that does not require a novation or within 30 days after modification of the contract to include this clause, if the merger or acquisition occurred prior to inclusion of this clause in the contract.

(3) For long-term contracts--

(i) Within 60 to 120 days prior to the end of the fifth year of the contract; and

(ii) Within 60 to 120 days prior to the date specified in the contract for exercising any option thereafter.

(c) If the Contractor represented that it was any of the small business concerns identified in 19.000(a)(3) prior to award of this contract, the Contractor shall re-represent its size and socioeconomic status according to paragraph (f) of this clause or, if applicable, paragraph (h) of this clause, when the Contracting Officer explicitly requires it for an order issued under a multiple-award contract.

(d) The Contractor shall re-represent its size status in accordance with the size standard in effect at the time of this re-representation that corresponds to the North American Industry Classification System (NAICS) code(s) assigned to this contract. The small business size standard corresponding to this NAICS code(s) can be found at https://www.sba.gov/document/support--table-size-standards.

(e) The small business size standard for a Contractor providing an end item that it does not manufacture, process, or produce itself, for a contract other than a construction or service contract, is 500 employees, or 150 employees for information technology value-added resellers under NAICS code 541519, if the acquisition--

(1) Was set aside for small business and has a value above the simplified acquisition threshold;

(2) Used the HUBZone price evaluation preference regardless of dollar value, unless the Contractor waived the price evaluation preference; or

(3) Was an 8(a), HUBZone, service-disabled veteran-owned, economically disadvantaged women-owned, or women-owned small business set-aside or sole-source award regardless of dollar value.

(f) Except as provided in paragraph (h) of this clause, the Contractor shall make the representation(s) required by paragraph (b) and (c) of this clause by validating or updating all its representations in the Representations and Certifications section of the System for Award Management (SAM) and its other data in SAM, as necessary, to ensure that they reflect the Contractor's current status. The Contractor shall notify the contracting office in writing within the timeframes specified in paragraph (b) of this clause, or with its offer for an order (see paragraph (c) of this clause), that the data have been validated or  updated, and provide the date of the validation or update.

(g) If the Contractor represented that it was other than a small business concern prior to award of this contract, the Contractor may, but is not required to, take the actions required by paragraphs (f) or (h) of this clause.

(h) If the Contractor does not have representations and certifications in SAM, or does not have a representation in SAM for the NAICS code applicable to this contract, the Contractor is required to complete the following re-representation and submit it to the contracting office, along with the contract number and the date on which the re-representation was completed:

(1) The Contractor represents that it [     ] is, [     ] is not a small business concern under NAICS Code       assigned to contract number      .

(2) [Complete only if the Contractor represented itself as a small business concern in paragraph (h)(1) of this clause.] The Contractor represents that it [     ] is, [     ] is not, a small disadvantaged business concern as defined in 13 CFR 124.1001.

(3) [Complete only if the Contractor represented itself as a small business concern in paragraph (h)(1) of this clause.] The Contractor represents that it [     ] is, [     ] is not a women-owned small business concern.

(4) Women-owned small business (WOSB) joint venture eligible under the WOSB Program. The Contractor represents that it [     ] is, [     ] is not a joint venture that complies with the

requirements of 13 CFR 127.506(a) through (c). [The Contractor shall enter the name and unique entity identifier of each party to the joint venture:       .]

(5) Economically disadvantaged women-owned small business (EDWOSB) joint venture. The Contractor represents that it [     ] is, [     ] is not a joint venture that complies with the requirements of 13 CFR 127.506(a) through (c). [The Contractor shall enter the name and unique entity identifier of each party to the joint venture:       .]

(6) [Complete only if the Contractor represented itself as a small business concern in paragraph (h)(1) of this clause.] The Contractor represents that it [     ] is, [     ] is not a veteran-owned

small business concern.

(7) [Complete only if the Contractor represented itself as a veteran-owned small business concern in paragraph (h)(6) of this clause.] The Contractor represents that it [     ] is, [     ] is not a

service-disabled veteran-owned small business concern.

(8) [Complete only if the Contractor represented itself as a small business concern in paragraph (h)(1) of this clause.] The Contractor represents that--

(i) It [     ] is, [     ] is not a HUBZone small business concern listed, on the date of this representation, on the List of Qualified HUBZone Small Business Concerns maintained by the Small Business Administration, and no material changes in ownership and control, principal office, or HUBZone employee percentage have occurred since it was certified in accordance with 13 CFR part 126; and

(ii) It [     ] is, [     ] is not a HUBZone joint venture that complies with the requirements of 13 CFR part 126, and the representation in paragraph (h)(8)(i) of this clause is accurate for each HUBZone small business concern participating in the HUBZone joint venture. [The Contractor shall enter the names of each of the HUBZone small business concerns participating in the HUBZone joint venture:      .] Each HUBZone small business concern participating in the HUBZone joint venture shall submit a separate signed copy of the HUBZone representation.

[Contractor to sign and date and insert authorized signer's name and title.]

(End of clause)

52.252-1     SOLICITATION PROVISIONS INCORPORATED BY REFERENCE (FEB 1998)

This solicitation incorporates one or more solicitation provisions by reference, with the same force and effect as if they were given in full text. Upon request, the Contracting Officer will make their full text available. The offeror is cautioned that the listed provisions may include blocks that must be completed by the offeror and submitted with its quotation or offer. In lieu of submitting the full text of those provisions, the offeror may identify the provision by paragraph identifier and provide the appropriate information with its quotation or offer. Also, the full text of a solicitation provision may be accessed electronically at this/these address(es):

https://www.acquisition.gov/browse/index/far

(End of provision)

52.252-2      CLAUSES INCORPORATED BY REFERENCE (FEB 1998)

This contract incorporates one or more clauses by reference, with the same force and effect as if they were given in full text. Upon request, the Contracting Officer will make their full text available. Also, the full text of a clause may be accessed electronically at this/these address(es):

https://www.acquisition.gov/browse/index/far

(End of clause)

52.252-5     AUTHORIZED DEVIATIONS IN PROVISIONS (NOV 2020)

(a) The use in this solicitation of any Federal Acquisition Regulation (48 CFR Chapter 1) provision with an authorized deviation is indicated by the addition of "(DEVIATION)" after the date of the provision.

- The use in this solicitation of any Defense Acquisition Regulations Supplement (48 CFR Chapter 2) provision with an authorized deviation is indicated by the addition of "(DEVIATION)" after the name of the regulation.

(End of provision)

52.252-6     AUTHORIZED DEVIATIONS IN CLAUSES (NOV 2020)

(a) The use in this solicitation or contract of any Federal Acquisition Regulation (48 CFR Chapter 1) clause with an authorized deviation is indicated by the addition of "(DEVIATION)" after the date of the clause.

(b) The use in this solicitation or contract of any Defense Acquisition Regulations Supplement (48 CFR Chapter 2) clause with an authorized deviation is indicated by the addition of "(DEVIATION)" after the name of the regulation.

(End of clause)

252.232-7006  WIDE AREA WORKFLOW PAYMENT INSTRUCTIONS (JAN 2023)

(a) Definitions. As used in this clause—

“Department of Defense Activity Address Code (DoDAAC)” is a six position code that uniquely identifies a unit, activity, or organization.

“Document type” means the type of payment request or receiving report available for creation in Wide Area WorkFlow (WAWF).

“Local processing office (LPO)” is the office responsible for payment certification when payment certification is done external to the entitlement system.

“Payment request” and “receiving report” are defined in the clause at 252.232-7003, Electronic Submission of Payment Requests and Receiving Reports.

(b) Electronic invoicing. The WAWF system provides the method to electronically process vendor payment requests and receiving reports, as authorized by Defense Federal Acquisition Regulation Supplement (DFARS) 252.232-7003, Electronic Submission of Payment Requests and Receiving Reports.

(c) WAWF access. To access WAWF, the Contractor shall—

(1) Have a designated electronic business point of contact in the System for Award Management at https://www.sam.gov; and

(2) Be registered to use WAWF at https://wawf.eb.mil/ following the step-by-step procedures for self-registration available at this web site.

(d) WAWF training. The Contractor should follow the training instructions of the WAWF Web-Based Training Course and use the Practice Training Site before submitting payment requests through WAWF. Both can be accessed by selecting the “Web Based Training” link on the WAWF home page at https://wawf.eb.mil/.

(e) WAWF methods of document submission. Document submissions may be via web entry, Electronic Data Interchange, or File Transfer Protocol.

(f) WAWF payment instructions. The Contractor shall use the following information when submitting payment requests and receiving reports in WAWF for this contract or task or delivery order:

(1)  Document type. The Contractor shall submit payment requests using the following document type(s):

(i) For cost-type line items, including labor-hour or time-and-materials, submit a cost voucher.

(ii) For fixed price line items—

(A) That require shipment of a deliverable, submit the invoice and receiving report specified by the Contracting Officer.

N/A

(B) For services that do not require shipment of a deliverable, submit either the Invoice 2in1, which meets the requirements for the invoice and receiving report, or the applicable invoice and receiving report, as specified by the Contracting Officer.

Invoice 2in1

(iii) For customary progress payments based on costs incurred, submit a progress payment request.

(iv) For performance based payments, submit a performance based payment request.

(v) For commercial financing, submit a commercial financing request.

(2) Fast Pay requests are only permitted when Federal Acquisition Regulation (FAR) 52.213-1 is included in the contract.

[Note: The Contractor may use a WAWF “combo” document type to create some combinations of invoice and receiving report in one step.]

(3) Document routing. The Contractor shall use the information in the Routing Data Table below only to fill in applicable fields in WAWF when creating payment requests and receiving reports in the system.

Routing Data Table*

| Field Name in WAWF | Data to be entered in WAWF |
| --- | --- |
| Pay Official DoDAAC | HQ0490 |
| Issue By DoDAAC | HT9406 |
| Admin DoDAAC** | HT9406 |
| Inspect By DoDAAC | HT0242 |
| Ship To Code | HT0242 |
| Ship From Code | N/A |
| Mark For Code | N/A |
| Service Approver (DoDAAC) | HT0242 |
| Service Acceptor (DoDAAC) | HT0242 |
| Accept at Other DoDAAC | N/A |
| LPO DoDAAC | N/A |
| DCAA Auditor DoDAAC | N/A |
| Other DoDAAC(s) | N/A |

(4) Payment request. The Contractor shall ensure a payment request includes documentation appropriate to the type of payment request in accordance with the payment clause, contract financing clause, or Federal Acquisition Regulation 52.216-7, Allowable Cost and Payment, as applicable.

(5) Receiving report. The Contractor shall ensure a receiving report meets the requirements of DFARS Appendix F.

(g) WAWF point of contact.

(1) The Contractor may obtain clarification regarding invoicing in WAWF from the following contracting activity’s WAWF point of contact.

Contracting Officer’s Representative to be determined at award.

(2) Contact the WAWF helpdesk at 866-618-5988, if assistance is needed.

(End of clause)

52.212-2  EVALUATION--COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES (NOV 2021)

- The Government will award a contract resulting from this solicitation to the responsible offeror whose offer conforming to the solicitation will be most advantageous to the Government, price and other factors considered. The following factors shall be used to evaluate offers:

The Government's determination that the quoted price is fair and reasonable based on price analysis.

Definition of Fair and Reasonable - A fair and reasonable price is the selling price for a service or good that is fair to both the buyer and the seller. A contract will only be awarded based on a quote that is determined fair and reasonable.

- Options. The Government will evaluate offers for award purposes by adding the total price for all options to the total price for the basic requirement. The Government may determine that an offer is unacceptable if the option prices are significantly unbalanced. Evaluation of options shall not obligate the Government to exercise the option(s).

- A written notice of award or acceptance of an offer, mailed or otherwise furnished to the successful offeror within the time for acceptance specified in the offer, shall result in a binding contract without further action by either party. Before the offer's specified expiration time, the Government may accept an offer (or part of an offer), whether or not there are negotiations after its receipt, unless a written notice of withdrawal is received before award.

(End of provision)

252.232-7998  Obligations in Advance of Fiscal Year 2026 Funding (DEVIATION 2026-O0001)

When awarding contracts, modifications to existing contracts including those exercising options, task orders, or delivery orders to obtain supplies and services necessary to carry out or support excepted activities in advance of the availability of fiscal year 2026 funds, use the following clause:

OBLIGATIONS IN ADVANCE OF FISCAL YEAR 2026 FUNDING

(OCT 2025) (DEVIATION 2026-O0001)

The Department of Defense has the authority to enter into this contractual action and to obligate the Government in advance of appropriations; however, appropriated funds are not currently available to make payments under this contract to liquidate this obligation. When appropriated funds become available, the Government will make payment in accordance with the terms of this contract, including the payment of interest where applicable under the Prompt Payment Act. This clause supersedes conflicting terms of any other provision in this contract dealing with contract payment or financing until funds are made available to the Contracting Officer for this contractual action.

(End of clause)

LIST OF ATTACHMENTS:

| Number | Attachment Name | Attachment Description | Reference Identifier | Date | Line Item |
| --- | --- | --- | --- | --- | --- |
| 01 | Exhibit 1-Addendum to 52.212-1-Amendment 2 | Addendum to 52.212-1 | Exhibit 1-Addendum to 52.212-1 | 25 Nov 2025 | 0001 |
| 02 | Exhibit 2-Addendum to 52.212-2 | Addendum to 52.212-2 | Exhibit 2-Addendum to 52.212-2 | 24 Nov 2025 | 0001 |
| 03 | Attachment-1-SOW-Checklist-Amendment 1 | Scope of Work | Attachment-1-SOW-Checklist | 25 Nov 2025 | 0001 |
| 04 | Attachment-2-Pricing-Sheet-Amendment 2 | Pricing Sheet | Attachment-2-Pricing-Sheet | 24 Nov 2025 | 0001 |
| 05 | Attachment-3-QASP | Quality Assurance Surveillance Plan | Attachment-3-QASP | 24 Nov 2025 | 0001 |
| 06 | Attachment-4-DHA Cyber Logistics Cybersecurity - Risk Management Framework | Risk Management Framework | Attachment-4-DHA Cyber Logistics Cybersecurity - Risk Management Framework | 24 Nov 2025 | 0001 |
| 07 | Attachment-5-Medical Device and Equipment Risk Assessment | MDERA | Attachment-5-Medical Device and Equipment Risk Assessment | 24 Nov 2025 | 0001 |
| 08 | Attachment 6-Questions and Answers | RFQ Questions and Answers | Attachment 6-Questions and Answers | 02 Dec 2025 | 0001 |