City of Jacksonville

Pump Station Inspection Form

| Pump Station Information |  |  |
| --- | --- | --- |
| Location Name |  |  |
| Pump Station Identifier |  |  |
| Address |  |  |
| Owner |  |  |
| Operator Company |  |  |
| Operator Company Inspector (Print & Sign) |  |  |
| Circle Pump Station Type: |  |  |
| Duplex Simplex Triplex Low Pressure System | Submersible | Aboveground |

| Requirements and Prohibitions (JEPB Rule 3.103) |  | Yes | No |
| --- | --- | --- | --- |
| .B | Evidence of discharge of untreated wastewater to surface water (creek, river) or groundwater? |  |  |
|  | Evidence of discharge of untreated wastewater to ground or surrounding environment? |  |  |
| .E | Pump station system or wet well connected to stormwater pipes, drains, ditches, ponds, swales, or any other stormwater structures? |  |  |
| .J | Safe, clean, and dry access to pump station? |  |  |

| Operation and Maintenance (JEPB Rule 3.405): |  | Yes | No |
| --- | --- | --- | --- |
| .A.6.a.(1) | Wet well interior surface is free of debris? |  |  |
| .A.6.a.(5) | Alarms cycled and functioning? |  |  |
| .A.6.a.(6) | Floats set? |  |  |
| .A.6.a.(7) | Floats clear of grease? |  |  |
| .A.6.a.(8) | Pump cables/chains are in good condition, secure, and not around pump suction? |  |  |
| .A.6.a.(9) | Wet well pumped down, bottom inspected for sand/debris, sand/debris removed? |  |  |
| .A.6.a.(10) | Grass around pump station is trimmed and area is free of debris? |  |  |
| .A.6.a.(11) | Isolation valves exercised – completely closed then left completely open? |  |  |
| .A.6.a.(12) | Confirmed electrical lugs in panel tight and seal secure? |  |  |
| .A.6.a.(13) | Secured each lock and lubricated as needed? |  |  |

| Pump Diagnostics |  | Pump 1 | Pump 2 | Pump 3 |
| --- | --- | --- | --- | --- |
| .A.6.a.(2) | Hour meter readings |  |  |  |
|  | Change from last month |  |  |  |
| .A.6.a.(3) | Amp draw |  |  |  |
| .A.6.a.(4) | Voltage |  |  |  |
| .A.6.b | Megohm test (once every 3 months– or enter date last done) |  |  |  |

| Wet Well Pump Out and Pump Inspection – Circle Required Frequency |  | 6 months | 2 years |
| --- | --- | --- | --- |
| A.6.c & d | Wet well pumped out and pressure washed? | Yes | No |
| A.6.c & d | Hauling/disposal invoice provided to pump station owner? |  |  |
|  | Date of next scheduled pump out and pump inspection |  |  |
| .A.6.c & d | Pumps pulled and impellers and ports inspected? |  |  |
|  | Conditions of the impellers and ports must be documented in the notes/comments box below. |  |  |

Inspector Notes/Comments: