## Sheet1
Row Labels | Count of Task
A013AA | 2
A013AB | 5
A013AC | 8
B013AA | 3
B013AB | 8
B013AC | 25
C013AA | 5
C013AB | 6
C013AC | 6
D013AA | 2
D013AB | 2
D013AC | 7
E013AA | 2
Grand Total | 81

## List of Work Orders
Attachment J-0600000-04, Sample Historical Port Ops Work Order Data
Work Order | Description | Work Type | Work Group | Location
5236335 | CL4J76 - LOST SHORE POWER. CAME BACK UP. PLEASE CHECK OUT JUST IN CASE WATER IN LINES. NO GROUNDS. HAVE BOTH OPEN/CLOSED INDICATION LIGHTS. Long Desc: VESSELS AFFECTED USS COOPERSTOWN, MILWAUKEE AND DAUNTLESS. @ WHARF E. POC LT COX 619-857-7988 | SO | MYP-PORT OPS | MAYPOR-1562
5236285 | CL4J6Z- LOST SHORE POWER. CAME BACK UP. PLEASE CHECK OUT JUST IN CVASE WATER IN LINES. NO GROUNDS. HAVE BOTH OPEN/CLOSED INDICATION LIGHTS. Long Desc: VESSELS AFFECTED MASON AND DILBERT BLACK. WHARF-F-1 | SO | MYP-PORT OPS | MAYPOR-1973
3650011 | CHB6NK REQUEST TO HAVE THE FUEL TANK AT PORT OPS RESTORED BACK TO WORKING CONDITION DUE TO LOSS OF POWER TO THE FUEL TANK. POC BM1 COTTON (937) 818-9316FUEL TANK FOR PORT OPS ALONGSIDE SMALL BOAT PIER AT PORT OPS | SO | MYP-SUBCONTRACTO | MAYPOR-2078
2701306 | CFCVRZ-REQUEST TO HAVE THE FUEL (GAS) PUMP ACROSS THE C-TRACTORS REPAIRED AND RETURNED TO WORKING CONDITION. WE ARE UNABLE TO REFUEL OUR SMALL BOATS AT ALL BECAUSE OF NO PRESSURE AT THE HAND PUMP. | SO | MYP-FAC-MECH | MAYPOR-2078
1720629 | CC6FVS - REQUEST JACOBS TO REMOVE THE ICE MACHINE FROM BAY 1 AND TO TRANSPORT IT TO RECYCLING. ALL FREON AND HOSES HAVE BEEN REMOVED. | SO | MYP-HVAC | MAYPOR-2078
1649763 | CBZ94N - F-PIER REPAIR THE JUNCTION BOX ON THE BOOM REEL ON FOXTROT PIER APPEARS TO HAVE BEEN BROKEN. THE WIRING HARNESS/CONDUIT THAT LEADS FROM THE JUNCTION BOX HAS BEEN SNAPPED OFF AND HAS WIRING REQUEST TO FIX BOOM REEL JUNCTION BOX, REHARNESS AND ENSURE FULL OPERABILITY OF BOOM REEL AND ENSURE THE LIGHT FIXTURE THAT ACCOMPANIES THE BOOM REEL IS OPERATING | SO | MYP-FAC-ELECT | N60201
1470331 | CBSS3X - REQUEST TO HAVE ICE MACHINE FREON REMOVED AND PREPARED FOR DERMO IN BLDG 2078 IN BM BAY 1. | SO | MYP-HVAC | MAYPOR-2078
1238895 | CBCNXN - REQUEST TO HAVE PARKING SIGNS MADE TO READ "PORT OPERATIONS BOS'N" AND "PORT OPERATIONS SAILOR OF THE QUARTER" SIGNS SHOULD BE PREPARED IN THE SAME TEMPLATE AS THE PHOTO PROVIDED. BOS'N SIGN IS TO BE INSTALLED IN THE PARKING SPOT TO THE LEFT OF "SAILOR OF THE MONTH" SIGN AND THE | SO | MYP-FAC-PAINT | MAYPOR-2078
1131587 | C9WPX7 - UPON NORMAL OPERATION OF PUMP OPERATOR NOTICED DEFECT IN THE GAUGE ON THE UNLEADED FUEL PUMP. REQUEST TO HAVE GAUGE FIXED OR IF REQUIRED REPLACED. CONTACT POC UPON COMPLETION. UNLEADED FUEL PUMP, NEXT TO THE SMALL BOAT DOCKS IN THE TUG BASIN | SO | MYP-ENERGYENVIR | MAYPOR-2078
1126768 | C9VZ47 - FUEL PUMP IS ENERGIZING, BUT AS SOON AS THE LEVER ON THE NOZZLE IS SQUEEZED THE PUMP SHUTS OFF. REQUEST FOR PROBLEM TO BE INVESTEGATED AND FOR PUMP TO BE PLACED BACK INTO SERVICE. CONTACT POC UPON COMPLETION. REPAIR AS NEEDED. FUEL PUMP NEXT TO THE TUG BASING BY THE SMALL BOATS DOCK. | SO | MYP-ENERGYENVIR | MAYPOR-2078
1066391 | C9LS9T - B-4 PIER PC SHORE POWER CABLE REPLACE 6 CAM LOCK CONNECTORS AND CRIMP ON SHIPS SUPPLIED LUGS ON SHORE POWER CABLE ON D-4/ PC SHORE POWER CABLE. | SO | MYP-PORT OPS | N60201
929314 | C96XKJ-TEMP WO#0743-INV/RPR DIESEL FUEL PUMP ON FINGER PIER IS INOPERABLE AND IS MISSION CRITICAL FOR PORT OPERATIONS SMALL CRAFTS. REQUEST TO FIX SOURCE OF INOPERABILITY AND PLACE FUEL PUMP BACK INTO OPERATION. | SO | MYP-ENERGYENVIR | MAYPOR-2078
852122 | C7WSMB - BLDG 2078 FUEL NOZZLE ON DIESEL FUEL PUMP IS NOT STOPPING THE FLOW OF FUEL. FUEL IS FLOWING OUT OF NOZZLE AS SOON AS PUMP GETS TURNED ON AND IS STUCK OPEN. REQUEST TO REPLACE FAULTY FUEL NOZZLE WITH FULLY FUNCTIONAL ONE. **ENVIRONMENTAL HAZARD** | SO | MYP-ENERGYENVIR | MAYPOR-2078
592949 | C6TXSJ - ROOM 229 INSTALL #3- INSWING DOOR STRIKE TYPE SECURITY LOCK ON ROOM 229 DOOR (LOCK IS ALREADY PURCHASED AND ON HAND. SEE POC FOR LOCK) | SO | MYP-FAC-CARP | MAYPOR-2078
520972 | C6KKKT-25' SHORE POWER CABLE (PIG TAIL) #114 NEEDS TO BE REPAIRED FOR PROPER OPERATION | SO | MYP-PORT OPS | MAYPOR-2078
520964 | C6KKJY-25' SHORE POWER CABLE (PIG TAIL) #118 NEEDS TO BE REPAIRED FOR PROPER OPERATION | SO | MYP-PORT OPS | MAYPOR-2078
520955 | C6KKJV-125' SHORE POWER CABLE 143 NEEDS TO BE REPAIRED FOR PROPER OPERATION | SO | MYP-PORT OPS | MAYPOR-2078
520947 | C6KKJL-25' SHORE POWER CABLE (PIG TAIL) #117 NEEDS TO BE REPAIRED FOR PROPER OPERATION | SO | MYP-PORT OPS | MAYPOR-2078
520939 | C6KKJD-25' SHORE POWER CABLE (PIG TAIL) #116 NEEDS TO BE REPAIRED FOR PROPER OPERATION | SO | MYP-PORT OPS | MAYPOR-2078
520930 | C6KK9N-PIER 25' SHORE POWER CABLE (PIG TAIL) #123 NEEDS TO BE REPAIRED FOR PROPER OPERATION | SO | MYP-PORT OPS | MAYPOR-2078
520920 | C6KKFY-PIER 25' SHORE POWER CABLE (PIG TAIL) #124 NEEDS TO BE REPAIRED FOR PROPER OPERATION | SO | MYP-PORT OPS | MAYPOR-2078
520912 | C6KKGN-PIER 25' SHORE POWER CABLE (PIG TAIL) #125 NEEDS TO BE REPAIRED FOR PROPER OPERATION | SO | MYP-PORT OPS | MAYPOR-2078
520902 | C6KKHM-PIER 25' SHORE POWER CABLE (PIG TAIL) #65 NEEDS TO BE REPAIRED FOR PROPER OPERATION | SO | MYP-PORT OPS | MAYPOR-2078
520892 | C6KKHP-PIER 25' SHORE POWER CABLE (PIG TAIL) #120 NEEDS TO BE REPAIRED FOR PROPER OPERATION | SO | MYP-PORT OPS | MAYPOR-2078
520878 | C6KKHS-PIER 25' SHORE POWER CABLE (PIG TAIL) #122 NEEDS TO BE REPAIRED FOR PROPER OPERATION | SO | MYP-PORT OPS | MAYPOR-2078
520870 | C6KJXV-PIER 125' SHORE POWER CABLE #144 NEEDS TO BE REPAIRED FOR PROPER OPERATION | SO | MYP-PORT OPS | MAYPOR-2078
520860 | C6KJZS-PIER 125' SHORE POWER CABLE #145 NEEDS TO BE REPAIRED FOR PROPER OPERATION | SO | MYP-PORT OPS | MAYPOR-2078
520852 | C6KK47-PIER 125' SHORE POWER CABLE #146 NEEDS TO BE REPAIRED FOR PROPER OPERATION | SO | MYP-PORT OPS | MAYPOR-2078
520844 | C6KK63-PIER 125' SHORE POWER CABLE #147 NEEDS TO BE REPAIRED FOR PROPER OPERATION | SO | MYP-PORT OPS | MAYPOR-2078
520835 | C6KK74-PIER 125' SHORE POWER CABLE #148 NEEDS TO BE REPAIRED FOR PROPER OPERATION | SO | MYP-PORT OPS | MAYPOR-2078
520827 | C6KK97-PIER 125' SHORE POWER CABLE #149 NEEDS TO BE REPAIRED FOR PROPER OPERATION | SO | MYP-PORT OPS | MAYPOR-2078
520817 | C6KKCD-PIER 125' SHORE POWER CABLE #141 NEEDS TO BE REPAIRED FOR PROPER OPERATION | SO | MYP-PORT OPS | MAYPOR-2078
520805 | C6KKFN-PIER 125' SHORE POWER CABLE #140 NEEDS TO BE REPAIRED FOR PROPER OPERATION | SO | MYP-PORT OPS | MAYPOR-2078
520794 | C6KKFT-PIER 125' SHORE POWER CABLE #142 NEEDS TO BE REPAIRED FOR PROPER OPERATION. | SO | MYP-PORT OPS | MAYPOR-2078
284801 | C3VLCP - REQUEST TO REPLACE FUEL HOSE ON DIESEL FUEL PUMP | SO | MYP-ENERGYENVIR | MAYPOR-2078
283380 | C3T3WW - REQUEST TO REPLACE HOSE ON GASOLINE PUMP. FUEL HOSE FOR GASOLINE PUMP DOWN BY SMALL BOAT DOCKS HAS A PUNCTURE/HOLE IN IT CAUSING FUEL TO FLOW OUT OF THE HOSE AND ONTO THE GROUND. | SO | MYP-ENERGYENVIR | MAYPOR-2078
174679 | C336R6 NEED TO RELOCATE CHT HOSE AT PIER A-2 FOR USS THOMAS HUDNER 0800 3/JULY/19 CONTRACTOR IS QED | SO | MYP-PORT OPS | N60201
173011 | BZYZMH THE FUEL TANK ON THE FINGER PIERS ( WHEN FUEL IS LOW) REQUEST TO HAVE THE FUEL TANK CLEANED DUE TO SEDIMENT AND WATER AT THE BOTTOM OF THE TANK | SO | JACENV | MAYPOR-2078
36056 | BYSRN3 3RD DECK DISPATCH THE SAFE WILL NOT OPEN | SO | MYP-PORT OPS | MAYPOR-2078
33125 | BYMGDW 3/JAN/2019 VIKING PLUG CONNECT AT 10:00 F-1 FOR NASSCO | SO | MYP-PORT OPS | MAYPOR-1488