## Urgent Elev. Service Calls sinc
Approved Date | Work Type | Description | Location
Jul 2, 2025, 7:33 AM | URGENT | E) Escalator stopped working after power outage. | NEWLON-484
Nov 24, 2023, 8:10 AM | URGENT | P) ELEVATOR NOT WORKING ON ALPHA SIDE - THERE ARE 2 ELEVATORS IN THE BLDG | NEWLON-492
Dec 30, 2024, 9:01 AM | URGENT | E) Freight elevator doors refuse to open on second floor | NEWLON-484
Mar 17, 2025, 7:10 AM | URGENT | E) LOCATION: 434 GATO HALL ISSUE: WEST WING ELEVATOR NOT WORKING. | NEWLON-434
Jul 11, 2025, 12:59 PM | URGENT | E)KONE - BUILD 575 ELEVATOR RESTORE POWER TO ELEVATOR AND ENSURE PROPER OPERATION | NEWLON-575
Mar 13, 2025, 12:50 PM | URGENT | P)1 ST FLOOR ELEVATOR BY LAUNDRY ROOM NORTH STAIRWELL ,STUCK BETWEEN 1 AND 2ND FLOOR | NEWLON-560
Jun 6, 2023, 1:33 PM | URGENT | ELEVATOR INSPECT: UNIT 49, LOBBY AREA - TOP ELEVATOR - ALL PASSENGER ELEVATORS SHALL HAVE DOOR RESTRICTIONS AS PER ASME A17.3 2011 SECTION 2.7 | NEWLON-518
Jan 13, 2025, 10:12 AM | URGENT | P) ELEVATOR OUT OF ORDER. LOCATED AT MAIN ENTRANCE, EAST SIDE OF BLDG. 3 FLOORS. | NEWLON-86
Sep 5, 2024, 9:18 AM | URGENT | P) Elevator #3 is out of service. | NEWLON-449
Apr 30, 2025, 10:53 AM | URGENT | E) Freight elevator tripped off during power outage. Needs Reset. | NEWLON-484
Aug 20, 2024, 10:20 AM | URGENT | P) WHEN ELEVATOR STOPS ON THE DESIGNATED FLOOR- IT FEELS UNSTABLE LIKE IT IS ABOUT TO LOOSEN FROM BELT AND DROP | NEWLON-83
Aug 20, 2024, 7:45 AM | URGENT | E)ELEVATOR #4 OUT OF SERVICE | NEWLON-449
Aug 14, 2024, 5:57 PM | URGENT | E) Request NAVFAC evaluate/repair/replace central elevator is not responding to call buttons. It is currently stuck on the 2nd floor. | NEWLON-A571
Aug 15, 2024, 11:07 AM | URGENT | E) ELEVATOR #3 OUT OF SERVICE | NEWLON-449
Nov 9, 2023, 1:14 PM | URGENT | E) Elevator doesn't operate correctly. The elevator door opens and closes but doesn't move to any other floors. | NEWLON-492
Aug 8, 2024, 2:32 PM | URGENT | E) The freight elevator is out of order | NEWLON-484
Dec 13, 2024, 2:08 PM | URGENT | E) the passenger elevator is out of order | NEWLON-484
Jul 1, 2025, 11:02 AM | URGENT | P) #3 ELEVATOR OUT OF SERVICE. ONLY ONE WORKING ELEVATOR IN BLDG CURRENTLY. | NEWLON-449
Sep 27, 2024, 2:47 PM | URGENT | E) Elevator has stopped moving. SEE DETAILS | NEWLON-159
Oct 23, 2023, 9:55 AM | URGENT | P) PASSENGER ELEVATOR IS DOWN. STUCK ON 1ST FLOOR. ONLY ELEVATOR IN THE BLDG. | NEWLON-448
Sep 25, 2023, 2:36 PM | URGENT | E) Elevator - Passenger elevator not working. The door will not open or close. | M67011
Jul 21, 2025, 1:51 PM | URGENT | E) North Tower Elevator - Elevator is inoperable and flashing (M)(1). | NEWLON-488
Jan 22, 2025, 1:01 PM | URGENT | E) 2nd deck - Door in the elevator vestibule on the left when exiting the elevator upper hinge is separating, hinges not allowing the door to shut | NEWLON-592
Jul 3, 2025, 9:23 AM | URGENT | e) the freight elevator is out of order /doors continuously opening and closing [urgent] | NEWLON-484
Oct 24, 2023, 3:27 PM | URGENT | E)WEST WING ELEVATOR NOT WORKING. | NEWLON-435
Sep 25, 2024, 7:31 AM | URGENT | E)ISSUE: Elevator not working. Urgent LOCATION: Alpha side elevator | NEWLON-492
Jul 22, 2025, 10:44 AM | URGENT | E)the freight elevator doors on the first floor keep opening and closing [wont latch to operate] | NEWLON-484
Dec 17, 2024, 9:24 AM | URGENT | E)Freight elevator doors refuse to open on second floor | NEWLON-484
Jun 9, 2023, 1:51 PM | URGENT | E) THE AC UNIT FOR RM 216A/PMP OFFICE IS ONLY BLOWING OUT WARM AIR WHICH IS MAKING THE ROOM UNCOMFORTABLE ON WARM DAYS. | NEWLON-88
Oct 16, 2023, 3:19 PM | URGENT | E) Elevator, central west side of building by the main entrance, Elevator panel is inop | NEWLON-1
May 8, 2025, 11:02 AM | URGENT | P) ELEVATOR NOT WORKING | NEWLON-86
| URGENT | E) 3 Elevators for building 492: have a cover installed over the emergency call buttons to prevent accidental activation. | NEWLON-492
Aug 5, 2024, 1:24 PM | URGENT | E) The elevator in bldg 83 has been pulsating when people have been using it as it ascends and descends. | NEWLON-83
Aug 7, 2024, 12:46 PM | URGENT | E) ELEVATOR - (KONE) BUILD 449 ELEVATOR #1 OUT OF SERVICE ON FLOOR #2 DOORS ARE STUCK OPEN. | NEWLON-449
Aug 23, 2024, 9:01 AM | URGENT | E) 4TH DECK ELEVATOR FLOOR LEVEL SIGN IS DAMAGED. ON THE LEFT ELEVATOR HANGING FROM THE LEFT SIDE OF THE SIGN. ***URGENT*** | NEWLON-534
Oct 23, 2023, 7:09 AM | URGENT | E) Left Elevator Bravo Side ISSUE: A resident was stuck in elevator, fire dept. secured power. Requesting an inspection of the elevator. | NEWLON-492
Jul 10, 2025, 1:25 PM | URGENT | E) KONE ELEVATOR - BUILD 449 ELEVATOR #3 IS "OUT OF SERVICE" | NEWLON-449
May 22, 2025, 1:55 PM | URGENT | P) TEMP ID#: 2505210914DS ONLY ELEVATOR INOP STUCK ON 2 ND | NEWLON-519
Sep 27, 2024, 2:49 PM | URGENT | E) Elevator has stopped moving. I entered on the ground floor, pressed the 2nf floor button. Sound noises were heard. They were low level, similar to | NEWLON-159
Sep 16, 2024, 6:42 AM | URGENT | E) ***Elevator OOC*** Elevator currently stuck between 2nd and 3rd floor. -Request NAVFAC assistance for repairing the elevator. | NEWLON-448
Aug 1, 2024, 12:53 PM | URGENT | E) ELEVATOR - (KONE) BUILD 449 ELEVATOR #1 OUT OF SERVICE | NEWLON-449
Dec 21, 2023, 9:15 AM | URGENT | E) ISSUE: Elevator is inoperable. Doors open and close, elevator does not go up and down. | NEWLON-492
Dec 14, 2023, 11:41 AM | URGENT | E) ***Elevator OOC*** Elevator 1st floor button stays lit and doors stay open. -Request NAVFAC assistance for repairing the elevator. | NEWLON-448
Oct 23, 2024, 1:18 PM | URGENT | E) South West wing elevator stuck on first floor South west wing elevator | NEWLON-430
Sep 21, 2023, 2:34 PM | URGENT | E)Repair elevator door operation. Issues with the door chain and door controls. Note: Coordinate job with building manager before starting, and notify | NEWLON-493
Aug 13, 2024, 2:46 PM | URGENT | E)LOCATION: North Tower Elevator ISSUE: Elevator is not functional. Elevator is not receiving power. Urgent work order requested. | NEWLON-492
Jul 2, 2025, 2:40 PM | URGENT | E)LOCATION: North tower Elevator ISSUE: Elevator floor indicator is showing 1-S. Elevator is stuck and needs service as soon as possible. | NEWLON-488
Aug 26, 2024, 3:06 PM | URGENT | E) ELEVATOR - (KONE) BUILD 449 ELEVATOR #1 FLOOR PUSH BUTTON FELL OUT | NEWLON-449
Nov 25, 2024, 12:32 PM | URGENT | E) Elevator is stuck on first floor. Doors wide open BLDG 434 EAST WING ELEVATOR | NEWLON-434
Aug 9, 2024, 11:33 AM | URGENT | E) ELEVATOR IS STOPPING AT FLOOR 2 FOR ABOUT 5-10 SECONDS BEFORE GOING FROM FLOOR THREE TO FLOOR ONE AND VICE VERSA. RECOMMEND ELEVATOR SPECIALIST TO | NEWLON-83
Oct 17, 2023, 7:07 AM | URGENT | E) Repair elevator making grinding noise when reaching second floor. Preventative maintenance. | NEWLON-564
Mar 13, 2025, 2:21 PM | URGENT | E) THE ELEVATOR IS OUT OF SERVICE. | NEWLON-534
Mar 13, 2025, 2:38 PM | URGENT | E) South tower elevator appears to be without power. | NEWLON-488
Jul 16, 2025, 7:31 AM | URGENT | E) West wing Elevetor not functioning properly. stuck on first floor, door opening and closing. | NEWLON-435
May 14, 2025, 2:10 PM | URGENT | E) Freight elevator is reading code OS2 - will not go up or down. | NEWLON-484
Nov 4, 2024, 10:18 AM | URGENT | E) South West wing elevator stuck on first floor | NEWLON-430
Aug 1, 2022, 10:11 AM | URGENT | E) ON THE ELAVATOR OF BUILDING 84 THERE IS FLOORING THAT IS COMING UP AND HAS PRESENTED A TRIPPING HAZARD. | NEWLON-84
Mar 5, 2024, 2:31 PM | URGENT | B607 Elevator Inspection Results: Sump Pump requires a simplex outlet in Pit. (Currently on GFCI duplex) | NEWLON-607
Jan 24, 2023, 2:42 PM | URGENT | E) ELEVATOR - Emergency request to repair passenger elevator. Strong smell of fluid/rubber burning. Elevator taken out of service. Note: NAVFAC-NLGC | M67011
Jul 14, 2025, 1:07 PM | URGENT | E) the freight elevator is out of order | NEWLON-484
Jun 23, 2025, 1:00 PM | URGENT | P) ELEVATOR DOORS WIL NOT CLOSE PROPERLY WESTERN ELEVATOR | NEWLON-A571
Mar 19, 2025, 12:58 PM | URGENT | E) NORTH TOWER ELEVATOR THE FLOOR INDICATOR LIGHT IS FLASHING 5 AND 4. ELEVATOR IS UNRESPONSIVE AND NEEDS TO BE EVALUATED | NEWLON-488