## Table 1
Electrical Historic Critical Spare Parts List
UNDERGROUND CABLES
Qty | Description
1 | 500 feet per reel, 28 K.V. 1/C 750 M.C.M. copper conductor EPR
1 | 500 feet per reel, 28 K.V. 1/C 4/0 copper conductor EPR with concentric neutral
1 | 500 feet per reel, 28 K.V. 1/C 1/0 copper conductor EPR with concentric neutral
1 | 500 feet per reel, 5 K.V. 1/C #2 copper conductor EPR with concentric neutral
1 | 500 feet per reel, 600 volt #2 copper conductor, triplex
OVERHEAD CONDUCTOR
Qty | Description
250 ft. | 477 M.C.M Alum
250 ft. | 336 M.C.M Alum
250 ft. | 40 M.C.M Alum
TRANSFORMER POLEMOUNT
Qty | Description
1 | 25 K.V.A. 2400-120/240
1 | 75 K.V.A. 26400-120/240
2 | 50 K.V.A. 26400-120/240
OVERHEADS
Qty | Description
3 | 100 amp cutout contaminated environment
3 | 100 amp cutout regular
3 | 21K.V. arrestor
3 | 21K.V. arrestor/Riser Pole
6 | 35 K.V. post top insulator
6 | 35 K.V. polymer dead ends
6 | Sleeves repair 477 M.C.M. Alum
6 | Sleeves repair 336 M.C.M. Alum
6 | Sleeves repair 4/0 M.C.M. Alum
6 | Sleeves repair 1/0 M.C.M. Alum
6 | Sleeves Repair #2 M.C.M Alum
6 | Repair sleeves 4/0 M.C.M copper
6 | Repair sleeves #2 M.C.M copper
6 | Repair sleeves #4 M.C.M copper
6 | Repair sleeves #6 M.C.M copper
SPLICES
Qty | Description
4 | 1/0-4/0# Heat Shrink
4 | 250-500# Heat Shrink
4 | 750#-1000 Heat Shrink
4 | l/0 Pre-mold splices 28 K.V.
4 | 4/0 Pre-mold splices 28 K.V.
4 | 750 Pre-mold splices 28 K.V.
ELBOWS
Qty | Description
6 | 25 K.V, Load break bushing inserts 200 amp
3 | 25 K.V. Arrester Elbows
3 | 1/0 25 K.V. load break elbow 200 amp
3 | 4/0 25 K.V. load break elbow 200 amp
3 | T-Body elbows 600 amp
3 | 1/0 Connectors forT-body elbows 600 amp
3 | 4/0 Connectors forT-body elbows 600 amp
3 | 500Connectors forT-body elbows 600 amp
3 | 750 Connectors forT-body elbows 600 amp
6 | Studs
3 | Bush well 600 amps to 200 amps
6 | Insulating plug 600 amp
6 | Insulating cap/plug 600 amp
3 | 4way junction-600amps
3 | 1/0 Cable Adaptor
3 | 4/0 Cable Adaptor
3 | 500 Cable Adaptor
3 | 750 Cable Adaptor
CABLE TERMINATION
Qty | Description
3 | 1/0 Cold Shrink 35 K.V.
3 | 4/0 Cold Shrink 35 K.V.
3 | 500 M.C.M. Cold Shrink 35 K.V.
3 | 750 M.C.M. Cold Shrink 35 K.V.
3 | 4/0 Aerial Lug and Connector
3 | 500 M.C.M. Aerial Lug and Connector
3 | 750 M.C.M. Aerial Lug and Connector
FUSES OVERHEAD 15.2/26.4 K.V.
Qty | K.V.A. FUSE LINE
25 | 10 0.7 SF
25 | 15 1.0 SF
25 | 25 1.6 SF
25 | 37.5 2.1SF
25 | 50 3.1SF
25 | 75 5.2 SF
25 | 100 7.0 SF
25 | 167 10.4 SF
FUSES OVERHEAD 2.4/4/16 K.V
Qty | K.V.A. FUSE LINE
10 | 15 7.0SF
10 | 25 10.4 SF
10 | 37.5 14 SF
10 | 50 21SF
10 | 75 32 SF
FUSES/CROSS ARMS OVERHEAD
Qty | LATERALS FUSE LINK
25 | 65 T
10 | 80T
10 | 100 T
1 | 4X5 Fiberglass Cross Arms
FUSES UNDERGROUND
Qty | K.V.A. FUSE BAYONET
3 | 50/150 C5
3 | 75/225 C5
3 | 100/300 C8
3 | 167/500 C8
3 | 250/750 C10
6 | 333/1000 C10
3 | 500/1500 C12
3 | /2500 C14
3 | 3750 C16