## Sheet1
PROJECT FY26 Completed On-Time MAYPOR-1352LS K10 - Potable Water Utilities UTILITIES 4/17/2025 8:07 "WATER IMP REPAIR WATER METER (16263149) METER INOP. WATER METER AT BRAVO 1 WHARF NW CORNER OF LIFT STATION" 11/6/2024 6:51
PROJECT FY25 Completed On-Time N60201 K10 - Potable Water Utilities UTILITIES 1/16/2025 5:42 *RPLCS TEMP WO# LK004* WATER IMP - WATER MAIN BREAK BETWEEN BLDINGS 3705-3697 7/21/2024 3:43
PROJECT FY25 Completed On-Time N60201 K10 - Potable Water Utilities UTILITIES 1/15/2025 11:50 "WATER IMP - BUILDING 2794 / SITE #12 LAYDOWN SPOT | 6/18/24 @ 1000-1100 | TURN OFF WATER SERVICE TO TO FACILITATE INSTALLATION OF WATER ISOLATION VALVE" 6/11/2024 11:33
PROJECT FY26 Completed On-Time N60201 K10 - Potable Water Utilities UTILITIES 4/23/2025 8:14 WATER IMP-** WATER SYSTEM - UTILITY ESCORT** MEET AT WELL #5 @ 1000 ON 4/08/2025 4/7/2025 9:27
PROJECT FY25 Completed On-Time N60201 K10 - Potable Water Utilities UTILITIES 1/16/2025 8:24 WATER IMP BROKEN WATER LINE 1004 COLONY CIRCLE BASE HSG 9/25/2024 7:30
PROJECT FY26 Completed On-Time MAYFISC-8 K10 - Potable Water Utilities UTILITIES 1/16/2025 11:36 WATER IMP * I/R/R BROKEN WATER LINE JUST NORTH OF TRUCK RACK 113 AT THE DFSP JACKSONVILLE LOCATED ON HEKSCHER DRIVE. 11/26/2024 4:56
PROJECT FY26 Completed On-Time MAYPOR-1868 K10 - Potable Water Utilities UTILITIES 4/17/2025 8:16 WATER IMP -MAYPOR-1868; REPAIR WATER METER (11783942) METER INOP. 11/14/2024 7:23
PROJECT FY25 Completed On-Time MAYPOR-PW-SA-1 K10 - Potable Water Utilities UTILITIES 3/10/2025 6:25 "corrosion control | paint | and stencil" 3/10/2025 6:21
PROJECT FY26 Completed On-Time MAYPOR-365 K10 - Potable Water Utilities UTILITIES 4/17/2025 8:02 "WATER IMP MAYPOR-365 REPAIR WATER METER (11763513) METER INOP. WATER METER INSIDE SUPPLY ROOM" 11/6/2024 6:18
PROJECT FY26 Completed On-Time MAYPOR-1961 K10 - Potable Water Utilities UTILITIES 1/16/2025 11:32 WATER IMP***MAYPOR-1961--- REQUESTING TO HAVE THE BROKEN WATER LINE REPAIRED. 11/25/2024 4:57
PROJECT FY26 Completed On-Time MAYPOR-1600 K10 - Potable Water Utilities UTILITIES 4/17/2025 7:54 WATER IMP MAYPOR-1600 INSIDE BLDGS MECHANICAL ROOM - REPAIR WATER METER (11783956) METER INOP 11/7/2024 5:58
PROJECT FY25 Completed On-Time N60201 K10 - Potable Water Utilities UTILITIES 1/26/2024 8:10 WATER IMP - OUTSIDE OF BLDG 912A; BROKEN WATER LINE. 1/25/2024 10:24
PROJECT FY25 Completed On-Time N60201 K10 - Potable Water Utilities UTILITIES 1/16/2025 5:54 UTILITIES WATER IMP ***855B ENGLANDS COURT EAST THERE IS A BROKEN WATER LINE WATER IS COMING UP OUT OF THE GROUND 8/1/2024 12:49
PROJECT FY26 Completed On-Time N60201 K10 - Potable Water Utilities UTILITIES 2/13/2025 7:31 WATER IMP WATER LINE BREAK AT 958B EDWARDS CICRLE WATER COMING FROM SOMWHERE IN NEAT THE DRIVE WAY 2/2/2025 16:20
PROJECT FY26 Completed On-Time N60201 K10 - Potable Water Utilities UTILITIES 10/15/2025 10:26 WATER IMP - HOUSING - 838A ELLISON AVE. [OUTSIDE]; BROKEN WATER VALVE. LOW WATER PRESSURE. 8/11/2025 6:35
PROJECT FY26 Completed On-Time RIBBAY-PWRB K10 - Potable Water Utilities UTILITIES 4/23/2025 7:28 REPAIR/REPLACE CAP GASKETS AS FOUND ON ASSET A122876 (CENTER CAP LEAKS) 3/28/2025 10:53
PROJECT FY26 Completed On-Time MAYPOR-1323 K10 - Potable Water Utilities UTILITIES 3/5/2025 7:30 WATER IMP MAYPOR-1323 SWSC SCHOOL HOUSE - WATER PUMPS ARE OOC. BURNT SMELL AT CONTROLLER. REQUEST TO RETURN TO NORMAL WORKING OPERATIONS 1/23/2025 5:46
PROJECT FY26 Completed On-Time MAYPOR-2085 K10 - Potable Water Utilities UTILITIES 3/5/2025 8:00 "WATER IMP MAYPOR-2085 REPAIR WATER LEAK UNDER GROUND | BEHIND BUILDING 2085. SURROUNDING AREA IS FLOODED" 1/15/2025 6:29
PROJECT FY24 Completed On-Time MAYPOR-460 K10 - Potable Water Utilities UTILITIES 7/6/2023 5:00 WATER IMP- MAYPOR-460 REQUESTING WATER MAIN VALVE CUT OFF 5/24/2023 16:21
PROJECT FY26 Completed On-Time N60201 K10 - Potable Water Utilities UTILITIES 4/23/2025 6:55 WATER IMP-**POTABLE WATER WELL NO.5 UTILITY ESCORT** WTP OPERATOR NEEDED FOR ACCESS TO WELL NO.5 MEET AT 1462W -WELL NO.5 @ 1030 ON 3/25/2025 3/25/2025 6:19
PROJECT FY26 Completed On-Time MAYPOR-1488 K10 - Potable Water Utilities UTILITIES 1/16/2025 10:32 "WATER IMP REPAIR WATER METER (11763520) METER INOP. WATER METER EXTERIOR OF SOUTH ANNEX" 11/6/2024 6:29
PROJECT FY26 Completed On-Time MAYPOR-1479 K10 - Potable Water Utilities UTILITIES 8/8/2025 8:39 "UTILITY | WATER | ALPHA-1 WHARF | BACKFLOW #001 HAS 2024 PUNCHED AND (2) MONTHS (INCORRECT)." 1/30/2025 11:53
PROJECT FY25 Completed Late MAYPOR-PW-SA-13 K10 - Potable Water Utilities UTILITIES 9/24/2025 10:38 CM- TEST FAIL. NEED REPLACEMENT AND CERTIFICATION. 3/11/2025 5:48
PROJECT FY25 Completed On-Time MAYPOR-PW-SA-4 K10 - Potable Water Utilities UTILITIES 10/7/2024 5:48 REPARI CHAINS FOR ASSET A122907 FOUND ON CM 5990472 5/31/2024 5:04
PROJECT FY26 Completed On-Time MAYCOM-PWCS K10 - Potable Water Utilities UTILITIES 2/11/2025 11:48 REPAIR/REPLACE CHAINS AS FOUND ON ASSET A122890 2/10/2025 11:08
PROJECT FY26 Completed On-Time MAYPOR-PW-SA-8 K10 - Potable Water Utilities UTILITIES 2/5/2025 10:12 "REPAIER/REPLACE GREASE FITTINGS | CHAINS | GENERAL CONDITION | AND VALVE STEM INOP NO WATER PRESSURE" 1/29/2025 8:31
PROJECT FY25 Completed On-Time MAYPOR-PW-SA-1 K10 - Potable Water Utilities UTILITIES 2/6/2025 6:08 REPAIR/REPLACE CHAINS AS FOUND ON ASSET A123029 2/3/2025 10:07
PROJECT FY26 Completed On-Time MAYFISC-PW-SA-1 K10 - Potable Water Utilities UTILITIES 10/3/2025 6:05 WATER IMP MAYPOR-38 WATER MAIN FEEDING BLDG 38 LEAKING. WATER BUBBLING UP IN FRONT OF MILCON ELECTRICIAN'S CONEX BOX AND IS SOUTH OF BUILDING 55. 6/4/2025 5:52
PROJECT FY25 Completed On-Time MAYFISC-PW-SA-1 K10 - Potable Water Utilities UTILITIES 4/8/2025 11:21 "BACKFLOW DEVICE LEAKING | NEEDS REPAIR." 4/7/2025 11:30
PROJECT FY26 Completed On-Time MAYPOR-PW K10 - Potable Water Utilities UTILITIES 3/28/2025 10:04 CHLORINE NOT INJECTING INTO WATER SUPPLY. TROUBLESHOOT AND REPAIR. WATER PLANT#1 3/27/2025 11:08
PROJECT FY25 Open Past Target Date MAYPOR-PW-SA-2 K10 - Potable Water Utilities UTILITIES The box is rusted and in bad condition needs to be replaced the box has a few holes in it. You can read the numbers on the screen. This box has two me 3/10/2025 11:36
PROJECT FY25 Completed Late MAYPOR-PW-SA-2 K10 - Potable Water Utilities UTILITIES 1/27/2025 8:24 "CM - TEST FAIL -BACKFLOW DEVICES - LEFT OF BLDG 456 | ORDER COMPLETE REBUILD KIT | BOTH CHECKS & R.V. KIT" 4/8/2024 11:31
PROJECT FY26 Completed On-Time MAYPOR-PW-SA-1 K10 - Potable Water Utilities UTILITIES 2/4/2025 11:53 PAINT BONNET ON FIRE HYDRANT NUMBER 317 1/28/2025 11:24
PROJECT FY25 Completed On-Time MAYPOR-PW-SA-12 K10 - Potable Water Utilities UTILITIES 2/6/2025 6:20 REPAIR/REPLACE CHAINS AS FOUND ON ASSET A123038 2/3/2025 10:48
PROJECT FY24 Completed Late MAYPOR-PW-SA-13 K10 - Potable Water Utilities UTILITIES 10/15/2024 10:35 NEED TO REPLACE WITH ZW 375 ASTR 4/15/2024 5:46
PROJECT FY25 Completed Late MAYPOR-PW-SA-14 K10 - Potable Water Utilities UTILITIES 1/27/2025 6:04 "REPAIR/REPLACE THE BACKFLOW | ALERT - TEST FAIL. NEED TO REPLACE WITH ZW. HERSEY OBSOLETE." 4/8/2024 12:15
PROJECT FY26 Completed On-Time MAYPOR-PW-SA-9 K10 - Potable Water Utilities UTILITIES 2/12/2025 8:36 paint bonnet correct color and stencil. FOUND ON WO#6937224. 2/11/2025 7:37
PROJECT FY25 Completed On-Time MAYPOR-PW-SA-9 K10 - Potable Water Utilities UTILITIES 2/12/2025 10:14 NO WATER AT HYDRANT-514 OLD MAINE STREET 2/11/2025 11:12
PROJECT FY26 Completed On-Time MAYPOR-PW-SA-2 K10 - Potable Water Utilities UTILITIES 2/4/2025 12:00 PAINT BONNET ON FIRE HYDRANT NUMBER 308 1/28/2025 11:31
PROJECT FY25 Open Past Target Date MAYPOR-PW-SA-2 K10 - Potable Water Utilities UTILITIES "Perform corrosion control | paint | stencil and to repair / replace chains" 3/10/2025 11:33
PROJECT FY25 Completed Late MAYPOR-PW K10 - Potable Water Utilities UTILITIES 3/14/2025 5:22 CM - REPAIR BFP 4/8/2024 11:45
PROJECT FY25 Completed On-Time MAYPOR-PW-SA-4 K10 - Potable Water Utilities UTILITIES 10/7/2024 5:50 REPAIR CHAINS FOR ASSET A122915 AS FOUND ON CM 5990021 5/30/2024 8:53
PROJECT FY25 Completed On-Time MAYPOR-PW-SA-4 K10 - Potable Water Utilities UTILITIES 10/7/2024 6:00 "REPAIR CHAINS ON ASSET A122916 AS FOUND ON CM | 5990129" 5/30/2024 8:50
PROJECT FY25 Completed On-Time MAYPOR-PW-SA-2 K10 - Potable Water Utilities UTILITIES 2/12/2025 10:45 Paint bonnet correct color and stencil fire hydrant number. 2/11/2025 11:39
PROJECT FY25 Completed On-Time MAYPOR-PW-SA-2 K10 - Potable Water Utilities UTILITIES 2/6/2025 6:16 REPAIR/REPLACE CHAINS AS FOUND ON ASSET UMA436000476 2/3/2025 10:31
PROJECT FY25 Completed On-Time MAYPOR-PW-SA-1 K10 - Potable Water Utilities UTILITIES 3/10/2025 7:26 "corrosion control | paint | and stencil" 3/10/2025 7:21
PROJECT FY26 Completed On-Time RIBBAY-PWRB K10 - Potable Water Utilities UTILITIES 4/23/2025 7:26 REPAIR/REPLACE CHAINS AS FOUND ON ASSET A122883 3/28/2025 10:48
PROJECT FY25 Completed Late MAYPOR-PW-SA-2 K10 - Potable Water Utilities UTILITIES 1/28/2025 6:22 "CM - TEST FAIL - BACKFLOW DEVICES 2"" - WEST SIDE OF BLDG. ORDER COMPLETE REBUILD KIT BOTH CHECKS & R.V." 4/8/2024 11:20
PROJECT FY24 Completed On-Time MAYPOR-PW-SA-2 K10 - Potable Water Utilities UTILITIES 2/8/2023 8:01 BFP- DEVICE 163 DUMPING 10/17/2022 11:04
PROJECT FY25 Completed On-Time MAYPOR-PW-SA-2 K10 - Potable Water Utilities UTILITIES 10/23/2024 6:46 "cm- 1588 BACKFLOW PREVENTER | REQUIRES REPAIR" 5/28/2024 5:22
PROJECT FY26 Completed On-Time MAYPOR-PW-SA-14 K10 - Potable Water Utilities UTILITIES 2/4/2025 6:10 "Valve won’t turn off | repair as necessary." 1/27/2025 10:48
PROJECT FY25 Completed On-Time MAYPOR-PW-SA-2 K10 - Potable Water Utilities UTILITIES 2/12/2025 9:45 Paint bonnet the correct color. 2/11/2025 8:53
PROJECT FY25 Completed On-Time MAYPOR-PW-SA-12 K10 - Potable Water Utilities UTILITIES 2/6/2025 6:18 REPAIR/REPLACE CHAINS AS FOUND ON ASSET A123035 2/3/2025 10:44
PROJECT FY26 Completed On-Time MAYFISC-PW-SA-1 K10 - Potable Water Utilities UTILITIES 4/8/2025 11:18 Test fail. Will request CM. Will order materials to affect repair. 4/7/2025 11:20
PROJECT FY25 Completed On-Time MAYFISC-PW-SA-1 K10 - Potable Water Utilities UTILITIES 4/8/2025 11:38 "BACKFLOW DEVICE LEAKING | NEEDS REPAIR." 4/7/2025 11:38
PROJECT FY25 Completed On-Time MAYPOR-PW-SA-4 K10 - Potable Water Utilities UTILITIES 10/7/2024 5:30 REPAIR CAP GASKET AND CHAINS AS FOUND ON CM 5991861 5/31/2024 7:01
PROJECT FY25 Completed On-Time MAYPOR-PW-SA-6 K10 - Potable Water Utilities UTILITIES 2/12/2025 9:31 REPAIR/REPLACE CHAINS AS FOUND ON ASSET A123046 2/11/2025 8:33
PROJECT FY26 Completed On-Time MAYPOR-PW-SA-6 K10 - Potable Water Utilities UTILITIES 2/4/2025 11:11 REPAIR/REPLACE CHAINS. FOUND ON WO#6937359. 1/28/2025 10:06
PROJECT FY25 Completed On-Time MAYPOR-PW-SA-5 K10 - Potable Water Utilities UTILITIES 2/6/2025 6:10 REPAIR/REPLACE CHAINS AS FOUND ON ASSET A123030 2/3/2025 10:11
PROJECT FY25 Completed Late MAYPOR-PW-SA-4 K10 - Potable Water Utilities UTILITIES 3/26/2025 6:26 "CM - AS FOUND ON IMP W/O 5990320 | REPAIR CHAINS | PAINT CONDITION | GENERAL CONDITION" 3/26/2025 6:21
PROJECT FY26 Completed On-Time MAYPOR-PW-SA-7 K10 - Potable Water Utilities UTILITIES 2/12/2025 9:09 REPAIR/REPLACE CHAINS AS FOUND ON ASSET A123101 2/11/2025 7:47
PROJECT FY25 Completed On-Time MAYPOR-PW-SA-5 K10 - Potable Water Utilities UTILITIES 2/6/2025 5:48 REPAIR/REPLACE CHAINS AS FOUND ON ASSET A123026 2/3/2025 9:37
PROJECT FY25 Completed On-Time MAYPOR-PW-SA-6 K10 - Potable Water Utilities UTILITIES 2/12/2025 9:26 REPAIR/REPLACE CHAINS AS FOUND ON ASSET A123044 2/11/2025 8:21
PROJECT FY25 Completed On-Time MAYPOR-PW-SA-2 K10 - Potable Water Utilities UTILITIES 2/26/2025 11:00 "The box is rusted very bad and has holes in the top of the box | looks like water is getting in the screen is not working." 2/26/2025 10:53
PROJECT FY26 Completed On-Time MAYPOR-706 K10 - Potable Water Utilities UTILITIES 1/16/2025 10:00 "WATER IMP * MAYPOR-706B; NO WATER IN BLDG | RQST RPR." 10/22/2024 6:55
PROJECT FY25 Completed Late MAYPOR-PW-SA-2 K10 - Potable Water Utilities UTILITIES 1/28/2025 6:24 "CM - TEST FAIL -BACKFLOW DEVICES SOUTH OF BLDG 285 | ORDER BOTH #1 & 2 CHECKS R.V. KIT" 4/8/2024 11:15
PROJECT FY25 Completed On-Time MAYPOR-PW-SA-7 K10 - Potable Water Utilities UTILITIES 2/12/2025 9:23 REPAIR/REPLACE CHAINS AS FOUND ON ASSET A123041 2/11/2025 8:07
PROJECT FY26 Completed On-Time MAYPOR-PW-SA-7 K10 - Potable Water Utilities UTILITIES 2/4/2025 5:56 Need CM to replace chains. 1/27/2025 10:35
PROJECT FY25 Completed On-Time MAYPOR-PW-SA-6 K10 - Potable Water Utilities UTILITIES 2/12/2025 9:28 REPAIR/REPLACE CHAINS AS FOUND ON ASSETT A123045 2/11/2025 8:27
PROJECT FY25 Completed On-Time MAYPOR-PW-SA-4 K10 - Potable Water Utilities UTILITIES 3/18/2025 10:11 REPLACE CHAINS ON ASSET A122954 3/18/2025 10:04
PROJECT FY26 Completed On-Time MAYPOR-PW-SA-2 K10 - Potable Water Utilities UTILITIES 2/3/2025 12:15 "Test fail. Disassembled and cleaned internal parts | retested with failure. Rebuilt completely | all new parts and retested again with failure. Disassem" 1/27/2025 9:28
PROJECT FY25 Completed On-Time MAYPOR-PW-SA-4 K10 - Potable Water Utilities UTILITIES 10/7/2024 5:31 REPAIR CHAINS FOR ASSET A122900 AS FOUND ON CM 6006614 5/31/2024 5:07
PROJECT FY25 Completed On-Time MAYPOR-PW-SA-5 K10 - Potable Water Utilities UTILITIES 2/6/2025 6:12 REPAIR/REPLACE CHAINS AS FOUND ON ASSET A123033 2/3/2025 10:27
PROJECT FY25 Completed On-Time MAYPOR-PW-SA-9 K10 - Potable Water Utilities UTILITIES 2/6/2025 6:26 REPAIR REPLACE CHAINS AS FOUND ON ASSET A123039 2/3/2025 10:52
PROJECT FY25 Completed On-Time MAYPOR-2020 K10 - Potable Water Utilities UTILITIES 1/16/2025 5:56 WATER IMP MAYPOR-2020 NO WATER TO ENTIRE BUILDING 8/5/2024 4:51
PROJECT FY26 Completed On-Time MAYPOR-1 K10 - Potable Water Utilities UTILITIES 10/3/2025 7:45 WATER IMP FOR A FIRE MAIN WATER BEING HIT 6/3/2025 14:20
PROJECT FY26 Completed On-Time MAYPOR-1552 K10 - Potable Water Utilities UTILITIES 9/25/2025 6:58 WATER IMP NEAR MAYPOR-1552 RPR/PM BROKEN WATER METER VAULT FULL OF DEBRIS. 5/15/2025 10:24
PROJECT FY25 Completed On-Time MAYPOR-1586 K10 - Potable Water Utilities UTILITIES 10/4/2024 11:40 WATER IMP MAYPOR-1586 - HYDRANT #327 NEAR BLDG 1586 LEAKING 2/21/2024 8:16
PROJECT FY26 Completed On-Time MAYPOR-1586 K10 - Potable Water Utilities UTILITIES 3/14/2025 11:25 "WATER IMP - MAYPOR-1586 **ATTN: BILL PITTMAN | CHERYL MILLER** ** UTILITY OUTAGE UNPLANNED - IRRIGATION BACKFLOW PREVENTER **" 2/28/2025 12:42
PROJECT FY25 Completed On-Time MAYPOR-PW-SA-2 K10 - Potable Water Utilities UTILITIES 3/12/2025 7:48 REPAIR/REPLACE CHAINS AS FOUND ON ASSET A122987 3/12/2025 7:40
PROJECT FY24 Completed Late MAYPOR-284W K10 - Potable Water Utilities UTILITIES 1/23/2025 11:34 WELL PUMP NEEDS PAINTING XXX PAINT 4/16/2024 5:51
PROJECT FY25 Completed Late MAYPOR-PW-SA-2 K10 - Potable Water Utilities UTILITIES 1/28/2025 6:10 CM - TEST FAIL -BACKFLOW DEVICES - WEST OF PARKING LOT 4/8/2024 11:25
PROJECT FY24 Completed Late MAYPOR-PW-SA-7 K10 - Potable Water Utilities UTILITIES 1/24/2025 5:49 INSTALL HEIGHT EXTENSION KIT FOR FH514 AND FH 515 4/15/2024 12:09
PROJECT FY24 Completed Late MAYPOR-284W K10 - Potable Water Utilities UTILITIES 1/23/2025 11:32 MOTOR NEEDS PAINTING XXX PAINT 4/16/2024 5:54
PROJECT FY25 Completed On-Time MAYPOR-PW-SA-11 K10 - Potable Water Utilities UTILITIES 2/12/2025 9:16 REPAIR/REPLACE CHAINS AS FOUND ON ASSET A123065 2/11/2025 7:56
PROJECT FY26 Completed On-Time RIBBAY-PWRB K10 - Potable Water Utilities UTILITIES 2/11/2025 11:50 REPAIR/REPLACE CAP GASKETS AND CHAIN AS FOUND ON ASSET A122874 (CENTER CAP LEAKS) 2/10/2025 11:13
PROJECT FY24 Completed On-Time N60201 K10 - Potable Water Utilities UTILITIES 2/6/2024 11:11 WATER IMP-932B ESSEX STREET-REPAIR BROKEN WATER VALVE TO RESIDENCE. WATER TO RESIDENCE CANNOT BE SHUT OFF FOR MAINTENANCE PER BALFOUR BEATTY. 4/5/2023 6:13
PROJECT FY26 Completed On-Time MAYPOR-PW-SA-2 K10 - Potable Water Utilities UTILITIES 7/31/2025 5:31 TEST FAIL. WILL ORDER MATERIALS TO AFFECT REPAIR. 3/7/2025 8:02
PROJECT FY25 Completed On-Time MAYPOR-PW-SA-2 K10 - Potable Water Utilities UTILITIES 2/27/2025 5:42 The box is in bad condition needs to be replaced the whole bottom is rusted and the door on the sides. 2/27/2025 5:39
PROJECT FY25 Completed On-Time MAYPOR-PW-SA-5 K10 - Potable Water Utilities UTILITIES 2/6/2025 5:51 REPAIR/REPLACE CHAINS AS FOUND ON ASSET A123028 2/3/2025 9:43
PROJECT FY25 Completed On-Time MAYPOR-PW-SA-13 K10 - Potable Water Utilities UTILITIES 10/21/2024 6:58 "ORDER REPLACEMENT BFP 3"" ZW 375ASTR NO HARDWARE NEEDED. MATERIALS ON HAND" 5/28/2024 6:17
PROJECT FY26 Completed On-Time MAYPOR-2517 K10 - Potable Water Utilities UTILITIES 5/28/2025 7:32 WATER IMP MAYPOR-2517 NO POTABLE WATER TO FACILITY. NO FLUSHING OR HANDWASHING WATER. 4/18/2025 8:22
PROJECT FY26 Completed On-Time MAYPOR-PW-SA-2 K10 - Potable Water Utilities UTILITIES 2/4/2025 11:55 PAINT BONNET ON FIRE HYDRANT NUMBER 309 1/28/2025 11:27
PROJECT FY25 Completed On-Time MAYPOR-PW-SA-7 K10 - Potable Water Utilities UTILITIES 2/6/2025 6:32 REPAIR/REPLACE CHAINS AS FOUND ON ASSET A123040 2/3/2025 10:56