Aircrew Facility Support / Kirtland AFB / Q&A

- Is there an incumbent? Or, is this a new requirement?

  - There is no incumbent as this is a new requirement.

- Can the Government provide reference photos of building 917.

  - Yes. Reference photos of building 917 have been provided as an attachment to the amended solicitation.

- Has the Government done periodic scheduled Preventive Maintenance on the emergency generator, if installed?

  - There are no emergency generators at this facility.

- Have the latrines, commodes, sinks and showers been run?

  - Yes, daily to weekly.  Sink and toilet plumbing, faucets, valves, and drains were recently replaced.

- Have electrical circuit breakers been tested?

  - Yes.  100% electrical, HVAC, plumbing, and structure assessments have been completed.

- Has Environmental inspected for pests (i.e. rodents, snakes, etc.)?

  - Environmental has been in the building but not specifically for pests.  Government personnel have been working in the facility for the past 2 months.  No signs of issues. Additionally, The facility is scheduled for a fall insect control spraying to prevent insects from entering as it gets cold outside.

- Is there an elevator in the facility?

  - This facility does not have an elevator.

- Who provides the supply of linens, towels, wash rags that are placed in the rooms? Must the support contractor purchase these items the same as purchases for toilet paper, napkins and facial tissue?

  - These items are supplied by the Government.

- Must the facility support contractor provide shampoo, conditioner, lotion and bath soap?

  - Personal care products such as shampoo, conditioner, lotion, and bath soap is not required to be provided by the contractor.

- Please clarify what is required to be cleaned/replaced on a daily basis as long as the room is occupied.

  - Very basic service: Remove trash, as necessary, replace any liners required, replenish toilet paper and tissues, as required.  Replace towels only if requested.

- How often does the government require the areas listed in Appendix C, Checklist IV (HALLWAYS/STAIRWELLS/LOBBY/COMMON/GYM ROOMS CLEANING) to be cleaned?

  - Weekly or more often as required by any obvious signs of dirt, debris, or mess.

- Please provide a list of the more prominent makes/models of dispensers currently in use.

  - Currently, there are no dispensers installed. Dispensers may be installed at a later date by the Government.

- Can the Government please confirm the correct services required under "mission essentials"? The PWs, Section 5.9. states, " The functions which are mission essential are those listed under subparagraphs 3.1.1 through 3.1.3.2, paragraph 3.2.1, paragraph 3.2.5, paragraph 3.4.2, and paragraph 3.4.3., However, there is no 3.4.2. or 3.4.3. sections in the PWS.

  - 5.9 Should read as follows: The functions which are mission essential are those listed under subparagraphs 3.1.1 through 3.1.3.2, paragraph 3.2.1, through paragraph 3.2.15.

- What size are the trash receptacles used in both rooms and in common areas?

  - Trash cans in the bedrooms are 2 gallons, common areas 13 gallons, and outside 30 gallons.

- Can the Government confirm that laundry service is not a contractor-provided service and that towels will be Government-provided?

  - Towels will be provided by the Government. Aircrew Facility Support services will be responsible for hanging and staging towels. However, a separate contract for Aircrew Linen Laundry services is currently posted on SAM.gov under notice ID, FA940126Q0002. https://sam.gov/workspace/contract/opp/745b2686fc03476cb187ce0b82363726/view

- Who is responsible for replacing sheets, pillow cases, towels, etc. that have been exceedingly soiled or have excessive wear and tear?

  - For normal wear and tear, the Government will replace these items. However, in the event the damage occurred from the Contractors doing, the Contractor will be responsible for replacing those items.

- Can contractors assume that services will be required from 9 am to 9 pm, every day for 365 days a year?

  - Working Hours are between 9:00am – 9:00pm Monday through Friday and Federal Holidays are not considered “normal working hours”. On-Call hours may need to be utilized during anytime outside normal duty hours.

- What is the occupancy rate annually and can we expect there to be a steady flow or personnel arriving and departing?

  - There is an anticipation for fluctuating occupancy with an estimated variation of 13 to 40 people, 150 days of the year with weeks occasionally being unoccupied.

- Will on-call staff need to return to the building after hours when it is occupied?

  - Building 917 may need to be staffed during after hours contingent on mission necessity, even when the building is occupied.