Who is the incumbent? This is not a follow-on requirement.

Repairs may be completed after Dec.31, 2025? Yes

What types of dampers are installed (static, dynamic, combination, ceiling radiation, etc.) and how many of each? Variation between dynamic and combination type

Are there any replacement parts available at the Jennifer Moreno VAMC that may be used to repair existing dampers, if needed? No

Is the building’s fire alarm or HVAC control system integrated with damper operation (requiring coordination)? Yes; on certain ones

May emergency repairs be required outside the hours mentioned in the Work Statement? Yes

Will there be site visit? No, site visit has been scheduled or deemed necessary at this point.

Please provide quantities of Mechanical (Fire) dampers and manufacturer name/models. 160 mechanical fire dampers. No product data, but we can provide previous inspection reports

Please provide quantities of Electric or Pneumatic (Fire/ Smoke, Smoke) dampers and manufacturer name/models. 0 PSD, 0 FSD, and 0 ESD

There is only one CLIN for repairs. But it is unknown how many dampers may need repairs. And unknown what type of repairs may be needed. What type of repairs are to be included in this CLIN for example minor repairs, and or major repairs? Depends on the findings

Are both parts and labor fees to be included in CLIN 0002 for repairs? Yes

In the solicitation on page 34: Specialized Certifications - Offeror shall possess the following certifications: Current Asbestos Supervisor Certification - issued by State of California and Current Operation & Maintenance Asbestos Training- for workers and Current Respirator fit test. This requirement may not be met by Offeror’s proposed subcontractor(s) possessing these certifications. Therefore, will the prime contractor be required to also possess these certifications? Certification is required for whoever will go into the interstitial spaces or come into contact with potential asbestos containing materials

What are infection control procedures, do tents with HEPA Carts need to be used? If so, is the expectation for contractor to provide two technicians, one inside, and one outside the cart? Preparing an Infection Control Risk Assessment and Pre-Construction Risk Assessment forms; and follow the required control measures. Forms are attached

What is the prevailing wage rate? https://sam.gov/wage-determination/2015-5635/28
REV. 28 PUBLISHED 07/07/2025

Are any ladders or scaffolding available if needed at the VA facility? No