## Sheet1
BID SCHEDULE
ASHRAE 170 UPGRADES AND ROOF REPLACEMENT
KYLE HEALTH CENTER
ITEM | QUANTITY | UNIT | UNIT PRICE
DESIGN OF ROOFING SYSTEM | 1 | JOB
DESIGN OF MISC HVAC UPGRADES | 1 | JOB
DEMOLITION OF ALL ROOF SYSTEMS | 1 | JOB
ROOF REPLACEMENT - VAPOR BARRIER, INSULATION, IMPACT BOARD, PVC MEMBRANE, PARAPET FLASHING, VENTS, ROOF DRAINS, AND ASSOCIATED COMPONENTS | ~20,000 | SF
LIGHTNING PROTECTION SYSTEM | 1 | JOB
DUCT CLEANING AND SEALING | 1 | JOB
DEMOLITION OF VAV BOXES, CONTROLS, AND PNEUMATIC PIPING | 40 | EA
INSTALLATION OF VAV BOXES, CONTROLS, AND DDC | 24 | EA
INSTALLATION OF FAN POWERED VAV BOXES, CONTROLS, AND DDC | 16 | EA
DEMOLITION OF AHU, CONTROLS, PIPING, AND ASSOCIATED COMPONENTS | 2 | JOB
INSTALLATION OF AHU, CONTROLS, PIPING, PIPE INSULATION, AND ASSOCIATED COMPONENTS | 2 | JOB
HUMIDIFICATION SYSTEM FOR AHUS | 1 | JOB
UV-C SYSTEM FOR AHUS | 1 | JOB
BIPOLAR IONIZATION SYSTEM FOR AHUS | 1 | JOB
LED LIGHTING UPGRADES - PENTHOUSE | 1 | JOB
EPOXY CONCRETE FLOORING - PENTHOUSE | 1 | JOB
PAINTING WALLS - PENTHOUSE | 1 | JOB
METASYS INTEGRATION FOR ALL NEW EQUIPMENT | 1 | JOB
SUSPENDED UNIT HEATER REPLACEMENT | 5 | EA
CABINET UNIT HEATER REPLACEMENT | 2 | EA
RADIANT FLOOR HEATERS | 5 | EA
BOILER REPLACEMENT | 2 | EA
CIRCULATING PUMP REPLACEMENT | 3 | EA
CHILLER REPLACEMENT | 1 | EA
MECHANICAL ROOM PIPE INSULATION | 1 | JOB
MINISPLIT AND CONDENSING UNITS | 5 | EA
HIGH PLUME EXHAUST FAN | 1 | EA
VAPORIZER AND PIPING | 1 | JOB
GRAND TOTAL