# STATEMENT OF WORK

GENERAL: VA San Diego located at 3350 La Jolla Village Drive, San Diego, CA 92161, has a requirement for medical equipment.

BACKGROUND:  The VA San Diego has a requirement for 1 MedSTAT enclosed UTV ambulance.

PURPOSE: The MedSTAT mini enclosed ambulance allows Rapid Response and Code Blue staff to respond to emergencies on campus and at adjacent bus and trolley stops in an expedient manner. With required emergency/resuscitation equipment and supplies.

SCOPE: VA San Diego Intensive Care Unit is requesting contractors to provide brand name or equal equipment that meets or exceed the physical, functional, and performance of the listed salient characteristics in this section. The equipment features for the MedSTAT enclosed UTV ambulance are essential to the technical requirements to meet the needs of the department.

PHYSICAL CHARACTERISTICS:

Device must have the physical characteristics to enable the government to perform following capabilities:

- Device Brand Name/Part#: MedSTAT enclosed UTV ambulance

- Must use gasoline for performance

- Must have run-flat tires

- Must have locking driver, passenger and rear patient compartment doors

- Should have power steering.

- Must have patient compartments to accommodate stretcher and has stretcher latch/fastener.

-Must be able to accommodate 2 medical attendants and have equipment storage spaces.

- Should be equipped with heating and air conditioning.

- Must be equipped with headlights, horn, turn signals, windshield washer and wipers, side mirrors.

- Must be equipped with side mirrors.

- Must have emergency flashers/lights.

-Must be equipped with harnesses or seatbelts

- Must be equipped with emergency siren and speaker.

- Must have decal or paint on outside identifying vehicle as Emergency Response Vehicle

- Chassis should have a 2 year warranty.

Equal to Product Requirements: MedSTAT enclosed UTV ambulance.

FUNCTIONAL AND PERFORMANCE CHARACTERISTICS: Equipment must provide functional and performance capability as listed above in section in above.

INSTALLATION AND TRAINING: Contractor is to provide delivery of the equipment and initial training for staff.

WARRANTY OF EQUIPMENT: Government requirement for standard manufacturer industry warranty term. The government does not accept extended warranties, which require advance payment.

PERFORMANCE:

- All items to be delivered.

- Delivery and receipt of the proposed items is anticipated to be directed to the location identified below. Confirmation of delivery location will be provided by the VA POC post-award. Delivery must be coordinated with VA prior to any attempts at delivery. Any item that has not been coordinated will be turned away and any additional charges will be the responsibility of the sender/transportation company.

- Vendor`s responsibility will include offloading the equipment from the truck, moving the equipment to the correct delivery location in the space, uncrating or unboxing the equipment then removing all trash, and setting up the equipment according to the manufacturer`s specification followed by testing the equipment to verify that it is operational. Equipment installation paperwork & warranty information must be handed to the approved government contact onsite.

- Vendor shall abide by all rules and regulations set forth by VA San Diego due to Coronavirus (COVID-19) and have their own personal protective equipment (PPE) in use for the time they are on VA San Diego campus grounds.

- Hours: Normal duty hours are 8:00 a.m. through 4:00 p.m., Monday through Friday, not including federal holidays. Whenever contact with a facility is required outside of normal duty hours, the Contractor shall coordinate these times with the designated COR, POC or designer.

- In accordance with 5 U.S.C. 6103, Executive Order 11582 and Public Law 94-97 the following national holidays are observed and for the purpose of this contract are defined as “Legal Federal official holidays.”

| New Year’s Day | January 1st |
| --- | --- |
| Martin Luther King’s Birthday | Third Monday in January |
| President’s Day | Last Monday in February |
| Memorial Day | Last Monday in May |
| Juneteenth | June 19th |
| Independence Day | July 4th |
| Labor Day | First Monday in September |
| Columbus Day | Second Monday in October |
| Veteran’s Day | November 11th |
| Thanksgiving Day | Fourth Thursday in November |
| Christmas Day | December 25th |

- Noncontract Charges: The contractor shall not perform any service that will result in additional charges without prior approval from the Contracting Officer.

- Payment: Payment will be made upon receipt of a properly prepared invoice which references the period for which payment is due, the contract number and/or assigned purchase order number. The invoice must include the correct payment address.

- Waste Removal: The contractor is responsible for removing and properly disposing of all waste related to the services provided on-site at all VA facilities.

- Failure to carry out the above procedures will be considered as a failure to document the service visit and will constitute a failure to perform.

- All shipping for parts will be included in the cost of the contract.

PLACE OF DELIVERY:

VA San Diego Medical Center– 3350 La Jolla Village Drive, San Diego, CA 92161