SRS Pineville Greenhouse Transformer Replacement

US Department of Agriculture (USDA)

Statement of Work

Contents

Project	3

General Information	3

1.0 Scope of Work	3

2.0 Background	3

Contractor Requirements	3

3.0 Technical Requirements / Tasks	3

3.1	Transformer Replacement	3

4.0 Government Furnished	3

5.0 Deliverables / Schedule	3

6.0 Travel	3

7.0 Contractor’s Key Personnel	3

8.0 Security Requirements	3

9.0 Data Rights	3

10.0 Section 508 – Electronic and Information Technology Standards	4

Attachment	4

# Project

SRS Pineville Greenhouse Transformer Replacement

# General Information

## 1.0 Scope of Work

This project is to replace an inoperative 75 KVA ground mounted electrical transformer with a new transformer, concrete pad, and high voltage connection lines.

## 2.0 Background

The Alexandria Forestry Center, located at 2500 Shreveport Highway in Pineville, Louisiana, is a large facility that is home to the Kisatchie National Forest Supervisor’s Office (SO) as well as personnel from multiple research units of the Southern Research Station (SRS). The electrical transformer for the two SRS greenhouses has failed and is in of replacement. The contractor shall provide all professional and technical personnel for this project, to include labor, transportation, tools, and equipment to accomplish the work as described. All work shall meet all applicable codes and standards (OSHA, NEC, etc.). All work shall be coordinated with the on-site Point of Contact (POC).

Address:	Alexandria Forestry Center

2500 Shreveport Hwy

Pineville, LA 71360

# Contractor Requirements

## 3.0 Technical Requirements / Tasks

- Contractor shall verify all equipment specifications and material quantities

  - Transformer Replacement

Contractor shall;

- Remove old transformer and concrete mounting pad

- Install new concrete mounting pad

- Replace transformer with new transformer of the same capacity and specifications

  - 75KVA

- Replace high voltage feed cable with new cable

- Dispose of old transformer

  - Provide tracking and verification

- Ensure all electrical components and systems are functioning according to specifications

## 4.0 Government Furnished

NA

## 5.0 Deliverables / Schedule

-Transformer: Manufacturer’s specifications

-Transformer Disposal: Documentation of chain of custody for proper disposal of old transformer

## 6.0 Travel

NA

## 7.0 Contractor’s Key Personnel

Contractor shall provide an onsite supervisor at all times during construction.

## 8.0 Security Requirements

NA

## 9.0 Data Rights

NA

## 10.0 Section 508 – Electronic and Information Technology Standards

NA

## Attachment

AFC SITE PLAN Greenhouse Transformer.pdf

Contracting Officer’s Representative:

Jason Thompson

Jason.d.thompson@usda.gov

Cell: 828-215-7974

Point of Contact:

Adam Gatlin

adam.gatlin@usda.gov

Ph: 318-473-7164