1.  Purpose:

1.1 The Department of Veterans Affairs, Eastern Colorado HealthCare System, Rocky Mountain Regional Hospital at 1700 N. Wheeling Street, Aurora, Colorado, 80045 has a requirement to replace 13 medication labeling systems. Pharmacy Service currently uses the Codonics Safe Label System. Pharmacy Service is requesting contractors provide the brand name only labeling system, manufactured by Codonics, that will be capable of integrating with current system using the latest technology and standardized in all locations. The Vendor will provide operating software, installation, and Return-to-Factory Warranty.

2.  Salient Characteristics:

- Integrated touch screen

- Barcode scanner

- Color ink jet printer

- 2D barcode scanner

- Must provide clinicians with electronic safety checks

- Must have visual confirmation notifications

- Must give audible confirmation notifications

- Printer ink must not smudge.

- Must be able to print labels with final concentration data.

- Must include software that allows for configuration of the system

- Must have ability to update software remotely

- Must have the capabilities of being mobile on an anesthesia cart

- Must be able to install label system by company

- Must be able to have a shelf with drawer that includes a mounting kit to be able to be mounted on an anesthesia cart.

- Must be able to be used in an OR, ICU, PACU and wards setting

- Must be able to give pharmacy tracking and record keeping capabilities

- Must print full-color labels, compliant with Joint Commission NPSG.03.04.01

- Must meet ISO 26825; Anesthetic and respiratory equipment – User-applied labels for syringes containing drugs used during anesthesia – Color, design, and performance.

- Must meet ASTM Section 6.3.1 of ASTM D6398-08: contrasting background.

- Must be able to integrate with current facility medical management bar codes, workflows and standards used in existing labeling systems within the network. This includes seamlessly connecting to existing LAN lines that are already in place for existing Codonics label machines.

- Must be compatible with government Electronic Health Record (EHR) including Cerner.

- Must use FDA encouraged manufacturers labels and labeling that visually differentiated their established names with the use of "Tall Man" letters, as preferred by the American Society of Anesthesiologists (ASA).

- Must be able to be managed remotely from physical location.

- The label system must have a database that connects to a network for an administrator to:

  - Control deployment of the formulary, configuration packages and software updates to all label systems.

  - Quickly and easily create and update a formulary that incorporates hospital-approved drugs, merged with hospital policies.

  - 5 year warranty

Nomenclature and Part Number(s):

| CLIN | Part Number | Nomenclature | Unit of Measure | Quantity |
| --- | --- | --- | --- | --- |
| 0001 | SLS550 | Safe Label System® SLS 550i | Each | 13 |
| 0002 | SLS500-AT-S | SLS Administration Tool Software License | Each | 1 |
| 0003 | SLS-INSTALL | Installation | Each | 13 |
| 0004 | SLS500-RTF-2-5 | SLS 500i Warranty 5 Year | Each | 13 |
| 0005 | SLS500KY-SASS | SLS Advanced Smart Scanning feature | Each | 13 |

3.  Delivery:

3.1 All items to be delivered and installed within 60 days of purchase order processing and order placement. FOB destination pricing

3.2  Contractor shall deliver all equipment and supplies to the following address:

VA Medical Center (Station 554)

Attn: Pharmacy 119

1700 North Wheeling Street

Aurora, CO 80045-7211

3.3  Delivery Hours of Operation:  Monday – Friday; 0700hrs – 1500hrs; excluding all Federal Holidays and any other day specifically declared a National Holiday by the President of the United States.

- New Year’s Day

- Dr. Martin Luther King Jr’s Birthday

- Presidents’ Day

- Memorial Day

- Juneteenth

- Independence Day

- Labor Day

- Columbus Day

- Veteran’s Day

- Thanksgiving Day

- Christmas Day

3.4  When one of the above designated legal holidays falls on a Sunday, the following Monday will be observed as a legal holiday.  When a legal holiday falls on a Saturday, the preceding Friday is observed as a holiday by US Government Agencies.

3.5  Contractor personnel to provide all installation. Installation to be coordinated with Government POC.