VENDOR QUESTIONS & ANSWERS (Q&As)

Therapy Pool Maintenance and Cleaning

(RFQ# 36C24826Q0082)

Amendment 0001

The following questions were asked of the Government relating to the subject requirement which are hereby posted and responded to.

Q&As:

- Question: How many pools are included?

Answer: We have two (2) pools. Large Therapy and the Treadmill Therapy Pools

- Question: How many cleanings per week are expected?

Answer: Clean every day, Chemical levels Tested every day and documented, No Weekends

- Question: Are the pools saltwater or chlorine/bromine?

Answer: Bromine

- Question: Do you currently use chemical injectors, tablet feeders, or another system?

Answer: Tablet Feeder

- Question: What are the pool depths?

Answer: Large Pool,  2’6” to 5’6”

Treadmill, no indicated depth, treadmill raises and lowers

- Question: What type of filtration system is installed?

Answer: Cartridge

- Question: Are the pools currently up to code? If not, is it due to algae, mechanical issues, or other circumstances?

Answer: Yes

- Question: When is the anticipated start date for service?

Answer: 12/1/2025

- Question: Are there any additional operational details we should be aware of?

Answer: None

- Question: Are there any known issues with the current service provider?

Answer: That information cannot be disclosed.

- Question: Would it be possible to get photos of the pool and/or the equipment?

Answer: Yes, Attached

- Question: Will there be a site visit?

Answer: No site visit